## abb_en
id | title | article | fulltext | price | manufacturer | category | image | pdf
1 | ABB 1SFA619500R1071 Stop Switch Twist to Reset Red 30mm Mushroom Head | 1SFA619500R1071 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >The ABB 1SFA is a Red Stop Button with Twist to Reset. The all-in-one push button has integrated contacts and is supplied with a 30mm actuator head.</div></td> |  | ABB | Emergency stop mushroom button | s28-3989p01wl.jpg | 558813_v1.pdf
2 | ABB 1SDA050870R1 circuit breaker 3 | 1SDA050870R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >.BREAKER TMAX T1B 160 FIXED THREE-POLE WITH FRONT TERMINALS FOR CABLE Cu 70mm2 AND THERMOMAGNETIC RELEASE TMD R 16-630 A</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>76 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>70 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>130 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>1000 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Power</div></td><td class=bd05rb valign=top><div class=m5>Input voltage</div></td><td class=bd05rb valign=top><div class=m5>500 V</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Maximum current</div></td><td class=bd05rb valign=top><div class=m5>160 A</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Rated current</div></td><td class=bd05rb valign=top><div class=m5>16 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package width</div></td><td class=bd05rb valign=top><div class=m5>128 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package depth</div></td><td class=bd05rb valign=top><div class=m5>143 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package height</div></td><td class=bd05rb valign=top><div class=m5>135 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package weight</div></td><td class=bd05rb valign=top><div class=m5>1110 g</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Type of release</div></td><td class=bd05rb valign=top><div class=m5>TM1 </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Grey </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE </div></td></tr></table></td> | 130.98 | ABB | Circuit breaker | 31081065_0876.jpg | CIEN1-31081065.pdf
3 | Circuit breaker, B 10 A 1 B | S201-B10 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Circuit breaker, B, Rated operating voltage: 230 VAC, Width: 17.5 mm, Circuit tripping: B, Number of poles: 1, Protection rating: IP 20</div><div class="fw_b fs_2" style="margin:5px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_0001" width="100%"><tr><td width="30%" class=B5></td><td width="70%" class=B5></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Bruttogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.110 kg</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Nettogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.110 kg</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">HГ¶he:</div></td><td class=bd05rb valign=top><div class=m5>20 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Breite:</div></td><td class=bd05rb valign=top><div class=m5>80 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Tiefe:</div></td><td class=bd05rb valign=top><div class=m5>90 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Ursprungsland:</div></td><td class=bd05rb valign=top><div class=m5>DE</div></td></tr></table></td> | 1975-02-01 | ABB | Circuit breaker | leitungsschutzschalter-charakteristik-d-2.jpg | abb-s200_ger_tds.pdf
4 | ABB OVR PV 40 600P surge protector Grey | 2CTB803953R5300 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Products В» Low Voltage Products and Systems В» Modular DIN Rail Products В» Surge Protective Devices SPDs В» Surge Protective Devices SPD Class II</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package width</div></td><td class=bd05rb valign=top><div class=m5>117 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package depth</div></td><td class=bd05rb valign=top><div class=m5>61 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package height</div></td><td class=bd05rb valign=top><div class=m5>82 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Power</div></td><td class=bd05rb valign=top><div class=m5>Clamping voltage</div></td><td class=bd05rb valign=top><div class=m5>670 V</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>375 g</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>53.4 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>64.8 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>85 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Certificates</div></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE </div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Packaging content</div></td><td class=bd05rb valign=top><div class=m5>Number of products included</div></td><td class=bd05rb valign=top><div class=m5>1 pc(s)</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Grey </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Wall mountable</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Surge protection features</div></td><td class=bd05rb valign=top><div class=m5>A/V </div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Other features</div></td><td class=bd05rb valign=top><div class=m5>Package weight</div></td><td class=bd05rb valign=top><div class=m5>400 kg</div></td></tr></table></td> | 95.07 | ABB | Surge Arrester | 31091516_5232.jpg | CIEN0-31091516.pdf
5 | F204A-63/0,03 | 2CSF204123R1630 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >F204A-63/0,03</div></td> | 72.53 | ABB | FI-circuit breaker | presentation_30cdb206-fe7c-4af9-855e-8ab1a613014c.jpg
6 | ABB DT1 electrical switch Time switch 1P White | 2CSM204255R0611 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >DT1 Weekly digital time switches, 1 CO contact, 5 years power reserve, 2 modules</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>63 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>80 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>35 g</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Time switch </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>1P </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>White </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr></table></td> | 81.66 | ABB | Time switch | f0260536-01.jpg
7 | ABB 2CMA142435R1000 Firemans Switch 2P 25A | 2CMA142435R1000 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An ABB aluminium side operated Fireman's switch, that is 2-pole, and a power rating of 25A. You can often see these switches on the outside wall of shops, industrial or commercial buildings for disconnection and isolation purposes. They are used by firemen to turn off neon lighting or other hazardous electrical equipment when attending a fire at the premises. The enclosure and handle are painted red, to make it easy to spot. The On and Off positions are clearly indicated on the front side with 'I' and 'O'.The operating handle is designed in such a way that a fireman's hook or axe can be used to switch it off. To reset, a so called 'two hands grip' must be used. The interlocking mechanism prevents accidental manoeuvres. Delivery includes PE+ neutral terminal and membrane glands (IP54) /sealing plugs. For IP65 degree of protection compression glands must be used.</div></td> |  | ABB | Main switch | s28-3773p01wl.jpg | 28-3773.pdf
8 | ABB 1SDA050872R1 circuit breaker 3 | 1SDA050872R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >.BREAKER TMAX T1B 160 FIXED THREE-POLE WITH FRONT TERMINALS FOR CABLE Cu 70mm2 AND THERMOMAGNETIC RELEASE TMD R 16-630 A</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>76 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>70 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>130 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>1000 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Power</div></td><td class=bd05rb valign=top><div class=m5>Input voltage</div></td><td class=bd05rb valign=top><div class=m5>500 V</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Maximum current</div></td><td class=bd05rb valign=top><div class=m5>160 A</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Rated current</div></td><td class=bd05rb valign=top><div class=m5>25 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package width</div></td><td class=bd05rb valign=top><div class=m5>128 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package depth</div></td><td class=bd05rb valign=top><div class=m5>143 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package height</div></td><td class=bd05rb valign=top><div class=m5>135 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package weight</div></td><td class=bd05rb valign=top><div class=m5>1110 g</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Type of release</div></td><td class=bd05rb valign=top><div class=m5>TM1 </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Grey </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE </div></td></tr></table></td> | 130.49 | ABB | Circuit breaker | 31081072_5112.jpg | CIEN1-31081072.pdf
9 | Circuit breaker, B 10 A 3 B | S203-B10 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Circuit breaker, B, Rated operating voltage: 440 VAC, Width: 52.5 mm, Circuit tripping: B, Number of poles: 3, Protection rating: IP 20</div><div class="fw_b fs_2" style="margin:5px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_0001" width="100%"><tr><td width="30%" class=B5></td><td width="70%" class=B5></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Bruttogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.352 kg</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Nettogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.352 kg</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">HГ¶he:</div></td><td class=bd05rb valign=top><div class=m5>60 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Breite:</div></td><td class=bd05rb valign=top><div class=m5>80 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Tiefe:</div></td><td class=bd05rb valign=top><div class=m5>95 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Ursprungsland:</div></td><td class=bd05rb valign=top><div class=m5>DE</div></td></tr></table></td> |  | ABB | Automatic circuit breaker | abb-s203b20.jpg | abb-s200_ger_tds.pdf
10 | ABB 1SDA051456R1 circuit breaker accessory | 1SDA051456R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >FRONT TERMINALS FOR CABLES IN COPPER-ALUMINIUM 1...95mm2 6pcs T2</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Technical details</div></td><td class=bd05rb valign=top><div class=m5>Compatible products</div></td><td class=bd05rb valign=top><div class=m5>Circuit Breakers </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE, RoSH </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Grey,White </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>20 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Placement supported</div></td><td class=bd05rb valign=top><div class=m5>Horizontal </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Execution</div></td><td class=bd05rb valign=top><div class=m5>Fixed </div></td></tr></table></td> | 34.66 | ABB | Conversion kit for circuit breaker connection | 31084291_3470.jpg | CIEN6-31084291.pdf
11 | N44E 110V 50Hz / 110-120V 60Hz | 1SBH141001R8444 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >N44E 110V 50Hz / 110-120V 60Hz</div></td> | 34.96 | ABB | Auxiliary contactor | presentation_22c4ddfe-177e-4b55-baab-aecb64f659c3.jpg
12 | 2 Pole DIN Rail Non Fused Isolator Switch, 2NO+2NO, 32 A, IP20 | 1SCA121456R1001 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Number of Poles = 2<br>Maximum Current = 32 A<br>Mounting Type = DIN Rail<br>Normal State Configuration = 2NO+2NO<br>IP Rating = IP20<br>Voltage Rating = 660 V dc<br>Length = 52.5mm<br>Width = 89mm<br>Depth = 66.2mm<br>Terminal Type = Screw<br><br>Switch Disconnectors for Photovoltaic Systems. The ABB OTDC series switch-disconnectors are expertly designed for PV applications and are most commonly used to isolate single strings or arrays of solar panels and battery banks. The switch disconnectors can also act as the main switch for the entire photovoltaic application. Compact size Unique safety features Simple and quick installation Safe and reliable. OTDC 16вЂ¦32 Amperes. OTDC from 16вЂ¦32 Amperes have numerous DC ratings within the same footprint space and the rated operational voltage can be scaled up to 1000 V to suit your application. Tunnel terminals capture fine stranded wires and they are wide enough to allow wires up to 16 mm and short circuit bars are preinstalled as standard. OTDC 100..250. OTDC switches from 100вЂ¦250 Amperes are the only 2-pole solution in the market with an operational voltage of 1000 VDC. This is possible thanks to carefully optimized arc plates and dual magnetic breaking.The switches are symmetrical in design and connections are independent of polarity, meaning they can work in both ways.</div></td> |  | ABB | Load disconnector | r8412647-01.jpg
13 | ABB 2CMA142436R1000 Firemans Switch 3P 25A | 2CMA142436R1000 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An ABB aluminium side operated Fireman's switch, that is 3-pole, and a power rating of 25A. You can often see these switches on the outside wall of shops, industrial or commercial buildings for disconnection and isolation purposes. They are used by firemen to turn off neon lighting or other hazardous electrical equipment when attending a fire at the premises. The enclosure and handle are painted red, to make it easy to spot. The On and Off positions are clearly indicated on the front side with 'I' and 'O'.The operating handle is designed in such a way that a fireman's hook or axe can be used to switch it off. To reset, a so called 'two hands grip' must be used. The interlocking mechanism prevents accidental manoeuvres. Delivery includes PE+ neutral terminal and membrane glands (IP54) /sealing plugs. For IP65 degree of protection compression glands must be used.</div></td> | 90.43 | ABB | Control Stations & Switch | s28-3775p01wl.jpg | 28-3775.pdf
14 | ABB Power Control, Analogue, Digital Input, 20 A | DCT880-W02-0020-05+J404 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Control Type = 2 Phase<br>Function = Heater Controller<br>Communication Port Type = Profibus<br>Input Type = Analogue, Digital<br>Maximum Current = 20 A<br>Length = 270mm<br>Width = 215mm<br>Height = 370mm<br><br>ABB Power Controllers DCT880 Series. The DCT880 Series of Power Controllers from ABB are extremely user-friendly and feature a multilingual plain text control panel, a USB interface and advanced PC tools. It has various flexible control methods that ensure even the most demanding applications are controlled dynamically and accurately. The DCT880 thyristor power controllers also feature integrated 3 phase current measurement that precisely calculates and monitors the load resistance in the load circuit. This highly improves system performance. Features and Benefits. User-friendly and flexible Ideal to control electro-thermal processes 20 A to 100 A models available High contrast, high-resolution control panel Resistive, inductive or infrared heating Reduces energy costs by integrated load management and multi-tap Phase control Full-wave burst control Half-wave control I-, U-, P- and I2 control Built-in temperature controller Built-in load optimiser Extensive I/O and communication options Removable memory unit for storing software and parameter configuration. Applications. DCT880 series power controller is suitable in applications for annealing, drying, melting or heating glass, plastics and metals for precise heating control.</div></td> | 1,739.836 | ABB | Thyristor power controller | r1235256-01.jpg
15 | T2N 160 TMD50-500 3p F F | 1SDA050955R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >T2N 160 TMD50-500 3p F F</div></td> | 204.88 | ABB | Power sircuit breaker | presentation_26b67eaf-645e-4482-949d-dbb48ad3f5dc.jpg
16 | Thermal relay; Series: AF; Leads: screw terminals; 20Г·24A | 1SAZ721201R1051 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Contactor series</b>: AF<br /><b>Mounting</b>: DIN; on panel<br /><b>Leads</b>: screw terminals<br /><b>Type of contactors accessories</b>: thermal relay<br /><b>Range of overcurrent release settings</b>: 20...24A</div></td> |  | ABB | Screw terminals | marcateo_430427.jpg
17 | A16-30-01 230-240V 50Hz / 277V 60Hz | 1SBL181001R4201 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 230-240V 50Hz / 277V 60Hz</div></td> | 38.65 | ABB | Hardware | presentation_ae195d15-b522-42d1-b885-12c5d756d648.jpg
18 | Circuit breaker, B 20 A 3 B | S203-B20 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Circuit breaker, B, Rated operating voltage: 440 VAC, Width: 52.5 mm, Circuit tripping: B, Number of poles: 3, Protection rating: IP 20</div><div class="fw_b fs_2" style="margin:5px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_0001" width="100%"><tr><td width="30%" class=B5></td><td width="70%" class=B5></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Bruttogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.350 kg</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Nettogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.350 kg</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">HГ¶he:</div></td><td class=bd05rb valign=top><div class=m5>60 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Breite:</div></td><td class=bd05rb valign=top><div class=m5>65 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Tiefe:</div></td><td class=bd05rb valign=top><div class=m5>95 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Ursprungsland:</div></td><td class=bd05rb valign=top><div class=m5>DE</div></td></tr></table></td> |  | ABB | Automatic circuit breaker | abb-s203b20.jpg | abb-s200_ger_tds.pdf
19 | ABB OVR Series 275 V Maximum Voltage Rating 80kA Maximum Surge Current, DIN Rail Mounting | OVRT280-275sCQS | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Maximum Voltage Rating = 275 V<br>Mounting Type = DIN Rail<br>Maximum Surge Current = 80kA<br>Series = OVR<br>Length = 17.6mm<br>Depth = 67mm<br>Height = 57mm<br>Dimensions = 17.6 x 67 x 57mm<br>Minimum Operating Temperature = -40В°C<br>Maximum Operating Temperature = +80В°C</div></td> | 57.569 | ABB | DIN rail mounting | f1752601-01.jpg
20 | Switch: rotary; Stabl.pos:2; 22mm; transparent; Illumin: MLB-1 | 1SFA611216R1108 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: MLB-1<br /><b>Caution!</b>: Illuminating unit has to be ordered separately; Contact sets must be ordered separately.<br /><b>Switches features</b>: short handle<br /><b>Manufacturer series</b>: M3S<br /><b>IP rating</b>: IP66<br /><b>Button marking</b>: I<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Actuator colour</b>: transparent<br /><b>Number of positions</b>: 3<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 2</div></td> |  | ABB | Rotary switch | marcateo_423168.jpg
21 | ABB 1SDA051480R1 circuit breaker accessory | 1SDA051480R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >FRONT TERMINALS FOR CABLES IN COPPER 6pcs T3</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Technical details</div></td><td class=bd05rb valign=top><div class=m5>Compatible products</div></td><td class=bd05rb valign=top><div class=m5>Circuit Breakers </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE, RoSH </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>3P </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Grey </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Execution</div></td><td class=bd05rb valign=top><div class=m5>Fixed </div></td></tr></table></td> | 2026-12-31 | ABB | Conversion kit for circuit breaker connection | 31084296_7454.jpg | CIEN6-31084296.pdf
22 | A16-30-01 230/400V 50Hz | 1SBL181001R6201 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 230/400V 50Hz</div></td> | 38.60 | ABB | Hardware | presentation_6499d34d-f091-4f1d-8ea9-e18c8208fa96.jpg
23 | S203P-D10 Miniature Circuit Breaker | 2CDS283001R0101 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >S203P-D10 Miniature Circuit Breaker</div></td> | 41.96 | ABB | Circuit breaker | presentation_30ff9906-a217-4462-8697-01e424136731.jpg
24 | ABB Phase, Voltage Monitoring Relay With DPDT Contacts, 380 V ac, 3 Phase | 1SVR730784R2300 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Monitoring Application = Phase, Voltage<br>Supply Voltage = 380 V ac<br>Contact Configuration = DPDT<br>Electrical Phase = 3<br>Voltage Sensing Range = 342 в†’ 418 V ac<br>Phase Sensitivity = Phase Failure, Phase Sequence<br>Time Delay = 0.1 в†’ 30 s, 0 s<br>Frequency Sensing Range = 45 в†’ 65 Hz<br>Width = 22.5mm<br><br>CM-PSS Three-Phase Monitoring Relays. The CM-PSS.x1 are monitoring relays for three-phase mains. They monitor the phase parameters phase sequence, phase failure, over- and undervoltage. The threshold values for over- and undervoltage are fixed. Monitoring of three-phase mains for phase sequence (can be switched off), phase failure, over- and undervoltage Fixed threshold values for over and undervoltage Tripping delay can be adjusted or switched off by means of a logarithmic scale ON-delayed or OFF-delayed tripping delay selectable Powered by the measuring circuit True RMS measuring principle 2 c/o (SPDT) contacts 3 LEDs for status indication</div></td> |  | ABB | Monitoring relays | r7757889-01.jpg
25 | 1 Channel Analogue DIN Rail Time Switch Measures Minutes, 230 V ac | 2CSM204235R0601 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Supply Voltage = 230 V ac<br>Units Measured = Minutes<br>Number of Channels = 1<br>Type = Analogue<br>Contact Configuration = SPDT<br>Segment Length = 30 s<br>Height = 85mm<br>Depth = 61mm<br><br>Timer - Analogue ATS Series. 24Hr Analogue Timer - Quartz</div></td> |  | ABB | Time switch | f5348745-01.jpg
26 | Thermal relay; Series: AF; Leads: screw terminals; 29Г·35A | 1SAZ721201R1053 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Contactor series</b>: AF<br /><b>Mounting</b>: DIN; on panel<br /><b>Leads</b>: screw terminals<br /><b>Type of contactors accessories</b>: thermal relay<br /><b>Range of overcurrent release settings</b>: 29...35A</div></td> |  | ABB | Screw terminals | marcateo_430424.jpg
27 | A16-30-01 230/400V 60Hz | 1SBL181001R6301 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 230/400V 60Hz</div></td> | 38.51 | ABB | Hardware | presentation_6dbd6503-3d00-4bb1-ab7e-cdb3de323b75.jpg
28 | ABB 2CMA142437R1000 Firemans Switch 4P 25A | 2CMA142437R1000 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An ABB aluminium side operated Fireman's switch, that is 4-pole, and a power rating of 25A. You can often see these switches on the outside wall of shops, industrial or commercial buildings for disconnection and isolation purposes. They are used by firemen to turn off neon lighting or other hazardous electrical equipment when attending a fire at the premises. The enclosure and handle are painted red, to make it easy to spot. The On and Off positions are clearly indicated on the front side with 'I' and 'O'.The operating handle is designed in such a way that a fireman's hook or axe can be used to switch it off. To reset, a so called 'two hands grip' must be used. The interlocking mechanism prevents accidental manoeuvres. Delivery includes PE+ neutral terminal and membrane glands (IP54) /sealing plugs. For IP65 degree of protection compression glands must be used.</div></td> |  | ABB | Main switch | s28-3777p01wl.jpg | 28-3777.pdf
29 | ABB Power Control, Analogue, Digital Input, 35 A | DCT880-W03-0035-05+J404 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Control Type = 3 Phase<br>Function = Heater Controller<br>Communication Port Type = Profibus<br>Input Type = Analogue, Digital<br>Maximum Current = 35 A<br>Length = 270mm<br>Width = 215mm<br>Height = 370mm<br><br>ABB Power Controllers DCT880 Series. The DCT880 Series of Power Controllers from ABB are extremely user-friendly and feature a multilingual plain text control panel, a USB interface and advanced PC tools. It has various flexible control methods that ensure even the most demanding applications are controlled dynamically and accurately. The DCT880 thyristor power controllers also feature integrated 3 phase current measurement that precisely calculates and monitors the load resistance in the load circuit. This highly improves system performance. Features and Benefits. User-friendly and flexible Ideal to control electro-thermal processes 20 A to 100 A models available High contrast, high-resolution control panel Resistive, inductive or infrared heating Reduces energy costs by integrated load management and multi-tap Phase control Full-wave burst control Half-wave control I-, U-, P- and I2 control Built-in temperature controller Built-in load optimiser Extensive I/O and communication options Removable memory unit for storing software and parameter configuration. Applications. DCT880 series power controller is suitable in applications for annealing, drying, melting or heating glass, plastics and metals for precise heating control.</div></td> | 2,169.298 | ABB | Thyristor power controller | r1235262-01.jpg
30 | T2N 160 TMD80-800 3p F F | 1SDA050957R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >T2N 160 TMD80-800 3p F F</div></td> | 221.51 | ABB | Power sircuit breaker | presentation_abc613d9-cc16-4b8e-8dc7-174b11a31945.jpg
31 | Switch: rotary; Stabl.pos:2; 22mm; transparent; Illumin: MLB-1 | 1SFA611212R1108 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: MLB-1<br /><b>Caution!</b>: Illuminating unit has to be ordered separately; Contact sets must be ordered separately.<br /><b>Switches features</b>: short handle<br /><b>Manufacturer series</b>: M3S<br /><b>IP rating</b>: IP66<br /><b>Button marking</b>: I<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Actuator colour</b>: transparent<br /><b>Number of positions</b>: 3<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 2</div></td> |  | ABB | Rotary switch | marcateo_425687.jpg
32 | A16-30-01 24V 50Hz / 24V 60Hz | 1SBL181001T8101 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 24V 50Hz / 24V 60Hz</div></td> | 38.60 | ABB | Hardware | 1sbl181001t8101.jpg
33 | Circuit breaker, B 25 A 1 B | S201-B25 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Circuit breaker, B, Rated operating voltage: 230 VAC, Width: 17.5 mm, Circuit tripping: B, Number of poles: 1, Protection rating: IP 20</div><div class="fw_b fs_2" style="margin:5px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_0001" width="100%"><tr><td width="30%" class=B5></td><td width="70%" class=B5></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Bruttogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.110 kg</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Nettogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.110 kg</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">HГ¶he:</div></td><td class=bd05rb valign=top><div class=m5>20 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Breite:</div></td><td class=bd05rb valign=top><div class=m5>80 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Tiefe:</div></td><td class=bd05rb valign=top><div class=m5>90 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Ursprungsland:</div></td><td class=bd05rb valign=top><div class=m5>DE</div></td></tr></table></td> |  | ABB | Automatic circuit breaker | leitungsschutzschalter-charakteristik-d-2.jpg | abb-s200_ger_tds.pdf
34 | ABB OVR Series 296 V Maximum Voltage Rating 20kA Maximum Surge Current, DIN Rail Mounting | OVRSLTN | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Maximum Voltage Rating = 296 V<br>Mounting Type = DIN Rail<br>Maximum Surge Current = 20kA<br>Series = OVR<br>Length = 106.5mm<br>Depth = 7mm<br>Height = 104.6<br>Dimensions = 106.5 x 7 x 104.6mm<br>Minimum Operating Temperature = -40В°C<br>Maximum Operating Temperature = +80</div></td> | 88.209 | ABB | DIN rail mounting | f1752608-01.jpg
35 | ABB 1SDA054958R1 circuit breaker accessory | 1SDA054958R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >HIGH TERMINAL-COVERS THREE-POLE 2pcs T4</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Technical details</div></td><td class=bd05rb valign=top><div class=m5>Compatible products</div></td><td class=bd05rb valign=top><div class=m5>T4 </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE, RoSH </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Grey </div></td></tr></table></td> | 41.41 | ABB | Circuit breaker | 31084314_7647.jpg | CIEN6-31084314.pdf
36 | ABB 1SAZ721201R1035 emergency lamp | 1SAZ721201R1035 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package type</div></td><td class=bd05rb valign=top><div class=m5>Box </div></td></tr></table></td> | 18.38 | ABB | Emergency lighting | marcateo_430423.jpg
37 | 2 Pole DIN Rail Non Fused Isolator Switch, 2NO+2NO, 25 A, IP20 | OTDC25F2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Number of Poles = 2<br>Maximum Current = 25 A<br>Mounting Type = DIN Rail<br>Normal State Configuration = 2NO+2NO<br>IP Rating = IP20<br>Voltage Rating = 660 V dc<br>Length = 52.5mm<br>Width = 89mm<br>Depth = 66.2mm<br>Terminal Type = Screw<br><br>Switch Disconnectors for Photovoltaic Systems. The ABB OTDC series switch-disconnectors are expertly designed for PV applications and are most commonly used to isolate single strings or arrays of solar panels and battery banks. The switch disconnectors can also act as the main switch for the entire photovoltaic application. Compact size Unique safety features Simple and quick installation Safe and reliable. OTDC 16вЂ¦32 Amperes. OTDC from 16вЂ¦32 Amperes have numerous DC ratings within the same footprint space and the rated operational voltage can be scaled up to 1000 V to suit your application. Tunnel terminals capture fine stranded wires and they are wide enough to allow wires up to 16 mm and short circuit bars are preinstalled as standard. OTDC 100..250. OTDC switches from 100вЂ¦250 Amperes are the only 2-pole solution in the market with an operational voltage of 1000 VDC. This is possible thanks to carefully optimized arc plates and dual magnetic breaking.The switches are symmetrical in design and connections are independent of polarity, meaning they can work in both ways.</div></td> | 40.313 | ABB | Main switch | r8412638-01.jpg
38 | A16-30-01 24V 50Hz / 24V 60Hz | 1SBL181001R8101 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 24V 50Hz / 24V 60Hz</div></td> | 36.95 | ABB | Coupling relay | presentation_c2d5ab3b-b0da-4a63-b9a3-4bf1b07d922a.jpg
39 | CM-MPS.11S Three-phase monitoring relay | 1SVR730885R1300 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >CM-MPS.11S Three-phase monitoring relay</div></td> |  | ABB | Monitoring relays | presentation_0989ef43-2605-4dfd-afe6-b9bc8bba8768.jpg
40 | ABB 2CMA142438R1000 Firemans Switch 3P 40A | 2CMA142438R1000 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An ABB aluminium side operated Fireman's switch, that is 3-pole, and a power rating of 40A. You can often see these switches on the outside wall of shops, industrial or commercial buildings for disconnection and isolation purposes. They are used by firemen to turn off neon lighting or other hazardous electrical equipment when attending a fire at the premises. The enclosure and handle are painted red, to make it easy to spot. The On and Off positions are clearly indicated on the front side with 'I' and 'O'.The operating handle is designed in such a way that a fireman's hook or axe can be used to switch it off. To reset, a so called 'two hands grip' must be used. The interlocking mechanism prevents accidental manoeuvres. Delivery includes PE+ neutral terminal and membrane glands (IP54) /sealing plugs. For IP65 degree of protection compression glands must be used.</div></td> |  | ABB | Main switch | s28-3776p01wl.jpg | 28-3776.pdf
41 | SELECTOR SWITCH M2SS5-11Y | 1SFA611204R1103 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >SELECTOR SWITCH M2SS5-11Y</div></td> |  | ABB | Rotary switch | presentation_502807fb-4c39-4e9d-b205-9fc26dfe9f7f.jpg
42 | ABB 1SDA050960R1 circuit breaker 3 | 1SDA050960R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >C.BREAKER TMAX T2N 160 FIXED THREE-POLE WITH FRONT TERMINALS AND THERMOMAGNETIC RELEASE TMD R 160-1600 A</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>90 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>70 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>130 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>1100 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Power</div></td><td class=bd05rb valign=top><div class=m5>Input voltage</div></td><td class=bd05rb valign=top><div class=m5>500 V</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Maximum current</div></td><td class=bd05rb valign=top><div class=m5>160 A</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Rated current</div></td><td class=bd05rb valign=top><div class=m5>160 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package width</div></td><td class=bd05rb valign=top><div class=m5>128 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package depth</div></td><td class=bd05rb valign=top><div class=m5>143 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package height</div></td><td class=bd05rb valign=top><div class=m5>135 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package weight</div></td><td class=bd05rb valign=top><div class=m5>1200 g</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Grey </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE </div></td></tr></table></td> | 291.65 | ABB | Power sircuit breaker | 31084243_8729.jpg | CIEN1-31084243.pdf
43 | A16-30-01 26V 50Hz / 28V 60Hz | 1SBL181001R1601 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 26V 50Hz / 28V 60Hz</div></td> | 38.51 | ABB | Hardware | presentation_2770c84f-7646-4c4b-9cf4-13832c89e2fd.jpg
44 | ABB Power Control, Analogue, Digital Input, 80 A | DCT880-W02-0080-05+J404 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Control Type = 2 Phase<br>Function = Heater Controller<br>Communication Port Type = Profibus<br>Input Type = Analogue, Digital<br>Maximum Current = 80 A<br>Length = 270mm<br>Width = 215mm<br>Height = 370mm<br><br>ABB Power Controllers DCT880 Series. The DCT880 Series of Power Controllers from ABB are extremely user-friendly and feature a multilingual plain text control panel, a USB interface and advanced PC tools. It has various flexible control methods that ensure even the most demanding applications are controlled dynamically and accurately. The DCT880 thyristor power controllers also feature integrated 3 phase current measurement that precisely calculates and monitors the load resistance in the load circuit. This highly improves system performance. Features and Benefits. User-friendly and flexible Ideal to control electro-thermal processes 20 A to 100 A models available High contrast, high-resolution control panel Resistive, inductive or infrared heating Reduces energy costs by integrated load management and multi-tap Phase control Full-wave burst control Half-wave control I-, U-, P- and I2 control Built-in temperature controller Built-in load optimiser Extensive I/O and communication options Removable memory unit for storing software and parameter configuration. Applications. DCT880 series power controller is suitable in applications for annealing, drying, melting or heating glass, plastics and metals for precise heating control.</div></td> | 2,138.618 | ABB | Thyristor power controller | r1235259-01.jpg
45 | Circuit breaker, K 16 A 1 K | S201-K16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Circuit breaker, K, Rated operating voltage: 230 VAC, Width: 17.5 mm, Circuit tripping: K, Number of poles: 1, Protection rating: IP 20</div><div class="fw_b fs_2" style="margin:5px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_0001" width="100%"><tr><td width="30%" class=B5></td><td width="70%" class=B5></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Bruttogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.127 kg</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Nettogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.127 kg</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">HГ¶he:</div></td><td class=bd05rb valign=top><div class=m5>20 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Breite:</div></td><td class=bd05rb valign=top><div class=m5>65 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Tiefe:</div></td><td class=bd05rb valign=top><div class=m5>85 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Ursprungsland:</div></td><td class=bd05rb valign=top><div class=m5>DE</div></td></tr></table></td> |  | ABB | Automatic circuit breaker | leitungsschutzschalter-charakteristik-d-2.jpg | abb-s200_ger_tds.pdf
46 | Thermal relay; Series: AF; Leads: screw terminals; 5.7Г·7.6A | 1SAZ711201R1040 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Mounting</b>: DIN; on panel<br /><b>Contactor series</b>: AF<br /><b>Leads</b>: screw terminals<br /><b>Type of contactors accessories</b>: thermal relay<br /><b>Range of overcurrent release settings</b>: 5.7...7.6A</div></td> |  | ABB | Screw terminals | marcateo_549590.jpg
47 | A16-30-01 32V 50Hz / 36V 60Hz | 1SBL181001R1801 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 32V 50Hz / 36V 60Hz</div></td> | 38.65 | ABB | Hardware | presentation_5584dbe0-5d03-48d4-8a04-ed7a0662f137.jpg
48 | ABB 1SDA055008R1 circuit breaker accessory | 1SDA055008R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >REAR TERMINALS ADJUSTABLE 3pcs T4</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Technical details</div></td><td class=bd05rb valign=top><div class=m5>Compatible products</div></td><td class=bd05rb valign=top><div class=m5>T4 </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE, RoSH </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Metallic </div></td></tr></table></td> | 26.83 | ABB | Circuit breaker | 31084319_9777.jpg | CIEN6-31084319.pdf
49 | ABB OVR Series 5 V Maximum Voltage Rating 10kA Maximum Surge Current, Panel Mount Mounting | OVRCat-5e | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Maximum Voltage Rating = 5 V<br>Mounting Type = Panel Mount<br>Maximum Surge Current = 10kA<br>Series = OVR<br>Length = 106mm<br>Depth = 24mm<br>Height = 60mm<br>Dimensions = 106 x 24 x 60mm<br>Minimum Operating Temperature = -40В°C<br>Maximum Operating Temperature = +80В°C</div></td> | 182.834 | ABB | Surge Arrester | f1752609-01.jpg
50 | 220 в†’ 240 V ac, 220 в†’ 250 V dc Shunt Release Shunt trip for use with ABB Tmax XT1, ABB Tmax XT2, ABB Tmax | 1SDA066325R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Range = SACE<br>Series = 1SDA<br>Type = Shunt Release<br>Rated Control Voltage = 220 в†’ 240 V ac, 220 в†’ 250 V dc<br><br>Shunt Trips S-2C Series. Remote opening of device when voltage is applied Suitable for S 200 Series MCB вЂs and DS 200 Series RCBO вЂs</div></td> |  | ABB | Shunt release | r8319197-01.jpg
51 | Switch: rotary; Stabl.pos:2; 22mm; yellow; Illumin: MLB-1; IP66 | 1SFA611216R1103 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: MLB-1<br /><b>Caution!</b>: Illuminating unit has to be ordered separately; Contact sets must be ordered separately.<br /><b>Switches features</b>: short handle<br /><b>Manufacturer series</b>: M3S<br /><b>IP rating</b>: IP66<br /><b>Button marking</b>: I<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Actuator colour</b>: yellow<br /><b>Number of positions</b>: 3<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 2</div></td> |  | ABB | Rotary switch | marcateo_423165.jpg
52 | ABB 2 Pole Type AC Residual Current Circuit Breaker, 25A F200, 30mA | 2CSF202001R1250 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Current Rating = 25A<br>Number of Poles = 2<br>Trip Sensitivity = 30mA<br>Tripping Characteristics = Type AC<br>Series = F200<br><br>F200 Series 2 Pole RCCB. The ABB F200 RCCB Series provide ground fault protection by monitoring the leakage of current to ground when used in conjunction with standard MCBs. The F200 series are compact DIN rail mounted RCCBs and feature a wide range of trip ratings to offer complete protection for commercial or industrial applications. Compact DIN rail mount Trip indicator mechanical flag</div></td> |  | ABB | FI-circuit breaker | f5377355-01.jpg
53 | A16-30-01 380-400V 50Hz / 400-415V 60Hz | 1SBL181001T8501 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 380-400V 50Hz / 400-415V 60Hz</div></td> | 38.51 | ABB | Hardware | 1sbl181001t8501.jpg
54 | ABB PLC Expansion Module | 2CDG110061R0011 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >ABB KNX i-bus IPR/S2.1 IP Router. The IP Router 2.1 is a modular installation device (MDRC) and forms the interface between KNX installations and IP networks It can be used as a fast line and area coupler and can utilise the local network (LAN) for fast exchange of telegrams between the lines/areas KNX devices can be programmed via the LAN using ETS 3.0 The device uses the KNXnet/IP protocol from the KNX Association (Routing and Tunnelling) The IP address can be fixed or can be received from a DHCP server The power supply range is from 10 to 30 Vdc</div></td> |  | ABB | Coupler | f7158926-01.jpg
55 | ABB 1SAZ721201R1043 emergency lamp | 1SAZ721201R1043 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package type</div></td><td class=bd05rb valign=top><div class=m5>Box </div></td></tr></table></td> | 18.24 | ABB | Emergency lighting | marcateo_430432.jpg
56 | ABB 1SDA051247R1 circuit breaker 3 | 1SDA051247R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >C.BREAKER TMAX T3N 250 FIXED THREE-POLE WITH FRONT TERMINALS AND THERMOMAGNETIC RELEASE TMD R 250-2500 A</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>105 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>70 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>150 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>1600 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Power</div></td><td class=bd05rb valign=top><div class=m5>Input voltage</div></td><td class=bd05rb valign=top><div class=m5>500 V</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Maximum current</div></td><td class=bd05rb valign=top><div class=m5>250 A</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Rated current</div></td><td class=bd05rb valign=top><div class=m5>250 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package width</div></td><td class=bd05rb valign=top><div class=m5>155 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package depth</div></td><td class=bd05rb valign=top><div class=m5>155 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package height</div></td><td class=bd05rb valign=top><div class=m5>190 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package weight</div></td><td class=bd05rb valign=top><div class=m5>1700 g</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE </div></td></tr></table></td> | 338.27 | ABB | Power sircuit breaker | 31084261_8423.jpg | CIEN1-31084261.pdf
57 | A16-30-01 380-400V 50Hz / 400-415V 60Hz | 1SBL181001R8501 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 380-400V 50Hz / 400-415V 60Hz</div></td> | 36.74 | ABB | Motor contactor | presentation_6a0f3577-7468-4e0a-a00d-b49896f41fbe.jpg
58 | ABB Pulse Generator Single Timer Relay, Screw, 0.05 s в†’ 100 h, SPDT, 1 Contacts, SPDT, 24 в†’ 240 V ac, 24 | 1SVR500160R0000 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Supply Voltage = 24 в†’ 240 V ac, 24 в†’ 48 V dc<br>Time Range = 0.05 s в†’ 100 h<br>Mode of Operation = Pulse Generator<br>Mounting Type = DIN Rail<br>Number of Timer Functions = Single<br>Number of Contacts = 1<br>Time Increment = Hours, Seconds<br>Power Supply = External<br>Contact Configuration = SPDT<br>Current Maximum = 6 A<br>Terminal Type = Screw<br>Minimum Voltage = 12 V<br>Maximum Voltage = 250 V<br>Length = 70mm<br><br>IEC/EN 61812-1, DIN VDE 0435 pt 2021. UL listed / UL listed for Canada, GL, GOST, c-Tick. CT-TGD (Asymmetrical). Functions - 651, 652, 661, 662 Wide voltage range LEDs for status indication Contact rating: 8A @ 250Vac Operating temperature range: -20В°C в†’ +60В°C Contact material: AgSnO ;sub 2 ;/sub </div></td> |  | ABB | Clock-pulse relay | f4897202-01.jpg
59 | Miniature Circuit Breaker 1, Circuit tripping B | S201S-B13 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Miniature Circuit Breaker, Rated operating voltage: 12...253 VAC, Width: 17.5 mm, Circuit tripping: B, Mounting: DIN Rail, Number of poles: 1, Series: S200S, Short-circuit capacity: 6 kA @ (230 / 400 VAC)</div><div class="fw_b fs_2" style="margin:5px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_0001" width="100%"><tr><td width="30%" class=B5></td><td width="70%" class=B5></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Bruttogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.100 kg</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Nettogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.100 kg</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">HГ¶he:</div></td><td class=bd05rb valign=top><div class=m5>89 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Breite:</div></td><td class=bd05rb valign=top><div class=m5>17.5 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Tiefe:</div></td><td class=bd05rb valign=top><div class=m5>69 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Ursprungsland:</div></td><td class=bd05rb valign=top><div class=m5>BG</div></td></tr></table></td> |  | ABB | Automatic circuit breaker | 99351202.jpg | S200S_eng_tds.pdf
60 | Switch: rotary; Stabl.pos:2; 22mm; yellow; Illumin: MLB-1; IP66 | 1SFA611201R1103 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: MLB-1<br /><b>Switches features</b>: short handle<br /><b>Caution!</b>: Illuminating unit has to be ordered separately; Contact sets must be ordered separately.<br /><b>Manufacturer series</b>: M2S<br /><b>IP rating</b>: IP66<br /><b>Actuator colour</b>: yellow<br /><b>Button marking</b>: I<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Number of positions</b>: 2<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 2</div></td> |  | ABB | Rotary switch | marcateo_423220.jpg
61 | KIT FC Cu 1x240mm2 T5 400 6pcs | 1SDA055014R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >KIT FC Cu 1x240mm2 T5 400 6pcs</div></td> | 214.42 | ABB | Conversion kit for circuit breaker connection | 31084330_0625.jpg
62 | A16-30-01 400-415V 50Hz / 480V 60Hz | 1SBL181001R5101 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 400-415V 50Hz / 480V 60Hz</div></td> | 38.03 | ABB | Coupling relay | presentation_cda2b824-7f1f-46a3-8b3b-050b4203ad2a.jpg
63 | 110 в†’ 250 V dc, 110 в†’ 415 V ac Shunt Release Circuit Trip for use with S200 Series, S200P Series | 2CDS200909R0002 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Range = System Pro M Compact<br>Series = S-2C<br>For Use With = S200 Series, S200P Series<br>Type = Shunt Release<br>Rated Control Voltage = 110 в†’ 250 V dc, 110 в†’ 415 V ac<br><br>Shunt Trips S-2C Series. Remote opening of device when voltage is applied Suitable for S 200 Series MCB вЂs and DS 200 Series RCBO вЂs</div></td> |  | ABB | Shunt release | f5383883-01.jpg
64 | ABB Parallel Connection Kit, For Use With OT100 Series | OZXA41 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Accessory Type = Parallel Connection Kit<br>For Use With = OT100 Series<br><br>Parallel Connection Kits. Finger protected connection bars for parallel connection of the upper or lower terminals for use with the OT range of switches. The connection bars accept additional cables.</div></td> | 47.639 | ABB | Replacement Handles & Accessories | r7754195-01.jpg
65 | A16-30-01 400V 50Hz / 440V 60Hz | 1SBL181001R5001 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 400V 50Hz / 440V 60Hz</div></td> | 38.65 | ABB | Hardware | presentation_dd31584e-b1d4-4fec-8034-d8e6dd29ccac.jpg
66 | ABB F 202 AC-63/0.03 63A 2/P RCCB 30mA | F202AC-63/0.03 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 2-pole RCCB from the ABB F200 series. The 63A 30mA RCCB will assure protection to people and installations against a current fault to earth. The RCCB will trip when ground faults are detected in excess of the trip rating of the device.The RCCB is only sensitive to current leakage to earth. It must be used in series with an MCB or fuse which protects it from the potentially damaging thermal and dynamic stresses of any overcurrents. Applications include: residential, commercial, industrial.</div></td> |  | ABB | FI-circuit breaker | m530943p01wl.jpg | 28-3894.pdf
67 | Switch: rotary; Stabl.pos:2; 22mm; yellow; Illumin: MLB-1; IP66 | 1SFA611200R1103 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: MLB-1<br /><b>Switches features</b>: short handle<br /><b>Caution!</b>: Illuminating unit has to be ordered separately; Contact sets must be ordered separately.<br /><b>Manufacturer series</b>: M2S<br /><b>IP rating</b>: IP66<br /><b>Actuator colour</b>: yellow<br /><b>Button marking</b>: I<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Number of positions</b>: 2<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 2</div></td> |  | ABB | Rotary switch | marcateo_423225.jpg
68 | A16-30-01 42V 50Hz / 42V 60Hz | 1SBL181001R8201 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 42V 50Hz / 42V 60Hz</div></td> | 37.52 | ABB | Coupling relay | presentation_a24c5ed1-5628-412e-b2ab-86e4d754053a.jpg
69 | ABB Right Angle Switchable IP67 Industrial Interlock Socket 3P+E, Earthing Position 6h, 63A, 415 V | 2CMA167899R1000-363MHS6W | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Plug/Socket = Socket<br>Pole Format = 3P+E<br>Switchable = Yes<br>Colour = Red<br>IP Rating = IP67<br>Voltage Rating = 415 V<br>Current Rating = 63A<br>Series = Critical & Safe<br>Dimensions = 168 x 206 x 182mm<br>Earthing Position = 6h<br>Body Material = PET<br>Depth = 182mm<br>Length = 168mm<br>Width = 206mm<br><br>Switched Interlock IP67. 25mm diameter knock-out cable entry</div></td> | 287.477 | ABB | Industrial Interlocks | r7209471-01.jpg
70 | ABB 1SDA052619R1 circuit breaker 1 | 1SDA052619R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >C.BREAKER TMAX T1B 160 FIXED SINGLE-POLE WITH FRONT TERMINALS FOR CABLE Cu 70mm2 AND THERMOMAGNETIC RELEASE TMF R 32-630 A</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>25 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>70 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>130 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>350 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Power</div></td><td class=bd05rb valign=top><div class=m5>Input voltage</div></td><td class=bd05rb valign=top><div class=m5>125 V</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Maximum current</div></td><td class=bd05rb valign=top><div class=m5>160 A</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Rated current</div></td><td class=bd05rb valign=top><div class=m5>32 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package width</div></td><td class=bd05rb valign=top><div class=m5>117.5 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package depth</div></td><td class=bd05rb valign=top><div class=m5>140 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package height</div></td><td class=bd05rb valign=top><div class=m5>35 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package weight</div></td><td class=bd05rb valign=top><div class=m5>436 g</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Type of release</div></td><td class=bd05rb valign=top><div class=m5>TM1 </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Grey </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE </div></td></tr></table></td> | 98.25 | ABB | Circuit breaker | 31084309_9714.jpg | CIEN1-31084309.pdf
71 | A16-30-01 48V 50Hz / 48V 60Hz | 1SBL181001T8301 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 48V 50Hz / 48V 60Hz</div></td> | 38.56 | ABB | Hardware | 1sbl181001t8301.jpg
72 | ABB Phase Monitoring Relay With DPDT Contacts, 300 в†’ 500 V ac, 3 Phase | 1SVR730774R3300 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Monitoring Application = Phase<br>Supply Voltage = 300 в†’ 500 V ac<br>Contact Configuration = DPDT<br>Electrical Phase = 3<br>Phase Sensitivity = Phase Failure, Phase Imbalance, Phase Sequence<br>Time Delay = 0.1 в†’ 30 s, 0 s<br>Width = 22.5mm<br><br>CM-PAS Three-Phase Monitoring Relays. The CM-PAS.x1 are monitoring relays for three-phase mains. They monitor the phase parameters phase sequence, phase failure and phase unbalance. The threshold value for phase unbalance is adjustable. Monitoring of three-phase mains for phase sequence, phase failure, phase unbalance Threshold value for phase unbalance adjustable as absolute value Tripping delay can be adjusted or switched off by means of a logarithmic scale ON-delayed tripping delay Powered by the measuring circuit True RMS measuring principle 2 c/o (SPDT) contacts 3 LEDs for status indication</div></td> |  | ABB | Monitoring relays | f7757885-01.jpg
73 | Miniature Circuit Breaker 1, Circuit tripping B | S201S-B10 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Miniature Circuit Breaker, Rated operating voltage: 12...253 VAC, Width: 17.5 mm, Circuit tripping: B, Mounting: DIN Rail, Number of poles: 1, Series: S200S, Short-circuit capacity: 6 kA @ (230 / 400 VAC)</div><div class="fw_b fs_2" style="margin:5px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_0001" width="100%"><tr><td width="30%" class=B5></td><td width="70%" class=B5></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Bruttogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.100 kg</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Nettogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.100 kg</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">HГ¶he:</div></td><td class=bd05rb valign=top><div class=m5>89 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Breite:</div></td><td class=bd05rb valign=top><div class=m5>17.5 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Tiefe:</div></td><td class=bd05rb valign=top><div class=m5>69 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Ursprungsland:</div></td><td class=bd05rb valign=top><div class=m5>BG</div></td></tr></table></td> |  | ABB | Automatic circuit breaker | 99351201.jpg | S200S_eng_tds.pdf
74 | Switch: rotary; Stabl.pos:3; 22mm; blue; Illumin: MLB-1; IP66; Pos:3 | 1SFA611213R1104 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: MLB-1<br /><b>Caution!</b>: Illuminating unit has to be ordered separately; Contact sets must be ordered separately.<br /><b>Switches features</b>: long handle<br /><b>Manufacturer series</b>: M3S<br /><b>IP rating</b>: IP66<br /><b>Button marking</b>: I<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Actuator colour</b>: blue<br /><b>Number of positions</b>: 3<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 3</div></td> |  | ABB | Rotary switch | marcateo_423184.jpg
75 | A16-30-01 48V 50Hz / 48V 60Hz | 1SBL181001R8301 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 48V 50Hz / 48V 60Hz</div></td> | 37.80 | ABB | Motor contactor | presentation_814a5def-71aa-48a0-aeef-540f53f29f37.jpg
76 | ABB 1SDA055044R1 circuit breaker accessory | 1SDA055044R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >REAR TERMINALS ADJUSTABLE 3pcs T5</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Technical details</div></td><td class=bd05rb valign=top><div class=m5>Compatible products</div></td><td class=bd05rb valign=top><div class=m5>T5 </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE, RoSH </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Metallic </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Execution</div></td><td class=bd05rb valign=top><div class=m5>Fixed </div></td></tr></table></td> | 79.68 | ABB | Conversion kit for circuit breaker connection | 31084334_9771.jpg | CIEN6-31084334.pdf
77 | ABB Power Control, Analogue, Digital Input, 100 A | DCT880-W02-0100-05+J404 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Control Type = 2 Phase<br>Function = Heater Controller<br>Communication Port Type = Profibus<br>Input Type = Analogue, Digital<br>Maximum Current = 100 A<br>Length = 270mm<br>Width = 215mm<br>Height = 370mm<br><br>ABB Power Controllers DCT880 Series. The DCT880 Series of Power Controllers from ABB are extremely user-friendly and feature a multilingual plain text control panel, a USB interface and advanced PC tools. It has various flexible control methods that ensure even the most demanding applications are controlled dynamically and accurately. The DCT880 thyristor power controllers also feature integrated 3 phase current measurement that precisely calculates and monitors the load resistance in the load circuit. This highly improves system performance. Features and Benefits. User-friendly and flexible Ideal to control electro-thermal processes 20 A to 100 A models available High contrast, high-resolution control panel Resistive, inductive or infrared heating Reduces energy costs by integrated load management and multi-tap Phase control Full-wave burst control Half-wave control I-, U-, P- and I2 control Built-in temperature controller Built-in load optimiser Extensive I/O and communication options Removable memory unit for storing software and parameter configuration. Applications. DCT880 series power controller is suitable in applications for annealing, drying, melting or heating glass, plastics and metals for precise heating control.</div></td> | 2,476.02 | ABB | Thyristor power controller | r1235260-01.jpg
78 | A16-30-01 500V 50Hz / 600V 60Hz | 1SBL181001R5501 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 500V 50Hz / 600V 60Hz</div></td> | 38.60 | ABB | Hardware | presentation_569c3de9-2f3a-4c39-b53b-76d7f2f1a7c2.jpg
79 | 2 Pole Panel Mount Non Fused Isolator Switch, 2NO+2NC, 160 A | 1SCA125840R1001 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Number of Poles = 2<br>Maximum Current = 160 A<br>Mounting Type = Panel Mount<br>Normal State Configuration = 2NO+2NC<br>Voltage Rating = 1 kV dc<br>Length = 113mm<br>Width = 176mm<br>Depth = 73.5mm<br>Throw Configuration = Single<br><br>Switch Disconnectors for Photovoltaic Systems. The ABB OTDC series switch-disconnectors are expertly designed for PV applications and are most commonly used to isolate single strings or arrays of solar panels and battery banks. The switch disconnectors can also act as the main switch for the entire photovoltaic application. Compact size Unique safety features Simple and quick installation Safe and reliable. OTDC 16вЂ¦32 Amperes. OTDC from 16вЂ¦32 Amperes have numerous DC ratings within the same footprint space and the rated operational voltage can be scaled up to 1000 V to suit your application. Tunnel terminals capture fine stranded wires and they are wide enough to allow wires up to 16 mm and short circuit bars are preinstalled as standard. OTDC 100..250. OTDC switches from 100вЂ¦250 Amperes are the only 2-pole solution in the market with an operational voltage of 1000 VDC. This is possible thanks to carefully optimized arc plates and dual magnetic breaking.The switches are symmetrical in design and connections are independent of polarity, meaning they can work in both ways.</div></td> |  | ABB | Load disconnector | r8412650-01.jpg
80 | ABB RT7A 24 V dc Safety Relay Single or Dual Channel With 5 Safety Contacts | 2TLA010028R2000 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Supply Voltage = 24 V dc<br>Number of Channels = 1, 2<br>Safety Contacts = 5<br>Terminal Type = Terminal Block<br>Length = 84mm<br><br>TUV, CE, CSA. RT7 Safety Relay Series. The RT7 series from ABB is a universal relay to monitor both external and internal safety aspects of your machinery. The RT7 safety relay has a very versatile input configuration, therefore many safety relays can be replaced by the RT7. ABB have equipped the RT7 with four (4 NO) dual safety outputs of which two may be delayed for up to three seconds in order to achieve a safe and вЂsoft вЂ stop. Another option which the RT7 provides from ABB is manual or automatic resetting. A manual supervised reset is used for gates and other safety devices that can be bypassed, while an automatic reset is used for small safety hatches if deemed appropriate from a risk point of view. In addition, the RT7 has information outputs that follow the inputs and outputs of the relay. These outputs indicate if, for example, a gate is opened or closed, if there is a delay or if the relay requires to be reset. Manual or automatic reset available The RT7 safety relay is configured with information outputs The RT7 has four (4 NO) dual safety outputs Two outputs may be delayed up to three seconds to achieve a safe and "soft" stop LED status indication Long mechanical life of more than 10 ;sup 7 ;/sup operations 35 mm DIN rail mounting IP40 protection rated enclosure and IP20 rated connection blocks Impulse withstand voltage of 2.5kV In accordance with safety category 4</div></td> |  | ABB | Safety relay | r7332360-03.jpg
81 | Switch: rotary; Stabl.pos:3; 22mm; green; Illumin: MLB-1; IP66 | 1SFA611213R1102 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: MLB-1<br /><b>Caution!</b>: Illuminating unit has to be ordered separately; Contact sets must be ordered separately.<br /><b>Switches features</b>: long handle<br /><b>Manufacturer series</b>: M3S<br /><b>IP rating</b>: IP66<br /><b>Button marking</b>: I<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Actuator colour</b>: green<br /><b>Number of positions</b>: 3<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 3</div></td> |  | ABB | Rotary switch | marcateo_423185.jpg
82 | A16-30-01 550V 50Hz | 1SBL181001R5601 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 550V 50Hz</div></td> | 38.51 | ABB | Hardware | presentation_95a3e963-2731-4f7a-bb6c-ed33621d27df.jpg
83 | ABB Phase, Voltage Monitoring Relay With DPDT Contacts, 300 в†’ 500 V ac, 3 Phase | 1SVR730884R3300 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Monitoring Application = Phase, Voltage<br>Supply Voltage = 300 в†’ 500 V ac<br>Contact Configuration = DPDT<br>Voltage Sensitivity = Overvoltage, Undervoltage<br>Electrical Phase = 3<br>Voltage Sensing Range = 300 в†’ 500 V ac<br>Phase Sensitivity = Phase Failure, Phase Imbalance, Phase Sequence<br>Time Delay = 0.1 в†’ 30 s, 0 s<br>Frequency Sensing Range = 45 в†’ 65 Hz<br>Dimensions = 103.7 x 22.5 x 85.6 mm<br><br>CM-MPS x3 Multifunctional Three-Phase Monitoring Relays. The CM-MPSx3 are multifunctional monitoring relays for three-phase mains. They monitor the phase parameters phase sequence, phase failure, over- and undervoltage and phase unbalance. CM-MPS.23 also monitors the neutral for interruption. The threshold values for over and undervoltage and phase unbalance are adjustable. CM-MPS.23 is also suitable for monitoring single-phase mains. For this, all three external conductors (L1, L2, L3) have to be jumpered and connected as one single conductor. Phase sequence monitoring has to be deactivated and the threshold value for phase unbalance has to be set to the maximum (25 %). Monitoring of three-phase mains for phase sequence (can be switched off), phase failure, over and undervoltage as well as phase unbalance Automatic phase sequence correction configurable Interrupted neutral monitoring possible with CM-MPS.23 CM-MPS.23 can also be used to monitor single-phase mains Can be used for mains with a frequency of 45 to 440 Hz Threshold values for phase unbalance, over- and undervoltage are adjustable as absolute values Tripping delay can be adjusted or switched off by means of a logarithmic scale ON-delayed or OFF-delayed tripping delay selectable Powered by the measuring circuit True RMS measuring principle 1x2 or 2x1 c/o (SPDT) contact configurable 3 LEDs for status indication</div></td> |  | ABB | Monitoring relays | f7757902-01.jpg
84 | Switch: rotary; Stabl.pos:3; 22mm; grey; Illumin: none; IP66; Pos:3 | 1SFA611213R1007 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Switches features</b>: long handle<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: none<br /><b>Caution!</b>: Contact sets must be ordered separately.<br /><b>Manufacturer series</b>: M3S<br /><b>IP rating</b>: IP66<br /><b>Actuator colour</b>: grey<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Button marking</b>: I<br /><b>Number of positions</b>: 3<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 3</div></td> |  | ABB | Rotary switch | marcateo_426479.jpg
85 | A16-30-01 60V 50Hz / 60V 60Hz | 1SBL181001R7301 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 60V 50Hz / 60V 60Hz</div></td> | 38.51 | ABB | Hardware | presentation_bbb1acfb-77e1-4d4c-93e7-4321ef65b426.jpg
86 | ABB Power Control, Analogue, Digital Input, 20 A | DCT880-W03-0020-05+J404 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Control Type = 3 Phase<br>Function = Heater Controller<br>Communication Port Type = Profibus<br>Input Type = Analogue, Digital<br>Maximum Current = 20 A<br>Length = 270mm<br>Width = 215mm<br>Height = 370mm<br><br>ABB Power Controllers DCT880 Series. The DCT880 Series of Power Controllers from ABB are extremely user-friendly and feature a multilingual plain text control panel, a USB interface and advanced PC tools. It has various flexible control methods that ensure even the most demanding applications are controlled dynamically and accurately. The DCT880 thyristor power controllers also feature integrated 3 phase current measurement that precisely calculates and monitors the load resistance in the load circuit. This highly improves system performance. Features and Benefits. User-friendly and flexible Ideal to control electro-thermal processes 20 A to 100 A models available High contrast, high-resolution control panel Resistive, inductive or infrared heating Reduces energy costs by integrated load management and multi-tap Phase control Full-wave burst control Half-wave control I-, U-, P- and I2 control Built-in temperature controller Built-in load optimiser Extensive I/O and communication options Removable memory unit for storing software and parameter configuration. Applications. DCT880 series power controller is suitable in applications for annealing, drying, melting or heating glass, plastics and metals for precise heating control.</div></td> | 1,960.676 | ABB | Thyristor power controller | r1235261-01.jpg
87 | Switch: rotary; Stabl.pos:3; 22mm; red; Illumin: MLB-1; IP66; Pos:3 | 1SFA611213R1101 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: MLB-1<br /><b>Caution!</b>: Illuminating unit has to be ordered separately; Contact sets must be ordered separately.<br /><b>Switches features</b>: long handle<br /><b>Manufacturer series</b>: M3S<br /><b>IP rating</b>: IP66<br /><b>Button marking</b>: I<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Actuator colour</b>: red<br /><b>Number of positions</b>: 3<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 3</div></td> |  | ABB | Rotary switch | marcateo_423183.jpg
88 | A16-30-01 660-690V 50Hz | 1SBL181001R5801 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-01 660-690V 50Hz</div></td> | 38.51 | ABB | Hardware | presentation_bb04c4da-35c5-4647-93fc-d8545f76b278.jpg
89 | ABB S201 MCB Mini Circuit Breaker, 1P, 16 A, 6 kA | 350138 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Model Number = S201L<br>Series = S201<br>Number of Poles = 1<br>Current Rating = 16 A<br>Tripping Characteristics = Type C<br>Rated AC Voltage = 400 V<br>Mounting Style = DIN Rail<br>Breaking Capacity = 6 kA<br>Length = 17.5mm<br>Width = 69mm<br>Depth = 88mm<br>Reset Actuator Type = Toggle Switch</div></td> | 19.068 | ABB | Automatic circuit breaker | y1833626-01.jpg
90 | Switch: rotary; Stabl.pos:3; 22mm; red; Illumin: none; IP66; Pos:3 | 1SFA611210R1001 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Switches features</b>: short handle<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: none<br /><b>Caution!</b>: Contact sets must be ordered separately.<br /><b>Manufacturer series</b>: M3S<br /><b>IP rating</b>: IP66<br /><b>Actuator colour</b>: red<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Button marking</b>: I<br /><b>Number of positions</b>: 3<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 3</div></td> |  | ABB | Rotary switch | marcateo_423196.jpg
91 | A16-30-10RT 110-120V60Hz 110V50Hz | 1SBL181010R8410 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-10RT 110-120V60Hz 110V50Hz</div></td> | 30.33 | ABB | Hardware | 1sbl181010r8410.jpg
92 | ABB 1SDA067392R1 circuit breaker CB-type 3 | 1SDA067392R1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >C.BREAKER TMAX XT1C 160 FIXED THREE-POLE WITH FRONT TERMINALS AND THERMOMAGNETIC RELEASE TMD R 32-450 A</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>76.2 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>70 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>130 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>1100 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Power</div></td><td class=bd05rb valign=top><div class=m5>Input voltage</div></td><td class=bd05rb valign=top><div class=m5>500 V</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Rated current</div></td><td class=bd05rb valign=top><div class=m5>32 A</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package width</div></td><td class=bd05rb valign=top><div class=m5>128 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package depth</div></td><td class=bd05rb valign=top><div class=m5>143 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package height</div></td><td class=bd05rb valign=top><div class=m5>135 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package weight</div></td><td class=bd05rb valign=top><div class=m5>1100 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>CB-type </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Type of release</div></td><td class=bd05rb valign=top><div class=m5>TM </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Black </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CE, GL, LR </div></td></tr></table></td> | 89.69 | ABB | Circuit breaker | 31091401_5188.jpg | CIEN1-31091401.pdf
93 | ABB Phase, Voltage Monitoring Relay With DPDT Contacts, 300 в†’ 500 V ac, 3 Phase | 1SVR740794R3300 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Monitoring Application = Phase, Voltage<br>Supply Voltage = 300 в†’ 500 V ac<br>Contact Configuration = DPDT<br>Voltage Sensitivity = Overvoltage, Undervoltage<br>Electrical Phase = 3<br>Voltage Sensing Range = 300 в†’ 500 V ac<br>Phase Sensitivity = Phase Failure, Phase Sequence<br>Time Delay = 0.1 в†’ 30 s, 0 s<br>Frequency Sensing Range = 45 в†’ 65 Hz<br>Width = 22.5mm<br><br>CM-PVS Three-Phase Monitoring Relays. The CM-PVS.x1 are monitoring relays for three-phase mains. They monitor the phase parameters phase sequence, phase failure, over- and undervoltage. The threshold values for over- and undervoltage are adjustable. Monitoring of three-phase mains for phase sequence (can be switched off), phase failure, over- and undervoltage Threshold values for over- and undervoltage are adjustable as absolute values Tripping delay can be adjusted or switched off by means of a logarithmic scale ON-delayed or OFF-delayed tripping delay selectable Powered by the measuring circuit True RMS measuring principle 2 c/o (SPDT) contacts 3 LEDs for status indication</div></td> |  | ABB | Monitoring relays | r7757891-01.jpg
94 | SELECTOR SWITCH M3SS1-11C | 1SFA611210R1108 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >SELECTOR SWITCH M3SS1-11C</div></td> |  | ABB | Rotary switch | presentation_3a4220ff-828f-46d6-a4c0-085085d18661.jpg
95 | Miniature Circuit Breaker 1, Circuit tripping B | S201S-B16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Miniature Circuit Breaker, Rated operating voltage: 12...253 VAC, Width: 17.5 mm, Circuit tripping: B, Mounting: DIN Rail, Number of poles: 1, Series: S200S, Short-circuit capacity: 6 kA @ (230 / 400 VAC)</div><div class="fw_b fs_2" style="margin:5px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_0001" width="100%"><tr><td width="30%" class=B5></td><td width="70%" class=B5></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Bruttogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.100 kg</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Nettogewicht:</div></td><td class=bd05rb valign=top><div class=m5>0.100 kg</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">HГ¶he:</div></td><td class=bd05rb valign=top><div class=m5>89 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Breite:</div></td><td class=bd05rb valign=top><div class=m5>17.5 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class="m5 fw_b">Tiefe:</div></td><td class=bd05rb valign=top><div class=m5>69 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class="m5 fw_b">Ursprungsland:</div></td><td class=bd05rb valign=top><div class=m5>BG</div></td></tr></table></td> |  | ABB | Automatic circuit breaker | 99351203.jpg | S200S_eng_tds.pdf
97 | A16-30-10RT 220-230V50Hz 230-240V60Hz | 1SBL181010R8010 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A16-30-10RT 220-230V50Hz 230-240V60Hz</div></td> | 30.40 | ABB | Hardware | presentation_a54477c3-5539-4c82-8d0a-0fd43be711d1.jpg
98 | 3 100 A MCCB Molded Case Circuit Breaker, DIN Rail Mount Pro M S2CU | E203/100RD | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Range = Pro M<br>Series = S2CU<br>Number of Poles = 3P<br>Current Rating = 100 A<br>Rated AC Voltage = 230 V, 400 V<br>Mounting Style = DIN Rail<br>Length = 52.5mm<br>Width = 68mm<br>Depth = 90mm<br><br>Switch Disconnectors E200i Series</div></td> | 45.382 | ABB | Circuit breaker | f5383833-01.jpg
100 | ABB Power Control, Analogue, Digital Input, 55 A | DCT880-W02-0055-05+J404 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Control Type = 2 Phase<br>Function = Heater Controller<br>Communication Port Type = Profibus<br>Input Type = Analogue, Digital<br>Maximum Current = 55 A<br>Length = 270mm<br>Width = 215mm<br>Height = 370mm<br><br>ABB Power Controllers DCT880 Series. The DCT880 Series of Power Controllers from ABB are extremely user-friendly and feature a multilingual plain text control panel, a USB interface and advanced PC tools. It has various flexible control methods that ensure even the most demanding applications are controlled dynamically and accurately. The DCT880 thyristor power controllers also feature integrated 3 phase current measurement that precisely calculates and monitors the load resistance in the load circuit. This highly improves system performance. Features and Benefits. User-friendly and flexible Ideal to control electro-thermal processes 20 A to 100 A models available High contrast, high-resolution control panel Resistive, inductive or infrared heating Reduces energy costs by integrated load management and multi-tap Phase control Full-wave burst control Half-wave control I-, U-, P- and I2 control Built-in temperature controller Built-in load optimiser Extensive I/O and communication options Removable memory unit for storing software and parameter configuration. Applications. DCT880 series power controller is suitable in applications for annealing, drying, melting or heating glass, plastics and metals for precise heating control.</div></td> | 2,138.618 | ABB | Thyristor power controller | r1235258-01.jpg
102 | Switch: rotary; Stabl.pos:3; 22mm; yellow; Illumin: MLB-1; IP66 | 1SFA611210R1103 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ><b>Manufacturer</b>: ABB<br /><b>Button shape</b>: prominent<br /><b>Illumination</b>: MLB-1<br /><b>Caution!</b>: Illuminating unit has to be ordered separately; Contact sets must be ordered separately.<br /><b>Switches features</b>: short handle<br /><b>Manufacturer series</b>: M3S<br /><b>IP rating</b>: IP66<br /><b>Button marking</b>: I<br /><b>Switch standard</b>: 22mm<br /><b>Type of switch</b>: rotary<br /><b>Actuator colour</b>: yellow<br /><b>Number of positions</b>: 3<br /><b>Operating temperature</b>: -25...70В°C<br /><b>Mounting hole diameter</b>: Г22.5mm<br /><b>Stable positions number</b>: 3</div></td> |  | ABB | Rotary switch | marcateo_423193.jpg
104 | ABB 2CDS253001R0404 circuit breaker Miniature circuit breaker C-type 3 | S203-C40 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >System pro M compact S200 miniature circuit breakers are current limiting. They have two different tripping mechanisms, the delayed thermal tripping mechanism for overload protection and the electromechanic tripping mechanism for short circuit protection. They are available in different characteristics (B,C,D,K,Z), configurations (1P,1P+N,2P,3P,3P+N,4P), breaking capacities (up to 6 kA at 230/400 V AC) and rated currents (up to 63A). All MCBs of the product range S200 comply with IEC/EN 60898-1, IEC/EN 60947-2, UL1077 and CSA 22.2 No. 235, allowing the use for residential, commercial and industrial applications. Bottom-fitting auxiliary contact can be mounted on S200 to save 50% space.</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>52.5 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>69 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>88 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>375 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-25 - 55 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Power</div></td><td class=bd05rb valign=top><div class=m5>Input voltage</div></td><td class=bd05rb valign=top><div class=m5>230 - 400 V</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Rated current</div></td><td class=bd05rb valign=top><div class=m5>40 A</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Packaging data</div></td><td class=bd05rb valign=top><div class=m5>Package width</div></td><td class=bd05rb valign=top><div class=m5>92 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package depth</div></td><td class=bd05rb valign=top><div class=m5>58 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package height</div></td><td class=bd05rb valign=top><div class=m5>80 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Package weight</div></td><td class=bd05rb valign=top><div class=m5>400 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Circuit breaker type</div></td><td class=bd05rb valign=top><div class=m5>Miniature circuit breaker </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>C-type </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Breaking capacity</div></td><td class=bd05rb valign=top><div class=m5>20000 A</div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP40 </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Black,Grey </div></td></tr><tr class=B2><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr><tr class=B14><td class=bd05rb valign=top></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>IEC/EN 60898-1 < br / IEC/EN 60947-2 < br / UL 1077 </div></td></tr></table></td> | 13.94 | ABB | Automatic circuit breaker | 18602639_0440240428.jpg | CIEN1-18602639.pdf