## dold_en
id | title | article | fulltext | price | manufacturer | category | image | pdf
1 | Dold Contactor Relay 2NO, 8 A | IK3070.02/002DC24V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Contact Current Rating = 8 A<br>Contact Voltage Rating = 24 V dc, 230 V ac<br>Normal State Configuration = 2NO<br>Length = 90mm<br>Operating Temperature Range = -20 в†’ +55 В°C<br><br>IK 3070 - coupler relay. Coupler relay for small and large loads, as link between control and power levels For electrical isolation in accordance with EN 61810 Secure isolation in accordance with VDE 0106 part 101 2 NO contacts or 2 changeover contacts</div></td> |  | DOLD | Power contactor | r4105042-01.jpg
2 | Dold 2 Pole Contactor - 16 A, 24 V dc Coil, 3NO/2NC | IK8701.12DC24V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Coil Voltage = 24 V dc<br>Number of Poles = 2<br>Contact Current Rating = 16 A<br>Series = IK8701<br>Normal State Configuration = 3NO/2NC<br>Contact Voltage Rating = 24 V dc<br>Minimum Operating Temperature = -20В°C<br><br>IK 8701 - coupler relay. High thermal current I ;sub th ;/sub = 16 A Contact assignment 1 NO, 1 or 2 CO Switch for manual operation of the contact Switch position indication 17.5 mm overall width</div></td> |  | DOLD | Power contactor | r2409190-01.jpg
3 | Dold Liquid Level Relay - DIN Rail Mount, 24 V dc 1 | MK9151.112-450kOhmDC24V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Number of Inputs = 1<br>Mounting Style = DIN Rail Mount<br>Probe Voltage = 10V ac<br>Supply Voltage = 24 V dc<br>Overall Length = 82mm<br>Overall Width = 22.5mm<br>Overall Depth = 99mm<br>Minimum Operating Temperature = -20В°C<br>Maximum Operating Temperature = +60В°C<br><br>MK 9151 - level relay. The MK9151 is used for. Level monitoring and control of conductive liquids and powders, e.g. maximum and minimum fill level, protection against overfilling and dry running Monitoring and control of the mix ratio for conductive liquids General resistance monitoring, e.g. recording temperature limits with PTC (device to IEG 255, VDE 0435 section 303). Features. 3 electrode connections for 2-point and 1-point level control The metering circuit galvanically isolated from the mains is immune from high levels of interference Max. lead length to the electrodes: 1500 m Wide setting range: 2 в†’ 450 kО© which enables differentiation between liquid and foam Adjustable response and fallback delay: 0.2 в†’ 20 s Programmable for working current principle (without bridge) or rest current principle (X1-X2 and/or X1-COM bridge) 2 LEDs to indicate operating readiness and contact position 1 changer Overall width 22.5 mm, protection class IP40</div></td> |  | DOLD | Level | f2409005-01.jpg
4 | Dold Liquid Level Relay - DIN Rail Mount, 220 в†’ 240 V ac 1 | MK9151.112-450kOhmAC220-240V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Number of Inputs = 1<br>Mounting Style = DIN Rail Mount<br>Probe Voltage = 10V ac<br>Supply Voltage = 220 в†’ 240 V ac<br>Overall Length = 82mm<br>Overall Width = 22.5mm<br>Overall Depth = 99mm<br>Minimum Operating Temperature = -20В°C<br>Maximum Operating Temperature = +60В°C<br><br>MK 9151 - level relay. The MK9151 is used for. Level monitoring and control of conductive liquids and powders, e.g. maximum and minimum fill level, protection against overfilling and dry running Monitoring and control of the mix ratio for conductive liquids General resistance monitoring, e.g. recording temperature limits with PTC (device to IEG 255, VDE 0435 section 303). Features. 3 electrode connections for 2-point and 1-point level control The metering circuit galvanically isolated from the mains is immune from high levels of interference Max. lead length to the electrodes: 1500 m Wide setting range: 2 в†’ 450 kО© which enables differentiation between liquid and foam Adjustable response and fallback delay: 0.2 в†’ 20 s Programmable for working current principle (without bridge) or rest current principle (X1-X2 and/or X1-COM bridge) 2 LEDs to indicate operating readiness and contact position 1 changer Overall width 22.5 mm, protection class IP40</div></td> |  | DOLD | Level | r2409011-01.jpg
5 | Dold BD 5935 24 V dc Safety Relay Single or Dual Channel With 4 Safety Contacts | BD5935.48DC24V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Supply Voltage = 24 V dc<br>Number of Channels = 1, 2<br>Function = Emergency Stop<br>Safety Contacts = 4<br>Range = Safemaster<br>Terminal Type = Screw<br>Width = 45mm<br><br>EN 60204-1 (stop functions), EN 418, prEN574, prEN 954-1. BG. Emergency Stop Module, BD5935.48. Machine emergency stop switches Monitoring sliding grill guards SK 4 (with equivalent switching) Ultra compact unit (width 45 mm) Output: 3 N/Os, 1 N/C 1 or 2-channel configuration Line termination detection on the ON button Programmable: cross-fault detection in emergency stop-control loop Programmable: automatically comes on when operational voltage is applied or activation must happen with the ON button LED indicators for channels 1 and 2 Option to monitor external protection Removable terminals Protection of humans and machines in accordance with: EC Directive for Machines 89/392/EEC, IEC 204 T 1, EN 60204 T 1, DIN VDE 0113</div></td> |  | DOLD | Emergency stop module | f2408692-01.jpg
6 | Dold BN 5983 24 V dc Safety Relay Dual Channel With 3 Safety Contacts | BN5983.53DC24V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Supply Voltage = 24 V dc<br>Number of Channels = 2<br>Auxiliary Contacts = 1<br>Function = Emergency Stop<br>Safety Contacts = 3<br>Range = Safemaster<br>Reset Method = Monitored<br>Terminal Type = Terminal Block<br>Width = 100mm<br><br>EN 60204-1 (stop functions), EN 418, prEN574, prEN 954-1. BG, TГњV-Rheinland, UL, CSA, SUVA, SA Sweden, Arbejdstilsynet Denmark. Emergency Stop Module, BN5983.53. Machine emergency stop switches Monitors safety doors SK 3 (with equivalent switching) Output: 3 N/Os, 1 N/C for AC 380 V 1 or 2-channel configuration LED indicators for channels 1 and 2 Control loop X3-X4 for monitoring external protection Removable terminals. Protection of humans and machines in accordance with: EC Directive on Machines 89/392/EEC, IEC 204, EN 60204, DIN VDE 0113</div></td> |  | DOLD | Emergency stop module | r2408686-01.jpg
7 | 0000498 - DIGITAL RELAY - EC9621.82/03 AC50/60HZ 230V 99,99S | 498 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000498 - DIGITAL RELAY - EC9621.82/03 AC50/60HZ 230V 99,99S</div></td> | 602.49 | DOLD | Time relay | no_image_200x200.jpg
8 | AUXILIARY RELAY 220VAC 50HZ | AI866.002-AC50HZ-220V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >AUXILIARY RELAY 220VAC 50HZ</div></td> | 152.44 | DOLD | Auxiliary relay | 14334ba3341343ff97b13102ccdeb8fd.jpg
9 | 0000027 - TIME RELAY, delay ON - AI 902N.8181/04 AC42V 0,5-10S | 27 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000027 - TIME RELAY, delay ON - AI 902N.8181/04 AC42V 0,5-10S</div></td> | 234.13 | DOLD | Time delay relay | no_image_200x200.jpg
10 | CURRENT SENSE RELAY 5AMP 110VAC 50/60HZ 1SEC | MB-9053/AC0.1-1A/AC110V-50/60HZ-1S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >CURRENT SENSE RELAY 5AMP 110VAC 50/60HZ 1SEC</div></td> | 32.76 | DOLD | Differential current relay | 8d34c9bcfb224093a0706d1b8f147f74.jpg
11 | 0044056 - ASYMMETRY RELAY - BA9040.12/010 3AC50/60HZ 400V ,5-5S | 44056 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044056 - ASYMMETRY RELAY - BA9040.12/010 3AC50/60HZ 400V ,5-5S</div></td> | 287.13 | DOLD | Mains monitoring relays | no_image_200x200.jpg
12 | 0000516 - Fault relay - AI 992 DC48V + RV ZWS 8SL 240 OHM | 516 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000516 - Fault relay - AI 992 DC48V + RV ZWS 8SL 240 OHM</div></td> | 399.71 | DOLD | Fault signaling relay | no_image_200x200.jpg
13 | 0044067 - COUPLING RELAY - CB3056.11/100 AC/DC60V | 44067 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044067 - COUPLING RELAY - CB3056.11/100 AC/DC60V</div></td> | 66.55 | DOLD | Coupling relays | no_image_200x200.jpg
14 | DISCONTINUED BY MANUFACTURER; FAULT RELAY; 24VAC; 50/60HZ | AI993/AC24V-50/60HZ | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >DISCONTINUED BY MANUFACTURER; FAULT RELAY; 24VAC; 50/60HZ</div></td> | 145.61 | DOLD | Safety Relay | 71d12e8336a44765925f9bb15444a7e0.jpg
15 | 0044066 - VOLTAGE RELAY - AN9843.82/011 3AC50/60HZ 400V 1-20S | 44066 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044066 - VOLTAGE RELAY - AN9843.82/011 3AC50/60HZ 400V 1-20S</div></td> | 609.89 | DOLD | Mains monitoring relays | no_image_200x200.jpg
16 | 0000512 - DIGITAL RELAY - AI 621.82 AC50/60HZ 24V 0,01-99,99S | 512 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000512 - DIGITAL RELAY - AI 621.82 AC50/60HZ 24V 0,01-99,99S</div></td> | 333.59 | DOLD | Time relay | no_image_200x200.jpg
17 | 0044070 - REMOTE SWITCH M20987100 - OA8820.01 AC230V | 44070 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044070 - REMOTE SWITCH M20987100 - OA8820.01 AC230V</div></td> | 43.44 | DOLD | Current surge relay | no_image_200x200.jpg
19 | 0044068 - PULSE GENERATOR E32H/A32H - EO7864.81 AC/DC48V | 44068 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044068 - PULSE GENERATOR E32H/A32H - EO7864.81 AC/DC48V</div></td> | 216.39 | DOLD | Time relay | no_image_200x200.jpg
20 | 0000524 - TIME RELAY, delay ON - AA7616.24/100 50/60HZ110V ,15-1000S | 524 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000524 - TIME RELAY, delay ON - AA7616.24/100 50/60HZ110V ,15-1000S</div></td> | 239.03 | DOLD | Time delay relay | no_image_200x200.jpg
21 | 0044074 - TIME RELAY, delay ON - EF7616.32 AC50/60HZ 115V 0,15S-30H | 44074 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044074 - TIME RELAY, delay ON - EF7616.32 AC50/60HZ 115V 0,15S-30H</div></td> | 311.74 | DOLD | Time delay relay | no_image_200x200.jpg
22 | DISCONTINUED BY MANUFACTURER; RELAY; MAX 250VE; 1AMP | AI-990.10 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >DISCONTINUED BY MANUFACTURER; RELAY; MAX 250VE; 1AMP</div></td> | 26.92 | DOLD | Relay/Socket | 98bf8e6913de4381b40a8977c3b4e1f7.jpg
23 | 0044072 - RELAY - IL8701.14 DC125V | 44072 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044072 - RELAY - IL8701.14 DC125V</div></td> | 100.98 | DOLD | Installation relays | no_image_200x200.jpg
24 | 0000517 - Fault relay - EH9997.11 AC/DC24V US=12-70V | 517 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000517 - Fault relay - EH9997.11 AC/DC24V US=12-70V</div></td> | 339.07 | DOLD | Fault signaling relay | no_image_200x200.jpg
25 | 0044103 - ASYMMETRY RELAY - BA9040.12 3AC50/60HZ 240V | 44103 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044103 - ASYMMETRY RELAY - BA9040.12 3AC50/60HZ 240V</div></td> | 247.72 | DOLD | Mains monitoring relays | no_image_200x200.jpg
26 | 0044093 - RELAY - IL8701.06/006 DC110V | 44093 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044093 - RELAY - IL8701.06/006 DC110V</div></td> | 148.22 | DOLD | Installation relays | no_image_200x200.jpg
27 | DISCONTINUED BY MANUFACTURER; TIME DELAY RELAY; 5-100SEC; 110V; 50/60HZ; MULTI-T | AI903.0081/AC110V-50/60HZ/5-100S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >DISCONTINUED BY MANUFACTURER; TIME DELAY RELAY; 5-100SEC; 110V; 50/60HZ; MULTI-TIMER</div></td> | 112.21 | DOLD | Time delay relay | eaa424f412734c1785659351f9160a4e.jpg
28 | 0000543 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 240V 2-60S | 543 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000543 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 240V 2-60S</div></td> | 234.48 | DOLD | Time delay relay | no_image_200x200.jpg
29 | 0044120 - isolation monitor - IR5879.12/107 AC230V 50/75K-OHM | 44120 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044120 - isolation monitor - IR5879.12/107 AC230V 50/75K-OHM</div></td> | 791.88 | DOLD | FI-circuit breaker | no_image_200x200.jpg
30 | 0044101 - PLUG SOCKET - HC3093.11/301 AC/DC24V | 44101 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044101 - PLUG SOCKET - HC3093.11/301 AC/DC24V</div></td> | 35.30 | DOLD | Relay base | no_image_200x200.jpg
31 | DISCONTINUED BY MANUFACTURER; UNDERCURRENT RELAY; 2.5-5AMP; 50/60HZ; VARIMETER | AI837/66-AC2.5-5A | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >DISCONTINUED BY MANUFACTURER; UNDERCURRENT RELAY; 2.5-5AMP; 50/60HZ; VARIMETER</div></td> | 216.59 | DOLD | Relay/Socket | b3e86af33ec34c50829f2e63c599e17c.jpg
32 | 0044134 - TIME RELAY, delay ON - EC7616.32/041 50/60HZ 230V0,15S-30H | 44134 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044134 - TIME RELAY, delay ON - EC7616.32/041 50/60HZ 230V0,15S-30H</div></td> | 259.05 | DOLD | Time delay relay | no_image_200x200.jpg
33 | 0000542 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 240V 0,2-6S | 542 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000542 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 240V 0,2-6S</div></td> | 234.95 | DOLD | Time delay relay | no_image_200x200.jpg
35 | 0044104 - ASYMMETRY RELAY - BA9040.12 3AC50/60HZ 600V | 44104 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044104 - ASYMMETRY RELAY - BA9040.12 3AC50/60HZ 600V</div></td> | 247.30 | DOLD | Mains monitoring relays | no_image_200x200.jpg
36 | 0000545 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 230V 2-60M | 545 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000545 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 230V 2-60M</div></td> | 245.50 | DOLD | Time delay relay | no_image_200x200.jpg
37 | 0044139 - ENERGY SAVING SWITCH - OA8823.84 DC24V 2-20M | 44139 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044139 - ENERGY SAVING SWITCH - OA8823.84 DC24V 2-20M</div></td> | 94.99 | DOLD | Staircase lighting switch | no_image_200x200.jpg
38 | DISCONTINUED BY MANUFACTURER; UNDERCURRENT RELAY; 4-8AMP; 50/60HZ; VARIMETER | AI837/66-AC4-8A | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >DISCONTINUED BY MANUFACTURER; UNDERCURRENT RELAY; 4-8AMP; 50/60HZ; VARIMETER</div></td> | 174.85 | DOLD | Relay/Socket | 3e53697352fb4b89a92d969969c1e9a5.jpg
39 | 0044127 - ENERGY SAVING SWITCH - IK8813.81 AC50/60HZ 230V 15-300M | 44127 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044127 - ENERGY SAVING SWITCH - IK8813.81 AC50/60HZ 230V 15-300M</div></td> | 115.00 | DOLD | Staircase lighting switch | no_image_200x200.jpg
40 | 0000544 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 240V 0,2-6M | 544 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000544 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 240V 0,2-6M</div></td> | 245.76 | DOLD | Time delay relay | no_image_200x200.jpg
41 | 0044168 - VOLTAGE RELAY - MK9054/011 AC0,5-5V UH AC230V 1S | 44168 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044168 - VOLTAGE RELAY - MK9054/011 AC0,5-5V UH AC230V 1S</div></td> | 254.10 | DOLD | Mains monitoring relays | no_image_200x200.jpg
42 | EMERGENCY STOP MODULE SAFEMASTER 5AMP 250V 24VDC | BD5987.02/DC24V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >EMERGENCY STOP MODULE SAFEMASTER 5AMP 250V 24VDC</div></td> | 146.75 | DOLD | Safety Relay | 89db4e77a80a4a699381c59f39903307.jpg
43 | 0044140 - Underload monitor Tv=1-100S - MK9065.11 AC220-240V 0,5-10A | 44140 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044140 - Underload monitor Tv=1-100S - MK9065.11 AC220-240V 0,5-10A</div></td> | 260.47 | DOLD | Monitoring relays | no_image_200x200.jpg
44 | 0000548 - TIME RELAY, ON-delay - MK9903.81 AC50/60HZ230-240V 0,15-3S | 548 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000548 - TIME RELAY, ON-delay - MK9903.81 AC50/60HZ230-240V 0,15-3S</div></td> | 100.25 | DOLD | Time delay relay | no_image_200x200.jpg
45 | 0044186 - Latching Relays - AD8851.14/025 DC60V | 44186 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044186 - Latching Relays - AD8851.14/025 DC60V</div></td> | 209.05 | DOLD | Plug-in relay with suppressor | no_image_200x200.jpg
46 | EMERGENCY STOP MODULE; SINGLE CHANNEL; 2NO; 24VDC | BE5982.02/DC24V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >EMERGENCY STOP MODULE; SINGLE CHANNEL; 2NO; 24VDC</div></td> | 257.13 | DOLD | Safety Relay | a1999ad711194764ad1dd885395d8e72.jpg
47 | 0044157 - VOLTAGE RELAY Tv=1-20S - AN9843.82/213 3AC50/60HZ 400/690V | 44157 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044157 - VOLTAGE RELAY Tv=1-20S - AN9843.82/213 3AC50/60HZ 400/690V</div></td> | 611.19 | DOLD | Mains monitoring relays | no_image_200x200.jpg
48 | 0000546 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 240V 0,2-6H | 546 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000546 - TIME RELAY, delay ON - EC7610.21 AC50/60HZ 240V 0,2-6H</div></td> | 260.95 | DOLD | Time delay relay | no_image_200x200.jpg
49 | 0044201 - EMERGENCY STOP MODULE - BD5987.03/001 AC50/60HZ 24V | 44201 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044201 - EMERGENCY STOP MODULE - BD5987.03/001 AC50/60HZ 24V</div></td> | 345.91 | DOLD | Emergency stop module | no_image_200x200.jpg
51 | 0044179 - VOLTAGE RELAY - AN9843.82/115 3AC50/60HZ 100V | 44179 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044179 - VOLTAGE RELAY - AN9843.82/115 3AC50/60HZ 100V</div></td> | 632.37 | DOLD | Mains monitoring relays | no_image_200x200.jpg
52 | 0000563 - TIME RELAY, delay ON - EH7610.21 AC50/60HZ 42V 2-60M | 563 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000563 - TIME RELAY, delay ON - EH7610.21 AC50/60HZ 42V 2-60M</div></td> | 260.71 | DOLD | Time delay relay | no_image_200x200.jpg
53 | 0044213 - TIME RELAY, OFF delay - MK7863.81/120 AC110-127V 1,5-10S | 44213 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044213 - TIME RELAY, OFF delay - MK7863.81/120 AC110-127V 1,5-10S</div></td> | 147.00 | DOLD | Time delay relay | no_image_200x200.jpg
54 | INCOMPLETE PART NUMBER .....INTERFACE RELAY 2 C/O CONTACTS | IK-3076.12 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >INCOMPLETE PART NUMBER .....INTERFACE RELAY 2 C/O CONTACTS</div></td> | 48.48 | DOLD | Coupling relays | de44fc8f4e174372bef4106f6e6b11d6.jpg
55 | 0044204 - FORT RELAY - BA7632.11 AC50/60HZ 127V | 44204 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044204 - FORT RELAY - BA7632.11 AC50/60HZ 127V</div></td> | 227.10 | DOLD | Phase error relay | no_image_200x200.jpg
56 | 0000556 - TIME STAGE - AA9947 AC50/60HZ 230V E30M/A30M | 556 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000556 - TIME STAGE - AA9947 AC50/60HZ 230V E30M/A30M</div></td> | 458.79 | DOLD | Time relay | no_image_200x200.jpg
57 | 0044214 - EXPANSION MODULE NOT-AUS - BN3081.63 AC50/60HZ 230V | 44214 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044214 - EXPANSION MODULE NOT-AUS - BN3081.63 AC50/60HZ 230V</div></td> | 293.47 | DOLD | Expansion module for safety relays | no_image_200x200.jpg
58 | INTERFACE MODULE SAFEMASTER 8AMP 6OUTPUT 24VAC/DC | IP55-02.08/DC24V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >INTERFACE MODULE SAFEMASTER 8AMP 6OUTPUT 24VAC/DC</div></td> | 146.77 | DOLD | Interface module | f3a013c790274247866b82dd8bd7a643.jpg
59 | 0044207 - EXPANSION MODULE NOT-AUS - BN3081.63 AC/DC24V | 44207 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044207 - EXPANSION MODULE NOT-AUS - BN3081.63 AC/DC24V</div></td> | 285.37 | DOLD | Expansion module for safety relays | no_image_200x200.jpg
60 | 0000611 - REMOTE SWITCH x - IK8800.12 AC50HZ 240V | 611 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000611 - REMOTE SWITCH x - IK8800.12 AC50HZ 240V</div></td> | 91.28 | DOLD | Current surge relay | no_image_200x200.jpg
61 | 0044216 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 0,15-3S | 44216 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044216 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 0,15-3S</div></td> | 100.00 | DOLD | Time delay relay | no_image_200x200.jpg
62 | ISOLATION RELAY 3AMP 220VAC/DC 50/60HZ 50K UH | AI898/AC/DC220V-50/60HZ | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >ISOLATION RELAY 3AMP 220VAC/DC 50/60HZ 50K UH</div></td> | 152.53 | DOLD | Relay/Socket | 441dae49dc524892b7a88dddb602f058.jpg
63 | 0044215 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 0,05-1S | 44215 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044215 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 0,05-1S</div></td> | 100.11 | DOLD | Time delay relay | no_image_200x200.jpg
64 | 0000558 - TIME RELAY, ON-delay - MK9903.81 AC50/60HZ 230-240V ,05-1S | 558 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000558 - TIME RELAY, ON-delay - MK9903.81 AC50/60HZ 230-240V ,05-1S</div></td> | 100.59 | DOLD | Time delay relay | no_image_200x200.jpg
65 | 0044218 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 1,5-30S | 44218 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044218 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 1,5-30S</div></td> | 108.34 | DOLD | Time delay relay | no_image_200x200.jpg
66 | LEVEL RELAY 1K-0.1M 220VAC 50/60HZ A1/A2 | AI872/AC220V-50/60HZ/1K-0.1M | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >LEVEL RELAY 1K-0.1M 220VAC 50/60HZ A1/A2</div></td> | 125.67 | DOLD | Level | 91cf1de68f95478a9387d60f50f6dc59.jpg
67 | 0044217 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 0,5-10S | 44217 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044217 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 0,5-10S</div></td> | 99.40 | DOLD | Time delay relay | no_image_200x200.jpg
68 | 0000653 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 110V 2-60S | 653 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000653 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 110V 2-60S</div></td> | 221.50 | DOLD | Time delay relay | no_image_200x200.jpg
69 | 0044220 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 15-300S | 44220 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044220 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 15-300S</div></td> | 109.53 | DOLD | Time delay relay | no_image_200x200.jpg
70 | 0044219 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 5-100S | 44219 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044219 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 230V 5-100S</div></td> | 108.13 | DOLD | Time delay relay | no_image_200x200.jpg
71 | LOAD MONITOR; UNDERLOAD - 1 PHASE / 3 PHASE AUTO RESET; 230VAC OR 400VAC | IK9065.11* | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >LOAD MONITOR; UNDERLOAD - 1 PHASE / 3 PHASE AUTO RESET; 230VAC OR 400VAC</div></td> | 45.59 | DOLD | Uncategorized | 7ab82d89a6674694a368f0ddd9627381.jpg
72 | 0044222 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 230V 5-100S | 44222 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044222 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 230V 5-100S</div></td> | 114.66 | DOLD | Time delay relay | no_image_200x200.jpg
73 | 0000560 - REMOTE SWITCH - IL8800.04 DC110V | 560 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000560 - REMOTE SWITCH - IL8800.04 DC110V</div></td> | 108.14 | DOLD | Current surge relay | no_image_200x200.jpg
74 | 0044221 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 230V 0,05-1S | 44221 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044221 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 230V 0,05-1S</div></td> | 106.78 | DOLD | Time delay relay | no_image_200x200.jpg
75 | MEARUSING RELAY; MULTIFUNCTION; 0.5-5VDC; 240VAC; 50/60HZ | BA9054/DC0.5-5V/UH/AC240V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >MEARUSING RELAY; MULTIFUNCTION; 0.5-5VDC; 240VAC; 50/60HZ</div></td> | 264.03 | DOLD | Meter Relay | 195b883a5c164f26b44168e3fc8c96b7.jpg
76 | 0044224 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 0,05-1S | 44224 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044224 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 0,05-1S</div></td> | 100.26 | DOLD | Time delay relay | no_image_200x200.jpg
77 | 0000655 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 110V 2-60M | 655 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000655 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 110V 2-60M</div></td> | 228.47 | DOLD | Time delay relay | no_image_200x200.jpg
78 | 0044223 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 230V 15-300S | 44223 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044223 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 230V 15-300S</div></td> | 115.10 | DOLD | Time delay relay | no_image_200x200.jpg
79 | MOTOR PROTECTION RELAY 110V 50/60HZ | MK9163N.12/110 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >MOTOR PROTECTION RELAY 110V 50/60HZ</div></td> | 105.56 | DOLD | Motor protection relay | 7afb201b2d5c49cf8f83085a45eb5057.jpg
80 | 0044226 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 0,5-10S | 44226 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044226 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 0,5-10S</div></td> | 100.31 | DOLD | Time delay relay | no_image_200x200.jpg
81 | 0000619 - delay relay - AA7562.32/001 DC220V 0,2-30S | 619 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000619 - delay relay - AA7562.32/001 DC220V 0,2-30S</div></td> | 261.45 | DOLD | Time relay | no_image_200x200.jpg
82 | 0044225 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 0,15-3S | 44225 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044225 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 0,15-3S</div></td> | 101.20 | DOLD | Time delay relay | no_image_200x200.jpg
83 | Dold Voltage Monitoring Relay With DPDT Contacts, 230/400 V ac, 3 Phase | IL9077.123/NAC400/230V0.1-20S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Monitoring Application = Voltage<br>Supply Voltage = 230/400 V ac<br>Contact Configuration = DPDT<br>Voltage Sensitivity = Overvoltage, Undervoltage<br>Electrical Phase = 3<br>Time Delay = 0.1 в†’ 20 s<br>Dimensions = 59 x 35 x 90 mm<br><br>IL9077 - Over and under voltage relay. Detection of over voltage, under voltage and phase failure Network error diagnosis through more LEDs Response values for over and under voltage separately adjustable Adjustment ranges 0.9 в†’ 1.3 U ;sub N ;/sub and / or 0.7 в†’ 1.1 U ;sub N ;/sub Adjustable time delays from 0.1 в†’ 20 s Nom. voltage: 3 AC 230 / 400 V, 50 / 60 Hz Voltage range: 0.7 в†’ 1.3 U ;sub N ;/sub Overload capability: 1.35 U ;sub N ;/sub continuous Rest current principle Without auxiliary voltage Any phase sequence Nominal operating mode: Continuous operation Can also be used as single phase 2 changers Protection class (housing / terminals): IP40/IP20 Overall width 35 mm To IEC 255, VDE 0435 section 303 Manuf. ref.: IL9077.12 3/N AC 400/230 0.1 в†’ 20 s</div></td> |  | DOLD | Monitoring relays | f2913144-01.jpg
84 | 0044228 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 5-100S | 44228 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044228 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 5-100S</div></td> | 108.18 | DOLD | Time delay relay | no_image_200x200.jpg
85 | 0000658 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 230V 0,2-6S | 658 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000658 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 230V 0,2-6S</div></td> | 221.29 | DOLD | Time delay relay | no_image_200x200.jpg
86 | 0044227 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 1,5-30S | 44227 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044227 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 1,5-30S</div></td> | 108.23 | DOLD | Time delay relay | no_image_200x200.jpg
87 | PHASE SEQUENCE RELAY 3AMP 400VAC 50/60HZ | BA-9043/003-3AC-400V-50/60HZ | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >PHASE SEQUENCE RELAY 3AMP 400VAC 50/60HZ</div></td> | 109.83 | DOLD | Phase error relay | b9814a7ddc0b427fab4056b187fd8975.jpg
88 | 0044230 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 42V 0,05-1S | 44230 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044230 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 42V 0,05-1S</div></td> | 106.83 | DOLD | Time delay relay | no_image_200x200.jpg
89 | 0000654 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 110V 0,2-6M | 654 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000654 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 110V 0,2-6M</div></td> | 228.99 | DOLD | Time delay relay | no_image_200x200.jpg
90 | 0044229 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 15-300S | 44229 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044229 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 42V 15-300S</div></td> | 108.65 | DOLD | Time delay relay | no_image_200x200.jpg
91 | RELAY | OW56911191361 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >RELAY</div></td> | 1993-10-01 | DOLD | Relay/Socket | 2b428efde70347beaf14ac58e58edb61.jpg
92 | 0044232 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 42V 5-100S | 44232 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044232 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 42V 5-100S</div></td> | 114.95 | DOLD | Time delay relay | no_image_200x200.jpg
93 | 0000660 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 230V 0,2-6M | 660 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000660 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 230V 0,2-6M</div></td> | 228.67 | DOLD | Time delay relay | no_image_200x200.jpg
94 | 0044231 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 42V 0,15-3S | 44231 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044231 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 42V 0,15-3S</div></td> | 106.83 | DOLD | Time delay relay | no_image_200x200.jpg
95 | RELAY 10AMP 220VAC COIL 110VAC 50HZ | F809.002/110VAC-50HZ | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >RELAY 10AMP 220VAC COIL 110VAC 50HZ</div></td> | 25.00 | DOLD | Relay/Socket | 280f7fdd92ac485d81a2d22e1c4a8f38.jpg
96 | 0044234 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 24V 0,05-1S | 44234 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044234 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 24V 0,05-1S</div></td> | 101.48 | DOLD | Time delay relay | no_image_200x200.jpg
97 | 0000656 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 110V 0,2-6H | 656 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000656 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 110V 0,2-6H</div></td> | 245.09 | DOLD | Time delay relay | no_image_200x200.jpg
98 | 0044233 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 42V 15-300S | 44233 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044233 - TIME RELAY, ON-delay - BA7903.82 AC50/60HZ 42V 15-300S</div></td> | 114.90 | DOLD | Time delay relay | no_image_200x200.jpg
99 | RELAY 10AMP 24VDC 11PIN | OA8871/007-DC24V | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >RELAY 10AMP 24VDC 11PIN</div></td> | 27.24 | DOLD | Relay/Socket | e72680b0443b4988ae8eb75d002ac63e.jpg
100 | 0044236 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 24V 1,5-30S | 44236 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044236 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 24V 1,5-30S</div></td> | 108.34 | DOLD | Time delay relay | no_image_200x200.jpg
101 | 0000662 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 230V 0,2-6H | 662 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0000662 - TIME RELAY, delay ON - AA7610.21 AC50/60HZ 230V 0,2-6H</div></td> | 243.48 | DOLD | Time delay relay | no_image_200x200.jpg
102 | 0044235 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 24V 0,15-3S | 44235 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >0044235 - TIME RELAY, ON-delay - BA7903.81 AC50/60HZ 24V 0,15-3S</div></td> | 101.40 | DOLD | Time delay relay | no_image_200x200.jpg
103 | RELAY 230V 60HZ | MI-957 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >RELAY 230V 60HZ</div></td> | 15.98 | DOLD | Relay/Socket | 107870c533a14b0ea7a42d3881d63151.jpg