## pepperl_en
id | title | article | fulltext | price | manufacturer | category | image | pdf
1 | Pepperl + Fuchs 35mm, Inductive Sensor PNP-NO Output, 2 mm Detection , IP67 | NBB2-8GM25-E2-V3 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M8 x 1<br>Output Type = PNP-NO<br>Detection Range = 2 mm<br>Terminal Type = M8 - 3 Pin<br>Supply Voltage = 10 30 V dc<br>Length = 35mm<br>Maximum DC Voltage = 30V<br>IP Rating = IP67<br>Housing Material = Nickel Plated Brass<br>Minimum Operating Temperature = -25В°C<br><br>Short Body, Extended Sensing Range. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 62.687 | Pepperl Fuchs | Inductive proximity switches | f4585432-01.jpg
2 | 128869 - Inductive sensor NCB1,5-8GM25-N0-5M | 128869 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >128869 - Inductive sensor NCB1,5-8GM25-N0-5M, Comfort series, 1.5 mm flush</div></td> | 76.39 | Pepperl Fuchs | Inductive proximity switches | pep128869.jpg | pep128869_en.pdf
3 | Pepperl + Fuchs 110mm Non Flush Mount , Inductive Sensor 4-20 mA, Analogue, PNP-2NO Output, 30 mm Detection , IP67 | PMI360D-F130-IE8-V15 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Ring<br>Output Type = 4-20 mA, Analogue, PNP-2NO<br>Detection Range = 30 mm<br>Supply Voltage = 18 в†’ 30 V dc<br>Length = 110mm<br>Width = 26mm<br>Depth = 76.5mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>IP Rating = IP67<br>Housing Material = ABS<br>Maximum Operating Temperature = +70В°C<br><br>Inductive Positioning Sensors. Benefits of the Pepperl+Fuchs inductive sensors include built-in diagnostic functions, which shows the loss of the actuator from the measuring or detection area. The inductive position and angle measurement systems also have integrated temperature compensation, making them well suited for outdoor and harsh environments. Both linear and rotary positioning sensors are available.</div></td> | 220.444 | Pepperl Fuchs | Inductive proximity switches | r8140193-01.jpg
4 | Pepperl + Fuchs 109mm Flush Mount Mount , Inductive Sensor PNP-NO/NC Output, 50 mm Detection , IP68 | NCB50-FP-A2-P1-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 50 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 60 V dc<br>Length = 109mm<br>Width = 84mm<br>Depth = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>IP Rating = IP68<br>Housing Material = PBT<br>Maximum Operating Temperature = +70В°C<br><br>Pepperl+Fuchs Inductive Sensors. Inductive sensors are available with different sensing and temperature ranges to suit a variety of industrial applications. Block style Flush or embeddable installation LED indication</div></td> | 157.361 | Pepperl Fuchs | Inductive proximity switches | r8313761-01.jpg
5 | Handheld Corded Bar code reader | OHV100-F222-R2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Reader Style = Handheld<br>Reading Distance = 40 в†’ 310mm<br>Optical Technology = LED<br>Connection Type = Corded<br>Data Interface = RS232, USB 2.0<br>Length = 132mm<br>Width = 52mm<br>Maximum Operating Temperature = +55В°C<br><br>Handheld 1D ; 2D Bar Code Reader Supporting QR Code. A bar code imager that is able to easily read 1D and 2D industrial codes (up to 26 different code symbologies). This hand held bar code reader has intuitive operation software allowing easy operation. Configuration and parametrization of this sensor is via control codes. Dual lens for large read range Reads from reflective surfaces Programmable with JavaScript Audible, tactile and visual user feedback Protection degree IP54. Bar Codes Supported: 1D: Codabar, Code 11, Code 32, Code 39, Code 93, Code 128, Interleaved 2 of 5, GS1 DataBar, Matrix 2 of 5, MSI Plessey, Plessey, Straight 2 of 5, Triotic, UPC/EAN/JAN Stacked 1D: GS1 Composite, Micro PDF 417, PDF 417 2D: Aztec, Data Matrix, Han Xin Code, Micro QR Code, QR Code</div></td> | 386.10 | Pepperl Fuchs | Barcode scanners | f7774929-01.jpg
6 | Pepperl + Fuchs 118mm Flush Mount Capacitive sensor, PNP-NO/NC Output, 15 mm Detection Range, IP65 | CJ15+U1+A2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 15 mm<br>Supply Voltage = 10 в†’ 30 V dc<br>Terminal Type = M20 Gland<br>IP Rating = IP65<br>Maximum DC Voltage = 30V<br>Mounting Style = Flush<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Switching Current = 200 mA<br>Switching Frequency = 0 в†’ 10 Hz<br><br>Comfort Series - Varikont Limit Switch Style. PBT housing and sensing face Ingress protection to IP65 Sensor head can be set in 5 different positions relative to the base Main body can be removed from base, enabling unit to be replaced without the associated wiring having to be disconnected Switching distance adjustment can be set over a wide range with the potentiometer LED indicators Operating temperature range: -25 to +70В°C 2.5mmВІ terminal connection via M20 cable entry Dimensions: L118 x H40 x W40</div></td> | 195.525 | Pepperl Fuchs | Proximity switch | f2806529-01.jpg
7 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor NO/NC Output, 20 mm Detection , IP67 | NBB20-U1-UU | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NO/NC<br>Detection Range = 20 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 20 в†’ 253 V ac, 20 в†’ 300 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum AC Voltage = 253V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Metal, Nylon 66<br>Shielding = Shielded<br><br>вЂVarikont вЂ Switches. The Varikont series of inductive proximity sensors are highly versatile due to their compact dimensions, easy installation via standard terminal base and ease of maintenance due to the 4 LEDs visible from all angles, making the possible applications endless. Features and benefits. DIN 'limit switch' style PBT housing and sensing face Connections via terminal compartment Keyway to ensure correct replacement Sensor head multi-positional relative to base LED status display Operating temperature range вЂ“25 в†’ +70В°C</div></td> | 148.698 | Pepperl Fuchs | Inductive proximity switches | f1240306-01.jpg
8 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor NO/NC Output, 15 mm Detection , IP68, IP69K | NBB15-U1-Z2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NO/NC<br>Detection Range = 15 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 5 в†’ 60 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>Switching Current = 2 в†’ 200 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> | 75.696 | Pepperl Fuchs | Inductive proximity switches | r8771577-01.jpg
9 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor NPN-NO/NC Output, 20 mm Detection , IP68, IP69K | NBB20-U1-A0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO/NC<br>Detection Range = 20 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP68, IP69K<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> | 75.696 | Pepperl Fuchs | Inductive proximity switches | r8771595-01.jpg
10 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor NPN-NO Output, 20 mm Detection , IP69K | NBB20-U1-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO<br>Detection Range = 20 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 200 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> | 71.33 | Pepperl Fuchs | Inductive proximity switches | f6677218-01.jpg
11 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor NPN-NO Output, 15 mm Detection , IP68, IP69K | NBB15-U1-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO<br>Detection Range = 15 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 0 в†’ 200 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> | 71.33 | Pepperl Fuchs | Inductive proximity switches | r8771586-01.jpg
12 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 20 mm Detection , IP69K | NBB20-U1-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 20 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 200 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f6677211-01.jpg
13 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 20 mm Detection , IP68, IP69K | NBB20-U1-E2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 20 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 0 в†’ 200 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> | 81.675 | Pepperl Fuchs | Inductive proximity switches | r8771583-01.jpg
14 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 15 mm Detection , IP68, IP69K | NBB15-U1-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 15 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP68, IP69K<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>вЂVarikont вЂ High Current and Magnetic Interference Immune Switches. DIN limit switch style housing Sensor head multi-positional relative to base Connections via terminal compartment 4 LEDs indicator for 360В° visibility 15 mm embeddable</div></td> | 71.33 | Pepperl Fuchs | Inductive proximity switches | r7839975-01.jpg
15 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor PNP-NO/NC Output, 15 mm Detection , IP68, IP69K | NBB15-U1-A2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 15 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP68, IP69K<br>Housing Material = Polyamide<br>Maximum Operating Temperature = +85В°C<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> | 86.031 | Pepperl Fuchs | Inductive proximity switches | r8771570-01.jpg
16 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor PNP-NO/NC Output, 15 mm Detection , IP68, IP69K | NBB15-U1-A2-T | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 15 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP68, IP69K<br>Housing Material = LCP, Ployamide<br>Shielding = Shielded<br><br>Pepperl+Fuchs Inductive Sensors. Inductive sensors are available with different sensing and temperature ranges to suit a variety of industrial applications. Block style Flush or embeddable installation LED indication</div></td> | 183.20 | Pepperl Fuchs | Inductive proximity switches | r8313474-01.jpg
17 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor PNP-NO/NC Output, 15 mm Detection , IP68, IP69K | NBB15-U1-A2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 15 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP68, IP69K<br>Housing Material = Polyamide<br>Minimum Operating Temperature = -25В°C<br><br>вЂVarikont вЂ High Current and Magnetic Interference Immune Switches. DIN limit switch style housing Sensor head multi-positional relative to base Connections via terminal compartment 4 LEDs indicator for 360В° visibility 15 mm embeddable</div></td> | 75.696 | Pepperl Fuchs | Inductive proximity switches | f7839978-01.jpg
18 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor PNP-NO/NC Output, 20 mm Detection , IP68, IP69K | NBB20-U1-A2-T | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 20 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 0 в†’ 200 mA<br>Housing Material = LCP, Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> |  | Pepperl Fuchs | Inductive proximity switches | r8771609-01.jpg
19 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor PNP-NO/NC Output, 20 mm Detection , IP68, IP69K | NBB20-U1-A2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 20 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 0 в†’ 200 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> |  | Pepperl Fuchs | Inductive proximity switches | r8771599-01.jpg
20 | Pepperl + Fuchs 118mm Flush Mount Mount , Inductive Sensor PNP-NO/NC Output, 20 mm Detection , IP68, IP69K | NBB20-U1-A2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 20 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP68, IP69K<br>Housing Material = Polyamide<br>Minimum Operating Temperature = -25В°C<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f7839987-01.jpg
21 | Pepperl + Fuchs 118mm Non Flush Mount , Inductive Sensor NPN-NO/NC Output, 40 mm Detection , IP68, IP69K | NBN40-U1-A0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO/NC<br>Detection Range = 40 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 0 в†’ 200 mA<br>Housing Material = Polyamide<br>Standards Met = CCC, EN 60497-5-2: 2007, IEC 60947-5-2: 2007, UL<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> | 75.696 | Pepperl Fuchs | Inductive proximity switches | r8771615-01.jpg
22 | Pepperl + Fuchs 118mm Non Flush Mount , Inductive Sensor NO/NC Output, 40 mm Detection , IP68, IP69K | NBN40-U1-Z2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NO/NC<br>Detection Range = 40 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 5 в†’ 60 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Non Flush<br>Switching Current = 200 mA<br>Housing Material = Metal With Epoxy Powder Coating, Polyamide<br>Shielding = Shielded<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 78.903 | Pepperl Fuchs | Plug - with cable gland | r1058534-01.jpg
23 | Pepperl + Fuchs 118mm Non Flush Mount , Inductive Sensor NO/NC Output, 40 mm Detection , IP67 | NBN40-U1-UU | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NO/NC<br>Detection Range = 40 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 20 253 V ac, 20 300 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum AC Voltage = 253V<br>Mounting Type = Non Flush<br>IP Rating = IP67<br>Housing Material = Metal, Nylon 66<br>Reverse Polarity Protection = Yes<br><br>вЂVarikont вЂ Switches. The Varikont series of inductive proximity sensors are highly versatile due to their compact dimensions, easy installation via standard terminal base and ease of maintenance due to the 4 LEDs visible from all angles, making the possible applications endless. Features and benefits. DIN 'limit switch' style PBT housing and sensing face Connections via terminal compartment Keyway to ensure correct replacement Sensor head multi-positional relative to base LED status display Operating temperature range вЂ“25 в†’ +70В°C</div></td> | 148.698 | Pepperl Fuchs | Inductive proximity switches | f1240307-01.jpg
24 | Pepperl + Fuchs 118mm Non Flush Mount , Inductive Sensor PNP-NO Output, 40 mm Detection , IP68, IP69K | NBN40-U1-E2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 40 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 10 в†’ 30V<br>Mounting Type = Non Flush<br>Switching Current = 0 в†’ 200 mA<br>Housing Material = Polyamide<br>Maximum Switching Frequency = 150Hz<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> | 81.675 | Pepperl Fuchs | Inductive proximity switches | r8771602-01.jpg
25 | Pepperl + Fuchs 118mm Non Flush Mount , Inductive Sensor PNP-NO Output, 30 mm Detection , IP68, IP69K | NBN30-U1-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 30 mm<br>Terminal Type = PG 13.5 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 200 mA<br>Housing Material = Polyamide<br>Maximum Switching Frequency = 150Hz<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f7840004-01.jpg
26 | Pepperl + Fuchs 118mm Non Flush Mount , Inductive Sensor PNP-NC Output, 40 mm Detection , IP68, IP69K | NBN40-U1-E3 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NC<br>Detection Range = 40 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 0 в†’ 200 mA<br>Housing Material = Polyamide<br>Standards Met = CCC, EN 60497-5-2: 2007, IEC 60947-5-2: 2007, UL<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> | 71.33 | Pepperl Fuchs | Inductive proximity switches | r8771606-01.jpg
27 | Pepperl + Fuchs 118mm, Inductive Sensor NPN-NO Output, 40 mm Detection , IP69K | NBN40-U1-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO<br>Detection Range = 40 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Switching Current = 200 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f6677215-01.jpg
28 | Pepperl + Fuchs 118mm Non Flush Mount , Inductive Sensor PNP-NO/NC Output, 40 mm Detection , IP68, IP69K | NBN40-U1-A2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 40 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 0 в†’ 200 mA<br>Housing Material = Polyamide<br>Standards Met = CCC, EN 60497-5-2: 2007, IEC 60947-5-2: 2007, UL<br><br>Varikont Inductive Proximity Sensors - Limit Switch Style. These Varikont sensors have an extraordinary reliability and robustness under extreme conditions and their advanced technology guarantees an almost unlimited range of applications. The four-corner power and output status LEDs enable 360Вє visibility so that the operating and switching states can be monitored from every angle. Range of sensing distance options to suit the application requirements Superior EMC intereference immunity Operating temperature range from -25 ВєC to +85 ВєC Easy replacement, no rewiring required Robust, waterproof and UV resistant Compact dimensions</div></td> | 86.041 | Pepperl Fuchs | Inductive proximity switches | r8771618-01.jpg
29 | Pepperl + Fuchs 118mm Non Flush Mount , Inductive Sensor PNP-NO/NC Output, 40 mm Detection , IP68, IP69K | NBN40-U1-A2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 40 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>IP Rating = IP68, IP69K<br>Housing Material = Polyamide<br>Minimum Operating Temperature = -25В°C<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f7839993-01.jpg
30 | Pepperl + Fuchs 16mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 1.5 mm Detection , IP67 | NBB1,5-F79-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 1.5 mm<br>Terminal Type = Wire Lead<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 16mm<br>Width = 8mm<br>Depth = 4.7mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Rectangular Package - Embeddable. Polyamide housing IP67 Operating temperature range вЂ“25 to +70В°C Short circuit and reverse polarity protection Dimensions LxWxH (mm): 16x8x4.7 Pre-wired with 0.23m of cable</div></td> | 36.66 | Pepperl Fuchs | Inductive proximity switches | f0847578-01.jpg
31 | Pepperl + Fuchs 16mm Flush Mount Mount , Inductive Sensor NPN-NO Output, 1.5 mm Detection , IP67 | NBB1,5-F79-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO<br>Detection Range = 1.5 mm<br>Terminal Type = Wire Lead<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 16mm<br>Width = 8mm<br>Depth = 4.7mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Rectangular Package - Embeddable. Polyamide housing IP67 Operating temperature range вЂ“25 to +70В°C Short circuit and reverse polarity protection Dimensions LxWxH (mm): 16x8x4.7 Pre-wired with 0.23m of cable</div></td> | 36.66 | Pepperl Fuchs | Inductive proximity switches | f0285201-01.jpg
32 | Pepperl + Fuchs 118mm, Inductive Sensor PNP-NO Output, 40 mm Detection , IP69K | NBN40-U1-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 40 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 118mm<br>Width = 40mm<br>Depth = 40mm<br>Maximum DC Voltage = 30V<br>IP Rating = IP69K<br>Housing Material = Polyamide<br>Maximum Switching Frequency = 150Hz<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f6677224-01.jpg
33 | Pepperl + Fuchs 22mm, Inductive Sensor NPN-NO Output, 0.6 mm Detection , IP67 | NBB0,6-3M22-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Output Type = NPN-NO<br>Detection Range = 0.6 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 30 V dc<br>Length = 22mm<br>Width = 3mm<br>Maximum DC Voltage = 30V<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Maximum Operating Temperature = +70В°C<br><br>Plain Barrel. Features and benefits. Stainless steel smooth body with PBT sensing face. Ideal for applications where contamination may be a problem. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 73.033 | Pepperl Fuchs | Inductive proximity switches | f2806399-01.jpg
34 | Pepperl + Fuchs 2 Channel Zener Barrier With Analogue Output, 250 V max, 120mA max | Z787.H | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Barrier Type = Zener<br>Number of Channels = 2<br>Supply Voltage = 28 V dc<br>Safety Voltage Maximum = 250 V<br>Safety Current Resistance = 250О©<br>Safety Current Maximum = 120mA<br>Signal Type = Analogue<br>Minimum Operating Temperature = -20В°C<br>Maximum Operating Temperature = +60В°C<br>Hazardous Area Certification = ATEX<br><br>BAS 01 ATEX 7005. IIC Class 1, Div1, Groups A-G. Z787.H Dual Channel. The solution for applications with 3-wire transmitters is implementing a combination of one 28V, 300О© and one 28V barrier with diode return. Special consideration should be given to the internal voltage drop due to the diode return.,Typical application - 4-20mA transmit</div></td> |  | Pepperl Fuchs | Zener diodes | f2806585-01.jpg
35 | Pepperl + Fuchs 22mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 1 mm Detection , IP67 | NBB1-3M22-E2-0.3M-V3 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M8 x 1<br>Output Type = PNP-NO<br>Detection Range = 1 mm<br>Terminal Type = M8 - 3 Pin with cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 22mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Stainless Steel<br>Shielding = Unshielded<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> |  | Pepperl Fuchs | Inductive proximity switches | r8313446-01.jpg
36 | Pepperl + Fuchs 25mm Flush Mount Mount , Inductive Sensor NPN-NO Output, 0.8 mm Detection , IP67 | NBB0,8-5GM25-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M5 x 0.5<br>Output Type = NPN-NO<br>Detection Range = 0.8 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 30 V dc<br>Length = 25mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Minimum Operating Temperature = -25В°C<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 64.865 | Pepperl Fuchs | Inductive proximity switches | f2492350-01.jpg
37 | Pepperl + Fuchs 2 Channel Zener Barrier With Analogue Output, 250 V max, 203mA max | Z960 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Barrier Type = Zener<br>Number of Channels = 2<br>Supply Voltage = 10 V ac<br>Safety Voltage Maximum = 250 V<br>Safety Current Resistance = 64О©<br>Safety Current Maximum = 203mA<br>Signal Type = Analogue<br>Minimum Operating Temperature = -20В°C<br>Maximum Operating Temperature = +60В°C<br>Hazardous Area Certification = ATEX<br><br>BAS 01 ATEX 7005. IIC Class 1, Div1, Groups A-G. Z960 Dual Channel AC Powered. Using a dual channel barrier impedes a direct grounding of the intrinsically safe circuit. The ground is only made in the event of a failure, if the zener diodes conduct. This circuit also suppresses influences of external circuits.,Typical application - thermocouples</div></td> | 92.417 | Pepperl Fuchs | Zener diodes | f2806608-01.jpg
38 | Pepperl + Fuchs 22mm, Inductive Sensor PNP-NO Output, 0.6 mm Detection , IP67 | NBB0,6-3M22-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Output Type = PNP-NO<br>Detection Range = 0.6 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 30 V dc<br>Length = 22mm<br>Width = 3mm<br>Maximum DC Voltage = 30V<br>Switching Current = 100 mA<br>Housing Material = Stainless Steel<br>Minimum Operating Temperature = -25В°C<br><br>Plain Barrel. Features and benefits. Stainless steel smooth body with PBT sensing face. Ideal for applications where contamination may be a problem. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 73.033 | Pepperl Fuchs | Inductive proximity switches | f2806406-01.jpg
39 | Pepperl + Fuchs 25mm, Inductive Sensor PNP-NO Output, 0.8 mm Detection , IP67 | NBB0,8-4M25-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Output Type = PNP-NO<br>Detection Range = 0.8 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 25mm<br>Width = 4mm<br>Maximum DC Voltage = 30V<br>Switching Current = 200 mA<br>Housing Material = Stainless Steel<br>Maximum Switching Frequency = 3kHz<br><br>Plain Barrel. Features and benefits. Stainless steel smooth body with PBT sensing face. Ideal for applications where contamination may be a problem. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 64.865 | Pepperl Fuchs | Inductive proximity switches | f2492192-01.jpg
40 | Pepperl + Fuchs 22mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 1 mm Detection , IP67 | NBB1-4GM22-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M4 x 0.5<br>Output Type = PNP-NO<br>Detection Range = 1 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 22mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Shielding = Unshielded<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 87.358 | Pepperl Fuchs | Inductive proximity switches | r8313458-01.jpg
41 | Pepperl + Fuchs 25mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 0.8 mm Detection , IP67 | NBB0,8-5GM25-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M5 x 0.5<br>Output Type = PNP-NO<br>Detection Range = 0.8 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 25mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 200 mA<br>Housing Material = Stainless Steel<br>Reverse Polarity Protection = Yes<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 64.865 | Pepperl Fuchs | Inductive proximity switches | f2492344-01.jpg
42 | Pepperl + Fuchs 27.8mm Flush Mount Mount , Inductive Sensor NO Output, 3 mm Detection , IP67 | NBB3-V3-Z4 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NO<br>Detection Range = 3 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 60 V dc<br>Length = 27.8mm<br>Width = 16mm<br>Depth = 10mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = PBT<br>Maximum Operating Temperature = +85В°C<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 44.154 | Pepperl Fuchs | Inductive proximity switches | r1058531-01.jpg
43 | Pepperl + Fuchs 25mm, Inductive Sensor NPN-NO Output, 0.8 mm Detection , IP67 | NBB0,8-4M25-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Output Type = NPN-NO<br>Detection Range = 0.8 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 30 V dc<br>Length = 25mm<br>Width = 4mm<br>Maximum DC Voltage = 30V<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Maximum Operating Temperature = +70В°C<br><br>Plain Barrel. Features and benefits. Stainless steel smooth body with PBT sensing face. Ideal for applications where contamination may be a problem. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 64.865 | Pepperl Fuchs | Inductive proximity switches | f2492489-01.jpg
44 | Pepperl + Fuchs 25mm, Inductive Sensor PNP-NO Output, 0.8 mm Detection , IP67 | 3RG4200-1AB00-PF | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Output Type = PNP-NO<br>Detection Range = 0.8 mm<br>Terminal Type = Cable<br>Supply Voltage = 24 V dc<br>Length = 25mm<br>Width = 4mm<br>Maximum DC Voltage = 30V<br>Switching Current = 200 mA<br>Housing Material = Stainless Steel<br>Short Circuit Overload Protection = Yes<br><br>BERO 3RG4 вЂ” Inductive proximity switch. Cylindrical design LED status display Short circuit and reverse polarity protection</div></td> |  | Pepperl Fuchs | Inductive proximity switches | rd610515-01.jpg
45 | Pepperl + Fuchs 27.8mm, Inductive Sensor PNP-NO Output, 2 mm Detection , IP67 | NBB2-V3-E2-V5 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 2 mm<br>Terminal Type = Faston 4.8mm - 3 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 27.8mm<br>Width = 16mm<br>Depth = 10.2mm<br>Maximum DC Voltage = 30V<br>Switching Current = 100 mA<br>Housing Material = PBT<br>Short Circuit Overload Protection = Yes<br><br>Standard Microswitch Style. Prewired or Faston 4.8mm versions available PBT body and sensing face Operating temperature range вЂ“25 в†’ +70В°C LED status display Embeddable IP67</div></td> | 38.472 | Pepperl Fuchs | Inductive proximity switches | r289848-01.jpg
46 | Pepperl + Fuchs 25mm, Inductive Sensor PNP-NO Output, 0.8 mm Detection , IP67 | 3RG4210-0AG00-PF | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M5 x 0.5<br>Output Type = PNP-NO<br>Detection Range = 0.8 mm<br>Terminal Type = Cable<br>Supply Voltage = 24 V dc<br>Length = 25mm<br>Maximum DC Voltage = 30V<br>Switching Current = 200 mA<br>Housing Material = Stainless Steel<br>Short Circuit Overload Protection = Yes<br><br>BERO 3RG4 вЂ” Inductive proximity switch. Cylindrical design LED status display Short circuit and reverse polarity protection</div></td> | 101.149 | Pepperl Fuchs | Inductive proximity switches | f6105145-01.jpg
47 | Pepperl + Fuchs 27.8mm, Inductive Sensor NPN-NO Output, 2 mm Detection , IP67 | NBB2-V3-E0-V5 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO<br>Detection Range = 2 mm<br>Terminal Type = Faston 4.8mm - 3 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 27.8mm<br>Width = 16mm<br>Depth = 10.2mm<br>Maximum DC Voltage = 30V<br>Switching Current = 100 mA<br>Housing Material = PBT<br>Short Circuit Overload Protection = Yes<br><br>Standard Microswitch Style. Prewired or Faston 4.8mm versions available PBT body and sensing face Operating temperature range вЂ“25 в†’ +70В°C LED status display Embeddable IP67</div></td> | 38.472 | Pepperl Fuchs | Inductive proximity switches | r289848-01.jpg
48 | Pepperl + Fuchs 27mm Non Flush Mount , Inductive Sensor PNP-NO Output, 4 mm Detection , IP67 | NBN4-F29-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 4 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 27mm<br>Width = 10mm<br>Depth = 6mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 100 mA<br>Housing Material = PPS<br>Short Circuit Overload Protection = Yes<br><br>Miniature Block Style. LED status display Stock no. ; 339-5418 339-5418 has a PBT sensing face and a nickel plated brass housing Stock no. ; 339-5402 339-5402 has a PPS sensing face and housing Short circuit protection pulsing, and reverse polarity protection apart from stock no. ; 339-5402 339-5402 which has reverse polarity only Prewired 2m of 3 core PVC cable</div></td> | 31.829 | Pepperl Fuchs | Inductive proximity switches | f3395402-01.jpg
49 | Pepperl + Fuchs 27.8mm, Inductive Sensor NPN-NO Output, 2 mm Detection , IP67 | NBB2-V3-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO<br>Detection Range = 2 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 30 V dc<br>Length = 27.8mm<br>Width = 16mm<br>Depth = 10mm<br>Maximum DC Voltage = 30V<br>IP Rating = IP67<br>Housing Material = PBT<br>Minimum Operating Temperature = -25В°C<br><br>Standard Microswitch Style. Prewired or Faston 4.8mm versions available PBT body and sensing face Operating temperature range вЂ“25 в†’ +70В°C LED status display Embeddable IP67</div></td> | 38.472 | Pepperl Fuchs | Inductive proximity switches | f2898506-01.jpg
50 | Pepperl + Fuchs 27.8mm, Inductive Sensor PNP-NO Output, 2 mm Detection , IP67 | NBB2-V3-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 2 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 30 V dc<br>Length = 27.8mm<br>Width = 16mm<br>Depth = 10mm<br>Maximum DC Voltage = 30V<br>IP Rating = IP67<br>Housing Material = PBT<br>Minimum Operating Temperature = -25В°C<br><br>Standard Microswitch Style. Prewired or Faston 4.8mm versions available PBT body and sensing face Operating temperature range вЂ“25 в†’ +70В°C LED status display Embeddable IP67</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f2898512-01.jpg
51 | Pepperl + Fuchs 30mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 3 mm Detection , IP67 | NBN3-8GM30-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M8 x 1<br>Output Type = PNP-NO<br>Detection Range = 3 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 30mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Nickel Plated Brass<br>Maximum Switching Frequency = 2kHz<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 65.34 | Pepperl Fuchs | Inductive proximity switches | w1058529-01.jpg
52 | Pepperl + Fuchs 27mm Non Flush Mount , Inductive Sensor NPN-NO Output, 4 mm Detection , IP67 | NBN4-F29-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO<br>Detection Range = 4 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 27mm<br>Width = 10mm<br>Depth = 6mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>IP Rating = IP67<br>Housing Material = PPS<br>Shielding = Shielded<br><br>Pepperl+Fuchs Inductive Sensors. Inductive sensors are available with different sensing and temperature ranges to suit a variety of industrial applications. Block style Flush or embeddable installation LED indication</div></td> | 50.718 | Pepperl Fuchs | Inductive proximity switches | r8313723-01.jpg
53 | Pepperl + Fuchs 27mm Non Flush Mount , Inductive Sensor PNP-NO/NC Output, 4 mm Detection , IP67 | NBN4-F29-A2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 4 mm<br>Terminal Type = Cable<br>Supply Voltage = 4.75 в†’ 30 V dc<br>Length = 27mm<br>Width = 10mm<br>Depth = 6mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>IP Rating = IP67<br>Housing Material = PPS<br>Shielding = Shielded<br><br>Pepperl+Fuchs Inductive Sensors. Inductive sensors are available with different sensing and temperature ranges to suit a variety of industrial applications. Block style Flush or embeddable installation LED indication</div></td> | 36.185 | Pepperl Fuchs | Inductive proximity switches | r8313720-01.jpg
54 | Pepperl + Fuchs 30mm, Inductive Sensor PNP-NO Output, 4 mm Detection , IP67 | NBB4-12GM30-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = PNP-NO<br>Detection Range = 4 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 30 V dc<br>Length = 30mm<br>Maximum DC Voltage = 30V<br>IP Rating = IP67<br>Housing Material = Nickel Plated Brass<br>Maximum Operating Temperature = +70В°C<br><br>Short Body, Extended Sensing Range. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 54.045 | Pepperl Fuchs | Inductive proximity switches | f4585454-01.jpg
55 | Pepperl + Fuchs 30mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 2 mm Detection , IP67 | NBB2-8GM30-E2-0.2M-V3 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M8 x 1<br>Output Type = PNP-NO<br>Detection Range = 2 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 30mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Brass, Nickel Plated<br>Minimum Operating Temperature = -25В°C<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 72.567 | Pepperl Fuchs | Inductive proximity switches | r8313553-01.jpg
56 | Pepperl + Fuchs 30mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 2 mm Detection , IP67 | NBB2-8GM30-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M8 x 1<br>Output Type = PNP-NO<br>Detection Range = 2 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 30mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Nickel Plated Brass<br>Short Circuit Overload Protection = Yes<br><br>Short Body, Extended Sensing Range. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 62.687 | Pepperl Fuchs | Inductive proximity switches | f3505659-01.jpg
57 | Pepperl + Fuchs 32.5mm, Inductive Sensor NAMUR Output, 20 mm Detection , IP67 | RJ15-14-N | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Ring<br>Output Type = NAMUR<br>Detection Range = 20 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 25 V dc<br>Length = 32.5mm<br>Width = 25mm<br>Depth = 20mm<br>Maximum DC Voltage = 25V<br>IP Rating = IP67<br>Housing Material = PBT<br>Hazardous Area Certification = ATEX<br><br>II 2 G EEx ia IIC T6. PTB 99 ATEX 2128X. NAMUR Ring Sensor. Operating temperature range: Stock no. 328-1397 -20 to +65В°C, Stock no. 328-1410 -25 to +70В°C. Must be used with isolation barrier interface see typically (RS stock no. ; 703-7043 703-7043 ) IP67 Housing material PBT Prewired 2m x 2 core PVC Output configuration N/C (3mA face free, 1mA face covered)</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f3281410-01.jpg
58 | Pepperl + Fuchs 30mm, Inductive Sensor PNP-NO Output, 2 mm Detection , IP67 | NBB2-6,5M30-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Output Type = PNP-NO<br>Detection Range = 2 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 30 V dc<br>Length = 30mm<br>Width = 6.5mm<br>Maximum DC Voltage = 30V<br>IP Rating = IP67<br>Housing Material = Nickel Plated Brass<br>Minimum Operating Temperature = -25В°C<br><br>Short Body, Extended Sensing Range. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 62.687 | Pepperl Fuchs | Inductive proximity switches | f3505621-01.jpg
59 | Pepperl + Fuchs 30mm, Inductive Sensor PNP-NO Output, 15 mm Detection , IP67 | NBB15-30GM30-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M30 x 1.5<br>Output Type = PNP-NO<br>Detection Range = 15 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 30mm<br>Maximum DC Voltage = 30V<br>Switching Current = 100 mA<br>Housing Material = Nickel Plated Brass<br>Short Circuit Overload Protection = Yes<br><br>Short Body, Extended Sensing Range. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 74.359 | Pepperl Fuchs | Inductive proximity switches | r4585482-02.jpg
60 | Pepperl + Fuchs 35mm Flush Mount Mount , Inductive Sensor NPN-NO Output, 2 mm Detection , IP67 | NBB2-8GM25-E0-V3 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M8 x 1<br>Output Type = NPN-NO<br>Detection Range = 2 mm<br>Terminal Type = M8 - 3 Pin<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 35mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Brass, Nickel Plated<br>Short Circuit Overload Protection = Yes<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 81.349 | Pepperl Fuchs | Inductive proximity switches | r8313559-01.jpg
61 | Pepperl + Fuchs 32.5mm, Inductive Sensor NAMUR Output, 20 mm Detection , IP67 | RC10-14-N0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Ring<br>Output Type = NAMUR<br>Detection Range = 20 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 25 V dc<br>Length = 32.5mm<br>Width = 25mm<br>Depth = 20mm<br>Maximum DC Voltage = 25V<br>IP Rating = IP67<br>Housing Material = PBT<br>Hazardous Area Certification = ATEX<br><br>II 2 G EEx ia IIC T6. PTB 99 ATEX 2128X. NAMUR Ring Sensor. Operating temperature range: Stock no. 328-1397 -20 to +65В°C, Stock no. 328-1410 -25 to +70В°C. Must be used with isolation barrier interface see typically (RS stock no. ; 703-7043 703-7043 ) IP67 Housing material PBT Prewired 2m x 2 core PVC Output configuration N/C (3mA face free, 1mA face covered)</div></td> | 78.28 | Pepperl Fuchs | Inductive proximity switches | f3281397-01.jpg
62 | Pepperl + Fuchs 30mm, Inductive Sensor PNP-NO Output, 8 mm Detection , IP67 | NBB8-18GM30-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M18 x 1<br>Output Type = PNP-NO<br>Detection Range = 8 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 30mm<br>Maximum DC Voltage = 30V<br>Switching Current = 100 mA<br>Housing Material = Nickel Plated Brass<br>Reverse Polarity Protection = Yes<br><br>Short Body, Extended Sensing Range. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN60947-5-2. Short circuit and reverse polarity protection</div></td> | 65.717 | Pepperl Fuchs | Inductive proximity switches | f4585599-01.jpg
63 | Pepperl + Fuchs 35mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 15 mm Detection , IP67 | 3RG4024-0AG33-PF | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M30 x 1.5<br>Output Type = PNP-NO<br>Detection Range = 15 mm<br>Terminal Type = Cable<br>Supply Voltage = 15 в†’ 34 V dc<br>Length = 35mm<br>Maximum DC Voltage = 34V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Nickel Plated Brass<br>Shielding = Unshielded<br><br>BERO 3RG4 вЂ” Inductive proximity switch. Cylindrical design LED status display Short circuit and reverse polarity protection</div></td> |  | Pepperl Fuchs | Inductive proximity switches | rd610505-01.jpg
64 | Pepperl + Fuchs 35mm Flush Mount Mount , Inductive Sensor PNP-NC Output, 2 mm Detection , IP67 | 3RG4012-0AF33-PF | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = PNP-NC<br>Detection Range = 2 mm<br>Terminal Type = Cable<br>Supply Voltage = 15 в†’ 34 V dc<br>Length = 35mm<br>Maximum DC Voltage = 34V<br>Mounting Type = Flush Mount<br>Switching Current = 150 mA<br>Housing Material = Nickel Plated Brass<br>Shielding = Shielded<br><br>CE. BERO 3RG40 - Inductive proximity switch, M8-M30 design. BERO inductive proximity switch Switching distance1.5 в†’ 10 mm Short, cylindrical design Embedded installation Cable or plug version LED status display. Features. Spurious switch-on pulse Short-circuit proof / overload resistant Polarity protection Wire breakage protection Anti-inductive protection</div></td> | 70.092 | Pepperl Fuchs | Inductive proximity switches | rd506272-01.jpg
65 | Pepperl + Fuchs 33.5mm Flush Mount Mount , Inductive Sensor 2 NO Output, 3 mm Detection , IP67 | NBN3-F31-Z8-K | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = 2 NO<br>Detection Range = 3 mm<br>Terminal Type = Cable<br>Supply Voltage = 6 в†’ 60 V dc<br>Length = 33.5mm<br>Width = 65mm<br>Depth = 36mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = PBT<br>Maximum Switching Frequency = 500Hz<br><br>Valve Control Sensors. Supply voltage 6 to 60Vdc Switching frequency 0 to 500Hz Dual N/O outputs Operating temperature range вЂ“25В° to +70В°C</div></td> | 99.911 | Pepperl Fuchs | Inductive proximity switches | c458534-01.jpg
66 | Pepperl + Fuchs 35mm Non Flush Mount , Inductive Sensor PNP-NO Output, 3 mm Detection , IP67 | NBN3-8GM25-E2-V3 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M8 x 1<br>Output Type = PNP-NO<br>Detection Range = 3 mm<br>Terminal Type = M8 - 3 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 35mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 100 mA<br>Housing Material = Brass, Nickel Plated<br>Shielding = Partial<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 62.677 | Pepperl Fuchs | Inductive proximity switches | r8313663-01.jpg
67 | Pepperl + Fuchs 35mm Non Flush Mount , Inductive Sensor NO Output | BT-F130-A | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Ring<br>Output Type = NO<br>Length = 35mm<br>Mounting Type = Non Flush<br>Housing Material = PBT<br><br>Accessories for Inductive Sensors. Damping elements adapted perfectly for the inductive sensors within the linear position measurement system range.</div></td> | 11.108 | Pepperl Fuchs | Inductive proximity switches | f8140197-01.jpg
68 | Pepperl + Fuchs 35mm Flush Mount Mount , Inductive Sensor PNP-NC Output, 10 mm Detection , IP67 | 3RG4014-0AF33-PF | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M30 x 1.5<br>Output Type = PNP-NC<br>Detection Range = 10 mm<br>Terminal Type = Cable<br>Supply Voltage = 15 в†’ 34 V dc<br>Length = 35mm<br>Maximum DC Voltage = 34V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Nickel Plated Brass<br>Shielding = Shielded<br><br>CE. BERO 3RG40 - Inductive proximity switch, M8-M30 design. BERO inductive proximity switch Switching distance1.5 в†’ 10 mm Short, cylindrical design Embedded installation Cable or plug version LED status display. Features. Spurious switch-on pulse Short-circuit proof / overload resistant Polarity protection Wire breakage protection Anti-inductive protection</div></td> | 86.437 | Pepperl Fuchs | Inductive proximity switches | r5062902-01.jpg
69 | Pepperl + Fuchs 38.5mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 5 mm Detection , IP67 | NBB5-F9-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 5 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 38.5mm<br>Width = 16mm<br>Depth = 16.5mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 150 mA<br>Housing Material = PBT<br>Short Circuit Overload Protection = Yes<br><br>Small Block Style. LED status display PBT sensing face and housing material except for stock no. ; 257-2298 257-2298 which has a PMMA sensing face and housing Short circuit protection pulsing, and reverse polarity protection Prewired 2m of 3 core PVC cable apart from stock no. ; 257-2298 257-2298 which has 2m PUR cable</div></td> | 33.70 | Pepperl Fuchs | Inductive proximity switches | f2572254-01.jpg
70 | Pepperl + Fuchs 38.5mm Flush Mount Mount , Inductive Sensor NPN-NO Output, 5 mm Detection , IP67 | NBB5-F9-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO<br>Detection Range = 5 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 38.5mm<br>Width = 16mm<br>Depth = 16.5mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 150 mA<br>Housing Material = PBT<br>Short Circuit Overload Protection = Yes<br><br>Small Block Style. LED status display PBT sensing face and housing material except for stock no. ; 257-2298 257-2298 which has a PMMA sensing face and housing Short circuit protection pulsing, and reverse polarity protection Prewired 2m of 3 core PVC cable apart from stock no. ; 257-2298 257-2298 which has 2m PUR cable</div></td> | 33.70 | Pepperl Fuchs | Inductive proximity switches | f2572248-01.jpg
71 | Pepperl + Fuchs 35mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 8 mm Detection , IP67 | 3RG4023-0AG33-PF | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M18 x 1<br>Output Type = PNP-NO<br>Detection Range = 8 mm<br>Terminal Type = Cable<br>Supply Voltage = 15 в†’ 34 V dc<br>Length = 35mm<br>Maximum DC Voltage = 34V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Nickel Plated Brass<br>Shielding = Unshielded<br><br>BERO 3RG4 вЂ” Inductive proximity switch. Cylindrical design LED status display Short circuit and reverse polarity protection</div></td> |  | Pepperl Fuchs | Inductive proximity switches | r6105016-02.jpg
72 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor 2 NO Output, 3 mm Detection , IP67 | NBN3-F31K-Z8 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = 2 NO<br>Detection Range = 3 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 6 в†’ 60 V dc<br>Length = 40mm<br>Width = 65mm<br>Depth = 77.5mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = PBT<br>Maximum Switching Frequency = 500Hz<br><br>Valve Control Sensors. Supply voltage 6 to 60Vdc Switching frequency 0 to 500Hz Dual N/O outputs Operating temperature range вЂ“25В° to +70В°C</div></td> | 113.276 | Pepperl Fuchs | Inductive proximity switches | c458534-01.jpg
73 | Pepperl + Fuchs 38.5mm Non Flush Mount , Inductive Sensor PNP-NO Output, 10 mm Detection , IP67 | NBN10-F10-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 10 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 38.5mm<br>Width = 25mm<br>Depth = 25.5mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 150 mA<br>Housing Material = PBT<br>Short Circuit Overload Protection = Yes<br><br>Small Block Style. LED status display PBT sensing face and housing material except for stock no. ; 257-2298 257-2298 which has a PMMA sensing face and housing Short circuit protection pulsing, and reverse polarity protection Prewired 2m of 3 core PVC cable apart from stock no. ; 257-2298 257-2298 which has 2m PUR cable</div></td> | 42.075 | Pepperl Fuchs | Inductive proximity switches | r257224-01.jpg
74 | Pepperl + Fuchs 38.5mm Non Flush Mount , Inductive Sensor NPN-NO Output, 10 mm Detection , IP67 | NBN10-F10-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = NPN-NO<br>Detection Range = 10 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 38.5mm<br>Width = 25mm<br>Depth = 25.5mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 150 mA<br>Housing Material = PBT<br>Short Circuit Overload Protection = Yes<br><br>Small Block Style. LED status display PBT sensing face and housing material except for stock no. ; 257-2298 257-2298 which has a PMMA sensing face and housing Short circuit protection pulsing, and reverse polarity protection Prewired 2m of 3 core PVC cable apart from stock no. ; 257-2298 257-2298 which has 2m PUR cable</div></td> | 42.075 | Pepperl Fuchs | Inductive proximity switches | r257224-01.jpg
75 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor NO Output, 10 mm Detection , IP67 | NBB10-30GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M30 x 1.5<br>Output Type = NO<br>Detection Range = 10 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Brass, Nickel Plated<br>Shielding = Unshielded<br><br>Extended Sensing Range. These Pepperl + Fuchs inductive proximity sensors are cylindrical in design and are available with an extended sensing range of up to 30mm to suit a number of different applications. Features and benefits. LED indication Embeddable or flush installation IP67 Supply voltage 10 to 30Vdc Short circuit and reverse polarity protection Pre-wired types have 2m PVC cable Plug-in types have M12 type V1 connector</div></td> | 61.45 | Pepperl Fuchs | Inductive proximity switches | r8313411-01.jpg
76 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor NO Output, 1.5 mm Detection , IP67 | NJ1,5-8GM40-WS | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M8 x 1<br>Output Type = NO<br>Detection Range = 1.5 mm<br>Terminal Type = Cable<br>Supply Voltage = 24 264 V ac<br>Length = 40mm<br>Maximum AC Voltage = 264V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Minimum Operating Temperature = -25В°C<br><br>Two Wire ac. Nickel plated brass or St. Steel housing with PBT sensing face. LED indication Embeddable IP67 Operating temperature range -25 в†’ +70В°C EN60947-5-2 Short circuit and reverse polarity protection</div></td> | 120.998 | Pepperl Fuchs | Inductive proximity switches | f3129637-01.jpg
77 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor NO Output, 1.5 mm Detection , IP67 | NBB1,5-8GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M8 x 1<br>Output Type = NO<br>Detection Range = 1.5 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 60 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Minimum Operating Temperature = -25В°C<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 55.935 | Pepperl Fuchs | Inductive proximity switches | f1058532-01.jpg
78 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor NO Output, 5 mm Detection , IP67 | NBB5-18GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M18 x 1<br>Output Type = NO<br>Detection Range = 5 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Brass, Nickel Plated<br>Maximum Switching Frequency = 500Hz<br><br>Extended Sensing Range. These Pepperl + Fuchs inductive proximity sensors are cylindrical in design and are available with an extended sensing range of up to 30mm to suit a number of different applications. Features and benefits. LED indication Embeddable or flush installation IP67 Supply voltage 10 to 30Vdc Short circuit and reverse polarity protection Pre-wired types have 2m PVC cable Plug-in types have M12 type V1 connector</div></td> | 54.896 | Pepperl Fuchs | Inductive proximity switches | r8313590-01.jpg
79 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor NO Output, 5 mm Detection , IP67 | NCB5-18GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M18 x 1<br>Output Type = NO<br>Detection Range = 5 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 60 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Maximum Operating Temperature = +70В°C<br><br>for Z1 models L+ terminal is numbered 1/BN L- terminal is numbered 2/BU. Two Wire dc. Features and benefits. St. steel housing with PBT sensing face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN 60947-5-2. Short circuit and reverse polarity protection</div></td> | 58.41 | Pepperl Fuchs | Inductive proximity switches | f2806456-01.jpg
80 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor NO Output, 2 mm Detection , IP67 | NCB2-12GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = NO<br>Detection Range = 2 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 60 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Stainless Steel<br>Short Circuit Overload Protection = Yes<br><br>for Z1 models L+ terminal is numbered 1/BN L- terminal is numbered 2/BU. Two Wire dc. Features and benefits. St. steel housing with PBT sensing face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN 60947-5-2. Short circuit and reverse polarity protection</div></td> | 49.758 | Pepperl Fuchs | Inductive proximity switches | f2806428-01.jpg
81 | Pepperl + Fuchs 40mm Non Flush Mount , Inductive Sensor NO Output, 15 mm Detection , IP67 | NBN15-30GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M30 x 1.5<br>Output Type = NO<br>Detection Range = 15 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Non Flush<br>Switching Current = 100 mA<br>Housing Material = Brass, Nickel Plated<br>Shielding = Partial<br><br>Extended Sensing Range. These Pepperl + Fuchs inductive proximity sensors are cylindrical in design and are available with an extended sensing range of up to 30mm to suit a number of different applications. Features and benefits. LED indication Embeddable or flush installation IP67 Supply voltage 10 to 30Vdc Short circuit and reverse polarity protection Pre-wired types have 2m PVC cable Plug-in types have M12 type V1 connector</div></td> | 61.45 | Pepperl Fuchs | Inductive proximity switches | r8313635-01.jpg
82 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 15 mm Detection , IP68 | NBB15-U1-E2-C | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 15 mm<br>Terminal Type = M20 Gland<br>Supply Voltage = 10 в†’ 60 V dc<br>Length = 40mm<br>Width = 40.5mm<br>Depth = 118mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>Switching Current = 200 mA<br>Housing Material = PBT<br>Short Circuit Overload Protection = Yes<br><br>вЂVarikont вЂ High Current and Magnetic Interference Immune Switches. DIN limit switch style housing Sensor head multi-positional relative to base Connections via terminal compartment 4 LEDs indicator for 360В° visibility 15 mm embeddable</div></td> | 81.675 | Pepperl Fuchs | Inductive proximity switches | r257251-01.jpg
83 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 1.5 mm Detection , IP67 | NBB1,5-F41-E2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 1.5 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 30 V dc<br>Length = 40mm<br>Width = 8mm<br>Depth = 8mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Nickel Plated Brass<br>Minimum Operating Temperature = -25В°C<br><br>Miniature Block Style. LED status display Stock no. ; 339-5418 339-5418 has a PBT sensing face and a nickel plated brass housing Stock no. ; 339-5402 339-5402 has a PPS sensing face and housing Short circuit protection pulsing, and reverse polarity protection apart from stock no. ; 339-5402 339-5402 which has reverse polarity only Prewired 2m of 3 core PVC cable</div></td> | 70.954 | Pepperl Fuchs | Inductive proximity switches | f3395418-01.jpg
84 | Pepperl + Fuchs 40mm Non Flush Mount , Inductive Sensor NO Output, 8 mm Detection , IP67 | NBN8-18GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M18 x 1<br>Output Type = NO<br>Detection Range = 8 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 60 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Non Flush<br>Switching Current = 100 mA<br>Housing Material = Nickel Plated Brass<br>Short Circuit Overload Protection = Yes<br><br>Two Wire DC Threaded Barrel Sensors. Brass nickel plated housing with PBT sensing face 2 wire DC Not embeddable LED indication Reverse polarity and short circuit protection</div></td> | 54.896 | Pepperl Fuchs | Inductive proximity switches | f7840016-01.jpg
85 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor PNP-NO/NC Output, 20 mm Detection , IP69K | NBB20-L2-A2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 20 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 40mm<br>Width = 40mm<br>Depth = 67mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 200 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f7839997-01.jpg
86 | Pepperl + Fuchs 40mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 20 mm Detection , IP69K | NBB20-L2-E2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 20 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 40mm<br>Width = 40mm<br>Depth = 67mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>IP Rating = IP69K<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>вЂVarikont вЂ L Cube. Features and benefits. Compact PBT housing and sensing face. Ingress protection to IP69K. Operating temperature range -25 to +70В°C. Connection via M12, 4-pin plug. Sensor head multi-positional relative to base. LED status display</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f2572434-01.jpg
87 | Pepperl + Fuchs 40mm Non Flush Mount , Inductive Sensor PNP-NO/NC Output, 40 mm Detection , IP69K | NBN40-L2-A2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO/NC<br>Detection Range = 40 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 40mm<br>Width = 40mm<br>Depth = 67mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 200 mA<br>Housing Material = Polyamide<br>Short Circuit Overload Protection = Yes<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f7840013-01.jpg
88 | Pepperl + Fuchs 40mm Non Flush Mount , Inductive Sensor NO Output, 4 mm Detection , IP67 | NCN4-12GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = NO<br>Detection Range = 4 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Non Flush<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Shielding = Partial<br><br>Two Wire DC Threaded Barrel Sensors. Brass nickel plated housing with PBT sensing face 2 wire DC Not embeddable LED indication Reverse polarity and short circuit protection</div></td> | 49.758 | Pepperl Fuchs | Inductive proximity switches | r8313786-01.jpg
89 | Pepperl + Fuchs 40mm Non Flush Mount , Inductive Sensor NO Output, 4 mm Detection , IP67 | NBN4-12GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = NO<br>Detection Range = 4 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Non Flush<br>Switching Current = 100 mA<br>Housing Material = Brass, Nickel Plated<br>Shielding = Partial<br><br>Pepperl+Fuchs Inductive Sensors. Inductive sensors are available with different sensing and temperature ranges to suit a variety of industrial applications. Block style Flush or embeddable installation LED indication</div></td> | 45.887 | Pepperl Fuchs | Inductive proximity switches | r8313682-01.jpg
90 | Pepperl + Fuchs 40mm, Inductive Sensor NC Output, 5 mm Detection , IP67 | NCB5-18GM40-Z1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M18 x 1<br>Output Type = NC<br>Detection Range = 5 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 60 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Minimum Operating Temperature = -25В°C<br><br>for Z1 models L+ terminal is numbered 1/BN L- terminal is numbered 2/BU. Two Wire dc. Features and benefits. St. steel housing with PBT sensing face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN 60947-5-2. Short circuit and reverse polarity protection</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f2806462-01.jpg
91 | Pepperl + Fuchs 40mm Non Flush Mount , Inductive Sensor PNP-NO Output, 40 mm Detection , IP69K | NBN40-L2-E2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Block<br>Output Type = PNP-NO<br>Detection Range = 40 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 40mm<br>Width = 40mm<br>Depth = 67mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>IP Rating = IP69K<br>Housing Material = PA-GF35<br>Maximum Operating Temperature = +85В°C<br><br>Varikont DC Switch. New Varikont series of inductive proximity sensors with enhanced performance and environmental protection, yet in a dimensionally identical package. Features and benefits. 4 LEDs indicator for 360В° all-round visibility. Tough PA ; metal housing. M20 glandable cable entry. IP69K sealing</div></td> |  | Pepperl Fuchs | Inductive proximity switches | f7839990-01.jpg
92 | Pepperl + Fuchs 40mm Non Flush Mount , Inductive Sensor NPN-NO Output, 4 mm Detection , IP67 | NBN4-12GM40-E0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = NPN-NO<br>Detection Range = 4 mm<br>Terminal Type = Cable<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 40mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Non Flush<br>Switching Current = 100 mA<br>Housing Material = Brass, Nickel Plated<br>Shielding = Partial<br><br>Pepperl+Fuchs Inductive Sensors. Inductive sensors are available with different sensing and temperature ranges to suit a variety of industrial applications. Block style Flush or embeddable installation LED indication</div></td> | 41.699 | Pepperl Fuchs | Inductive proximity switches | r8313685-01.jpg
93 | Pepperl + Fuchs 43mm Flush Mount Mount , Inductive Sensor NO Output, 2 mm Detection , IP67 | NBB2-12GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = NO<br>Detection Range = 2 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 43mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Brass, Nickel Plated<br>Shielding = Unshielded<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 68.984 | Pepperl Fuchs | Inductive proximity switches | r8313528-01.jpg
94 | Pepperl + Fuchs 40mm, Inductive Sensor NC Output, 2 mm Detection , IP67 | NCB2-12GM40-Z1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = NC<br>Detection Range = 2 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 60 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Minimum Operating Temperature = -25В°C<br><br>for Z1 models L+ terminal is numbered 1/BN L- terminal is numbered 2/BU. Two Wire dc. Features and benefits. St. steel housing with PBT sensing face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN 60947-5-2. Short circuit and reverse polarity protection</div></td> | 49.758 | Pepperl Fuchs | Inductive proximity switches | f2806434-01.jpg
95 | Pepperl + Fuchs 40mm, Inductive Sensor NC Output, 10 mm Detection , IP67 | NCB10-30GM40-Z1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M30 x 1.5<br>Output Type = NC<br>Detection Range = 10 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 60 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Minimum Operating Temperature = -25В°C<br><br>for Z1 models L+ terminal is numbered 1/BN L- terminal is numbered 2/BU. Two Wire dc. Features and benefits. St. steel housing with PBT sensing face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN 60947-5-2. Short circuit and reverse polarity protection</div></td> | 65.34 | Pepperl Fuchs | Inductive proximity switches | f2806484-01.jpg
96 | Pepperl + Fuchs 45mm Flush Mount Mount , Inductive Sensor PNP-NC Output, 2 mm Detection , IP67 | 3RG4012-3AF33-PF | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = PNP-NC<br>Detection Range = 2 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 15 в†’ 34 V dc<br>Length = 45mm<br>Maximum DC Voltage = 34V<br>Mounting Type = Flush Mount<br>IP Rating = IP67<br>Housing Material = Nickel Plated Brass<br>Reverse Polarity Protection = Yes<br><br>CE. BERO 3RG40 - Inductive proximity switch, M8-M30 design. BERO inductive proximity switch Switching distance1.5 в†’ 10 mm Short, cylindrical design Embedded installation Cable or plug version LED status display. Features. Spurious switch-on pulse Short-circuit proof / overload resistant Polarity protection Wire breakage protection Anti-inductive protection</div></td> | 70.092 | Pepperl Fuchs | Inductive proximity switches | w5062564-01.jpg
97 | Pepperl + Fuchs 43mm Flush Mount Mount , Inductive Sensor NO Output, 2 mm Detection , IP67 | NBB2-12GM40-Z0-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = NO<br>Detection Range = 2 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 5 в†’ 30 V dc<br>Length = 43mm<br>Maximum DC Voltage = 60V<br>Mounting Type = Flush Mount<br>Switching Current = 100 mA<br>Housing Material = Brass, Nickel Plated<br>Shielding = Unshielded<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 45.877 | Pepperl Fuchs | Inductive proximity switches | r8313521-01.jpg
98 | Pepperl + Fuchs 40mm, Inductive Sensor NO Output, 10 mm Detection , IP67 | NCB10-30GM40-Z0 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M30 x 1.5<br>Output Type = NO<br>Detection Range = 10 mm<br>Terminal Type = Cable<br>Supply Voltage = 5 60 V dc<br>Length = 40mm<br>Maximum DC Voltage = 60V<br>IP Rating = IP67<br>Housing Material = Stainless Steel<br>Minimum Operating Temperature = -25В°C<br><br>for Z1 models L+ terminal is numbered 1/BN L- terminal is numbered 2/BU. Two Wire dc. Features and benefits. St. steel housing with PBT sensing face. LED indication. Embeddable. IP67. Operating temperature range -25 в†’ +70В°C. EN 60947-5-2. Short circuit and reverse polarity protection</div></td> | 65.34 | Pepperl Fuchs | Inductive proximity switches | f2806478-01.jpg
99 | Pepperl + Fuchs 45mm Flush Mount Mount , Inductive Sensor PNP-NO Output, 2 mm Detection , IP67 | NBB2-12GM30-E2-V1 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M12 x 1<br>Output Type = PNP-NO<br>Detection Range = 2 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 10 в†’ 30 V dc<br>Length = 45mm<br>Maximum DC Voltage = 30V<br>Mounting Type = Flush Mount<br>Switching Current = 200 mA<br>Housing Material = Brass, Nickel Plated<br>Shielding = Unshielded<br><br>Standard Sensing Range. A range of Pepperl + Fuchs inductive sensors available in different sensing and temperature ranges to suit a variety of industrial applications. Features and benefits. Nickel plated brass housing with PBT face. LED indication. Embeddable, flush or non-flush installation available. IP67. Supply voltage 10 to 30Vdc. Short circuit and reverse polarity protection. Pre-wired types have 2m PVC cable. Plug-in types have M12 type connector</div></td> | 41.699 | Pepperl Fuchs | Inductive proximity switches | r8313503-01.jpg
100 | Pepperl + Fuchs 45mm Flush Mount Mount , Inductive Sensor PNP-NC Output, 10 mm Detection , IP67 | 3RG4014-3AF33-PF | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Body Style = Barrel<br>Thread Size = M30 x 1.5<br>Output Type = PNP-NC<br>Detection Range = 10 mm<br>Terminal Type = M12 - 4 Pin<br>Supply Voltage = 15 в†’ 34 V dc<br>Length = 45mm<br>Maximum DC Voltage = 34V<br>Mounting Type = Flush Mount<br>Switching Current = 150 mA<br>Housing Material = Nickel Plated Brass<br>Reverse Polarity Protection = Yes<br><br>CE. BERO 3RG40 - Inductive proximity switch, M8-M30 design. BERO inductive proximity switch Switching distance1.5 в†’ 10 mm Short, cylindrical design Embedded installation Cable or plug version LED status display. Features. Spurious switch-on pulse Short-circuit proof / overload resistant Polarity protection Wire breakage protection Anti-inductive protection</div></td> | 86.408 | Pepperl Fuchs | Inductive proximity switches | w5062895-01.jpg