## schneider_en
id | title | article | fulltext | price | manufacturer | category | image | pdf
1 | Schneider Electric 4PDT Non-Latching Relay Plug In, 24V dc Coil, 8A | RXM4AB3BD | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Coil Voltage = 24V dc<br>Coil Power = 900mW<br>Coil Resistance = 650 О©<br>Contact Configuration = 4PDT<br>Mounting Type = Plug In<br>Switching Current = 8A<br>Terminal Type = Plug In<br>Number of Poles = 4<br>Maximum Switching Voltage AC = 250V<br>Height = 27mm<br><br>RXM Series Miniature Relays with LED. The compact Zelio RXM miniature relays with LED from Schneider Electric can be used to increase the functions in electrical enclosures, particularly useful for industrial applications, machine/building equipment and HVAC. Range of miniature plug-in relays on base, RXZE2 type Simple to use- no adjustment required for standard applcations Easily integrated into current devices ; can be adapted for all voltages Test button and mechanical indicator of relay status Bases for assembly on DIN rail or with screws to be ordered separately</div></td> | 5.485 | Schneider Electric | Zelio Relay Interface plug-in relay | s8841569-01.jpg
2 | Schneider Electric 2420111 PVC Tape 19mm x 33m Yellow | 2420111 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Yellow-coloured PVC insulation tape from Schneider Electric suitable for electrical insulation, binding, colour coding and other applications.</div></td> | 0.968 | Schneider Electric | Electrical Insulation Tapes | s64-9979p01wl.jpg | 64-9979_v1.pdf
3 | Schneider Electric 2420110 PVC Tape 19mm x 33m Red | 2420110 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Red-coloured PVC insulation tape from Schneider Electric suitable for electrical insulation, binding, colour coding and other applications.</div></td> | 0.968 | Schneider Electric | Electrical Insulation Tapes | s64-9978p01wl.jpg | 64-9978_v1.pdf
4 | Schneider Electric 2420113 PVC Tape 19mm x 33m Black | 2420113 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Black PVC insulation tape from Schneider Electric suitable for electrical insulation, binding, colour coding and other applications.</div></td> | 1.1775 | Schneider Electric | Electrical Insulation Tapes | s64-9981p01wl.jpg | 64-9981_v1.pdf
5 | Schneider Electric 2420112 PVC Tape 19mm x 33m Blue | 2420112 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Blue-coloured PVC insulation tape from Schneider Electric suitable for electrical insulation, binding, colour coding and other applications.</div></td> | 0.959 | Schneider Electric | Electrical Insulation Tapes | s64-9980p01wl.jpg | 64-9980_v1.pdf
6 | Schneider Electric 2420115 PVC Tape 19mm x 33m Yellow/Green | 2420115 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Green and yellow PVC insulation tape from Schneider Electric suitable for electrical insulation, binding, colour coding and other applications.</div></td> | 0.938 | Schneider Electric | Electrical Insulation Tapes | s64-9983p01wl.jpg | 64-9983_v1.pdf
7 | Schneider Electric 2420114 PVC Tape 19mm x 33m White | 2420114 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >White PVC insulation tape from Schneider Electric suitable for electrical insulation, binding, colour coding and other applications.</div></td> | 0.947 | Schneider Electric | Electrical Insulation Tapes | s64-9982p01wl.jpg | 64-9982_v1.pdf
8 | Schneider Electric 2420117 PVC Tape 19mm x 33m Green | 2420117 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Green-coloured PVC insulation tape from Schneider Electric suitable for electrical insulation, binding, colour coding and other applications.</div></td> | 0.958 | Schneider Electric | Electrical Insulation Tapes | s64-9985p01wl.jpg | 64-9985_v1.pdf
9 | Schneider Electric 2420116 PVC Tape 19mm x 33m Brown | 2420116 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Brown-coloured PVC insulation tape from Schneider Electric suitable for electrical insulation, binding, colour coding and other applications.</div></td> | 0.949 | Schneider Electric | Electrical Insulation Tapes | s64-9984p01wl.jpg | 64-9984_v1.pdf
10 | Schneider Electric 2424004 Gaffer Tape Black 50mm x 50m | 2424004 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Reel of general purpose cloth gaffer tape from Schneider Electric ideal for securing, sealing and protecting cables and other equipment.</div></td> | 2233611 | Schneider Electric | Gaffer tape | s65-0045p01wl.jpg | 65-0045_v1.pdf
11 | Schneider Electric 2420118 PVC Tape 19mm x 33m Grey | 2420118 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Grey-coloured PVC insulation tape from Schneider Electric suitable for electrical insulation, binding, colour coding and other applications.</div></td> | 0.947 | Schneider Electric | Electrical Insulation Tapes | s64-9986p01wl.jpg | 64-9986_v1.pdf
12 | Schneider Electric ENN05001 IP55 Circular Junction Box Grey 60x60x40mm | ENN05001 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 60mm diameter x 40mm circular junction box from Schneider Electric's Mureva series with 4x &Oslash; 20 cable entry grommets. The surface mounting box has a clip-on cover and includes screw collar caps for extra protection of the screw heads.</div></td> |  | Schneider Electric | Junction box | s64-9880p01wl.jpg | 64-9880_v1.pdf
13 | Schneider Electric 2424000 Gaffer Tape Silver 50mm x 50m | 2424000 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Reel of general purpose cloth gaffer tape from Schneider Electric ideal for securing, sealing and protecting cables and other equipment.</div></td> | 2027-06-01 | Schneider Electric | Gaffer tape | s65-0044p01wl.jpg | 65-0044_v1.pdf
14 | Schneider Electric ENN05032 IP55 Junction Box Grey 65x65x45mm | ENN05032 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 65 x 65 x 45mm square junction box from Schneider Electric's Mureva series with 7x &Oslash; 20 cable entry grommets. The surface mounting box has a clip-on cover and includes screw collar caps for extra protection of the screw heads.</div></td> |  | Schneider Electric | Junction box | s64-9871p01wl.jpg | 64-9871_v1.pdf
15 | Schneider Electric EVB1A22P4KI 7.4kW Type 2S Socket and Key | EVB1A22P4KI | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric's EVB1A22P4KI EVlink Smart Wallbox is ideal for semi-public parking facilities, corporate EV fleets and apartment complexes. The EVLink Smart Wallbox offers energy metering capabilities plus the connectivity you need to ensure user authentication, generate reports and billing, allocate costs to individual users and perform remote maintenance. In short, everything you need to make EV charging easier than ever to manage!The charger is supplied factory set for 16A output, but can be changed to 32A during installation. Access control is via a key.Rapid is partnering with a nationwide network of trained and OLEV approved installers to offer a complete EV Charging commercial installation service. Enquiries for the service can be made here.</div></td> | 898.09 | Schneider Electric | Key switch | s64-9666p01wl.jpg | 64-9666t_v1.pdf
16 | Schneider Electric EVB1A22P4RI 7.4kW Type 2S Socket and RFID | EVB1A22P4RI | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric's EVB1A22P4RI EVlink Smart Wallbox is ideal for semi-public parking facilities, corporate EV fleets and apartment complexes. The EVLink Smart Wallbox offers energy metering capabilities plus the connectivity you need to ensure user authentication, generate reports and billing, allocate costs to individual users and perform remote maintenance. In short, everything you need to make EV charging easier than ever to manage!The charger is supplied factory set for 16A output, but can be changed to 32A during installation. Access control is via an RFID badge.Rapid is partnering with a nationwide network of trained and OLEV approved installers to offer a complete EV Charging commercial installation service. Enquiries for the service can be made here.</div></td> | 1,112.65 | Schneider Electric | Electric Vehicle Chargers AC | s64-9665p01wl.jpg | 64-9665t_v1.pdf
17 | Schneider Electric EVF2S7P44R Evlink Floor Standing 7kW 2xT2 With ShutterRFID | EVF2S7P44R | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This EVlink electric vehicle charging station from Schneider Electric is a floor-mounted unit with an output of 7kW and is ideal for use in commercial parking areas such as those attached to hotels, supermarkets and office blocks.The station can operate in either standalone or clustered architecture mode and includes several functions, including load management, charge detail records, circuit breaker status, postponed charge, user privilege configuration, diagnosis capabilities.There are push-button functions for stop and for start/unlock flap and the charging station has LED indication for on charge, available, reserved, and not operational.</div></td> | 2,928.11 | Schneider Electric | Electric Vehicle Chargers AC | s64-9956p01wl.jpg | 64-9956_v1.pdf
18 | Schneider Electric EVB1A7PCRI 7kW Charger with 4.5m Cable Type 2 Plug and RFID | EVB1A7PCRI | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric's EVB1A7PCRI EVlink Smart Wallbox is ideal for semi-public parking facilities, corporate EV fleets and apartment complexes. The EVLink Smart Wallbox offers energy metering capabilities plus the connectivity you need to ensure user authentication, generate reports and billing, allocate costs to individual users and perform remote maintenance. In short, everything you need to make EV charging easier than ever to manage!The charger is supplied factory set for 7.4kW, 32A output. Access control is via an RFID badge.Rapid is partnering with a nationwide network of trained and OLEV approved installers to offer a complete EV Charging commercial installation service. Enquiries for the service can be made here.</div></td> | 1,166.08 | Schneider Electric | Electric Vehicle Chargers AC | s65-2757p01wl.jpg | 65-2757t_v1.pdf
19 | Schneider Electric EVH2S7P0CK 7.4kW Charger with attached cable and T2 Plug | EVH2S7P0CK | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This 7.4kW wall-mounting electric vehicle charging station from Schneider Electric is ideal for use at home or in light commercial areas where use is likely to be limited, such as a private car park.Rapid is partnering with a nationwide network of trained and OLEV approved installers to offer a complete EV Charging commercial installation service. Enquiries for the service can be made here.</div></td> | 579.56 | Schneider Electric | Key switch | s64-9668p01wl.jpg | 64-9668_v1.pdf
20 | Schneider Electric EVH2S7P0AK 7.4kW Charger with attached cable and T1 Plug | EVH2S7P0AK | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This 7.4kW wall-mounting electric vehicle charging station from Schneider Electric is ideal for use at home or in light commercial areas where use is likely to be limited, such as a private car park.Rapid is partnering with a nationwide network of trained and OLEV approved installers to offer a complete EV Charging commercial installation service. Enquiries for the service can be made here.</div></td> | 605.25 | Schneider Electric | Key switch | s64-9667p01wl.jpg | 64-9667_v1.pdf
21 | Schneider Electric EVW2S7P44 EVlink Wall Mounted 7kW 2xT2 With Shutter | EVW2S7P44 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This EVlink electric vehicle charging station from Schneider Electric is a wall-mounted unit with an output of 7kW and is ideal for use in commercial parking areas such as those attached to hotels, supermarkets and office blocks.The station can operate in either standalone or clustered architecture mode and includes several functions, including load management, charge detail records, circuit breaker status, postponed charge, user privilege configuration, diagnosis capabilities.There are push-button functions for stop and for start/unlock flap and the charging station has LED indication for on charge, available, reserved, and not operational.</div></td> | 2,347.30 | Schneider Electric | Electric Vehicle Chargers AC | s64-9957p01wl.jpg | 64-9957_v1.pdf
22 | Schneider Electric EVW2S7P44R EVlink Wall Mounted 7kW 2xT2 With Shutter RFID | EVW2S7P44R | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This EVlink electric vehicle charging station from Schneider Electric is a wall-mounted unit with an output of 7kW and is ideal for use in commercial parking areas such as those attached to hotels, supermarkets and office blocks.The station can operate in either standalone or clustered architecture mode and includes several functions, including load management, charge detail records, circuit breaker status, postponed charge, user privilege configuration, diagnosis capabilities.There are push-button functions for stop and for start/unlock flap and the charging station has LED indication for on charge, available, reserved, and not operational.</div></td> | 2,634.57 | Schneider Electric | Electric Vehicle Chargers AC | s64-9958p01wl.jpg | 64-9958_v1.pdf
23 | Schneider Electric EZ9EGARAGE63 63A Easy9 Consumer Unit | EZ9EGARAGE63 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This 63A consumer unit is from the Easy9+ range and is designed for use in the garage. The contemporary design will look good when installed and the unit features a reversible enclosure door with magnetic closure, and lots of room inside for cabling. Comes supplied with a 6A MCB, a 16A MCB, and a 63A RCCB.</div></td> | 44.15 | Schneider Electric | Consumer Units | s65-2742p01wl.jpg | 65-2742_v1.pdf
24 | Schneider Electric EZ9ER6R6MCU 6+6 Way Easy9 Consumer Unit | EZ9ER6R6MCU | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A dual 6 + 6 RCD consumer unit is from the Easy9+ range. The unit has a contemporary design, with the ability to be flush mounted, and a reversible enclosure door with magnetic closure. The unit has a rigid metal DIN rail and is supplied with terminal blocks, busbars, switch disconnector and RCCBs.</div></td> | 79.51 | Schneider Electric | Consumer Units | s65-2741p01wl.jpg | 65-2741_v1.pdf
25 | Schneider Electric EZ9R33263 2 Pole Type AC RCCB 63A | EZ9R33263 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 63A residual current circuit breaker from Schneider Electric's Easy9 range.</div></td> |  | Schneider Electric | Circuit breaker | s64-9755p01wl.jpg | 64-9755_v1.pdf
26 | Schneider Electric GGBL1011S LWM 1 Gang 1 Way 10AX Plate Switch | GGBL1011S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This 1-way white moulded plate switch is from the Lisse family of wiring accessories. The switch is rated for use with fluorescent and inductive loads as well as standard loads (AX). The switch is a perfect blend of style and performance and is ideally suited to new construction and refurbishment projects. A high level of quality, reliability and value ensure a long life.</div></td> | 0.842 | Schneider Electric | Core White Switches | s65-2730p01wl.jpg | 65-2730_v1.pdf
27 | Schneider Electric GGBL1012S LWM 1 Gang 2 Way 10AX Plate Switch | GGBL1012S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This 2-way white moulded plate switch is from the Lisse family of wiring accessories. The switch is rated for use with fluorescent and inductive loads as well as standard loads (AX). The switch is a perfect blend of style and performance and is ideally suited to new construction and refurbishment projects. A high level of quality, reliability and value ensure a long life.</div></td> |  | Schneider Electric | Rocker switch | s65-2731p01wl.jpg | 65-2731_v1.pdf
28 | Schneider Electric GGBL3010S not categorized | GGBL3010S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric GGBL3010S</div></td> | 1.478 | Schneider Electric | More items | r9088804-01.jpg | CIEN0-65206179.pdf
29 | Schneider Electric GGBL1022 Lisse 2 Gang 2 Way 10A Light Switch White | GGBL1022S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 2-gang, white rocker-style plate switch with 2-way contacts rated at 10A.</div></td> |  | Schneider Electric | Rocker switch | s65-0050p01wl.jpg | 65-0050_v1.pdf
30 | Schneider Electric GGBL3020S not categorized | GGBL3020S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric GGBL3020S</div></td> | 2016-03-01 | Schneider Electric | Multiple socket outlet | r9088813-01.jpg | CIEN0-65206189.pdf
31 | Schneider Electric GGBL3020DS not categorized | GGBL3020DS | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric GGBL3020DS</div></td> | 2026-04-03 | Schneider Electric | More items | s65-2728p01wl.jpg | CIEN0-65206185.pdf
32 | Schneider Electric GGBL3050S not categorized | GGBL3050S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric GGBL3050S</div></td> | 2.011 | Schneider Electric | More items | r9088797-01.jpg | CIEN0-65206197.pdf
33 | Schneider Electric GGBL30212DS not categorized | GGBL30212DS | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric GGBL30212DS</div></td> | 1958-07-01 | Schneider Electric | More items | s65-2729p01wl.jpg | CIEN0-65206191.pdf
34 | Schneider Electric MT714R9K0900 MiGenie Wish 1 - Single Channel Thermostat | MT714R9K0900 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Control your heating and hot water from your mobile wherever you are!As the rise of smart technology becomes common place, more and more consumers are requesting heating controls that can be controlled via their mobile devices. miGenie makes installing smart heating really simple. It's the perfect combination of familiarity and innovation.The standard back-plate means you can upgrade your existing controls in minutes. The pre-bound two-way wireless connection means units are ready to go straight out of the box, and the signal strength indicator ensures correct positioning first time. All that's left to do is plug the internet gateway into the home router and off you go. Installation can be done and dusted in about 10 minutes.The miGenie app opens up a whole new world of convenience. Once the app is downloaded, heating and hot water can be controlled from a phone, tablet or watch, so wherever you are, you can be in complete control.This single channel set is ideal for time and temperature control of combination boilers - upgrade your controls without re-wiring. The set contains a controller, room thermostat and internet gateway.</div></td> | 89.59 | Schneider Electric | Wireless thermostat | s64-9693p01wl.jpg | 564839t_v1.pdf
35 | Schneider Electric GGBL5000S LWM 13A Unswitched Fused Connection Unit | GGBL5000S | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 13A unswitched fuse connection unit from the Lisse family of wiring accessories. The unit is a perfect blend of style and performance and is ideally suited to new construction and refurbishment projects. A high level of quality, reliability and value ensure a long life.</div></td> |  | Schneider Electric | Core White Sockets | s65-2733p01wl.jpg | 65-2733_v1.pdf
36 | Schneider Electric NSYAMRD19357TB DIN Rail 35x7.5mm for Box 192 | NSYAMRD19357TB | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 168mm long symmetrical DIN rail 35mm high x 7.5mm deep for boxes with 175mm internal height or width.</div></td> |  | Schneider Electric | DIN rail | s64-9725p01wl.jpg | 64-9725_v1.pdf
37 | Schneider Electric GGBL9D25 2 Gang Dual Surface Mount Pattress Box 25mm | GGBL9D25 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A dual-gang white, moulded surface-mounting pattress box with an internal depth of 25mm.</div></td> | 1971-01-01 | Schneider Electric | Pattress & Back Boxes | s64-9851p01wl.jpg | 64-9851_v1.pdf
38 | Schneider Electric SR3PACK2FU electrical relay Multicolor | SR3PACK2FU | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Contact current capacity</div></td><td class=bd05rb valign=top><div class=m5>5 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of contacts</div></td><td class=bd05rb valign=top><div class=m5>16 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 40 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>850 g</div></td></tr></table></td> | 193.62 | Schneider Electric | Zelio Logic Complete offer | f4684393-01.jpg
39 | Schneider Electric GMC13SSP 13A Metal Clad Switched Spur | GMC13SSP | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A metal-clad switched and fused 1-gang spur connection unit from Schneider Electric's Exclusive range.</div></td> | 2049-08-01 | Schneider Electric | Metal Cased | s64-9798p01wl.jpg | 64-9798_v1.pdf
40 | Schneider Electric XALD electrical switch Pushbutton switch Black,Green,Red | XALD213 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >dark grey station - green flush/red flush pushbuttons Г22 spring return</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Pushbutton switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Connectivity technology</div></td><td class=bd05rb valign=top><div class=m5>Wired </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Black,Green,Red </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Housing material</div></td><td class=bd05rb valign=top><div class=m5>Polycarbonate </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66, IP67 </div></td></tr></table></td> | 20.53 | Schneider Electric | Plastic housing | schneider-electric-xald213.jpg
41 | Schneider Electric LC1D09P7 TeSys Contactor 9A 230VAC 50/60Hz | LC1D09P7 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >From the TeSys LC1D series, a 3-pole (3 NO) category AC-1 / AC-3 contactor rated at 9A (AC-3) / 25A (AC-1) with a 230V AC coil.</div></td> |  | Schneider Electric | Screw terminals | s64-9676p01wl.jpg | 64-9676_v1.pdf
42 | Schneider Electric XALK178 E Stop Twist to Reset Yellow 40mm Mushroom Head | XALK178 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A complete emergency stop station with a red 40mm button.</div></td> |  | Schneider Electric | Fuse base cover | s64-9855p01wl.jpg | 64-9855t_v1.pdf
43 | Schneider Electric MT724R9K0900 MiGenie Wish 2 - Dual Channel Thermostat | MT724R9K0900 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Control your heating and hot water from your mobile wherever you are!As the rise of smart technology becomes common place, more and more consumers are requesting heating controls that can be controlled via their mobile devices. miGenie makes installing smart heating really simple. It's the perfect combination of familiarity and innovation.The standard back-plate means you can upgrade your existing controls in minutes. The pre-bound two-way wireless connection means units are ready to go straight out of the box, and the signal strength indicator ensures correct positioning first time. All that's left to do is plug the internet gateway into the home router and off you go. Installation can be done and dusted in about 10 minutes.The miGenie app opens up a whole new world of convenience. Once the app is downloaded, heating and hot water can be controlled from a phone, tablet or watch, so wherever you are, you can be in complete control.The dual channel set is ideal for time and temperature control of conventional boilers - upgrade your time control and thermostat without re-wiring and use with an existing cylinder thermostat. The set contains a controller, room thermostat and internet gateway.</div></td> | 158.39 | Schneider Electric | Wireless thermostat | s64-9691p01wl.jpg | 564839t_v1.pdf
44 | Schneider Electric РђР’РўРћРњРђРўРР§Р•РЎРљРР™ Р’Р«РљР›Р®Р§РђРўР•Р›Р¬ РЎ РљРћРњР‘РРќРР РћР’РђРќРќР«Рњ Р РђРЎР¦Р•РџРРўР•Р›Р•Рњ 2,5-4Рђ circuit breaker 3 | GV2ME08 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>45 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>78.2 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>89 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>260 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 60 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 80 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating altitude</div></td><td class=bd05rb valign=top><div class=m5>0 - 2000 m</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP20 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Black,White </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr></table></td> | 23.31 | Schneider Electric | Motor protection circuit breaker | 23309789_9832087867.jpg
45 | Schneider Electric NSYAMRD16357TB DIN Rail 35x7.5mm for Box 164 | NSYAMRD16357TB | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 140mm long symmetrical DIN rail 35mm high x 7.5mm deep for boxes with 150mm internal height or width.</div></td> |  | Schneider Electric | DIN rail | s64-9724p01wl.jpg | 64-9724_v1.pdf
46 | Schneider GV2ME14 3 Pole 10A 690Vac Thermal Magnetic Circuit Breaker | GV2ME14 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A thermal magnetic motor circuit breaker with screw clamp terminals, from Schneider Electric's TeSys GV2 series.</div></td> |  | Schneider Electric | Motor protection circuit breaker | m566496p01wl.jpg | 66-1965_v2.pdf
47 | Schneider Electric SR2PACKFU electrical relay White | SR2PACKFU | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >compact smart relay Zelio Logic - вЂњdiscoveryвЂќ pack - 12 I O - 100..240V AC</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>White </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 55 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CSA < br / C-Tick < br / GL < br / GOST < br / UL < br / EN/IEC 60068-2-27 Ea < br / EN/IEC 60068-2-6 Fc < br / EN/IEC 61000-4-11 < br / EN/IEC 61000-4-12 < br / EN/IEC 61000-4-2 level 3 < br / EN/IEC 61000-4-3 < br / EN/IEC 61000-4-4 level 3 < br / EN/IEC 61000-4-5 < br / EN/IEC 61000-4-6 level 3 < br / IP40 </div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>700 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Power</div></td><td class=bd05rb valign=top><div class=m5>AC input voltage</div></td><td class=bd05rb valign=top><div class=m5>85 - 264 V</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>AC input frequency</div></td><td class=bd05rb valign=top><div class=m5>50 - 60 Hz</div></td></tr></table></td> | 104.34 | Schneider Electric | Zelio Logic Complete offer | f4684517-01.jpg | CIEN3-27063283.pdf
48 | Schneider LC1D25U7 3PST-NO 25A 690Vac 20HP Contactor | LC1D25U7 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A general purpose contactor from Schneider Electric's LC1D series.</div></td> |  | Schneider Electric | Power contactor | m566504p01wl.jpg | 66-1910_v2.pdf
49 | Schneider Electric SR3PACKFU electrical relay Multicolor | SR3PACKFU | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Contact current capacity</div></td><td class=bd05rb valign=top><div class=m5>8 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of contacts</div></td><td class=bd05rb valign=top><div class=m5>6 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 40 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>700 g</div></td></tr></table></td> | 125.66 | Schneider Electric | Zelio Logic Complete offer | f4684387-01.jpg
50 | Schneider LC1K0910B7 3PST-NO 9A 24Vac 4kW Conctactor | LC1K0910B7 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >The LC1K0910B7 is a 3PST-NO 9A 24V AC 4kW contactor from Schneider Electric.</div></td> |  | Schneider Electric | Power contactor | s66-1998p01wl.jpg | 66-1998_v2.pdf
51 | Schneider Electric ZB5AZ102 not categorized | ZB5AZ102 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric ZB5AZ102</div></td> | 1951-02-01 | Schneider Electric | Light terminal block | f3310467-01.jpg
52 | Schneider LC7K0910M7 3PST-NO 9A 690Vac 4kW Contactor | LC7K0910M7 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >The Schneider Electric LC7K0910M7 is a 3PST-NO, 9A 690V AC 4kW contactor with a 220 to 230V AC coil.</div></td> |  | Schneider Electric | Power contactor | s66-1916p01wl.jpg | 66-1916_v2.pdf
53 | Schneider Electric GV2ME05 circuit breaker 3 | GV2ME05 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>45 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>78.2 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>89 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>260 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 60 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 80 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating altitude</div></td><td class=bd05rb valign=top><div class=m5>0 - 2000 m</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP20 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>White </div></td></tr></table></td> | 22.91 | Schneider Electric | Motor protection circuit breaker | 23309787_8590365136.jpg
54 | Schneider Electric LP1K0901BD auxiliary contact | LP1K0901BD | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Technical details</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>DC contact rating</div></td><td class=bd05rb valign=top><div class=m5>24 DC </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of CO contacts</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr></table></td> | 14.36 | Schneider Electric | Power contactor | f6097864-01.jpg
55 | Schneider LP1K0910BD 3PST-NO 9A 690Vac 4kW Contactor | LP1K0910BD | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A contactor from Schneider Electric's LP1 series.</div></td> |  | Schneider Electric | Power contactor | m566510p01wl.jpg | 66-1990_v2.pdf
56 | Schneider Electric LP4K0910BW3 auxiliary contact | LP4K0910BW3 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Technical details</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>DC contact rating</div></td><td class=bd05rb valign=top><div class=m5>24 DC </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of CO contacts</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr></table></td> | 15.29 | Schneider Electric | Power contactor | f0759077-01.jpg
57 | Schneider Electric LP2K0910BD auxiliary contact | LP2K0910BD | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Technical details</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>DC contact rating</div></td><td class=bd05rb valign=top><div class=m5>24 DC </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of CO contacts</div></td><td class=bd05rb valign=top><div class=m5>3 </div></td></tr></table></td> | 34.04 | Schneider Electric | Power contactor | f0758793-01.jpg
58 | Schneider LR2K0307 1.2A to 1.8A Thermal Overload Relay | LR2K0307 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A differential thermal overload relay from Schneider Electric's LR2K series.</div></td> |  | Schneider Electric | Motor protection relay | s66-1948p01wl.jpg | 66-1948_v2.pdf
59 | Schneider LRD05 0.63A to 1A Thermal Overload Relay | LRD05 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A differential thermal overload relay from Schneider Electric's LRD series.</div></td> |  | Schneider Electric | Screw terminals | s66-1942p01wl.jpg | 66-1942_v2.pdf
60 | Schneider LRD06 1A to 1.6A Thermal Overload Relay | LRD06 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A differential thermal overload relay from Schneider Electric's LRD series.</div></td> |  | Schneider Electric | Screw terminals | m566514p01wl.jpg | 66-1977_v2.pdf
61 | Schneider SR2B121BSR2 12 IO 24VAC w/Clock Compact Smart Relay | SR2B121B | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A smart relay from Schneider Electric's SR2 series.</div></td> |  | Schneider Electric | Stand extension | s66-1840p01wl.jpg | 66-1840_v2.pdf
62 | Schneider Electric SR2B201FU electrical relay Multicolor | SR2B201FU | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Contact current capacity</div></td><td class=bd05rb valign=top><div class=m5>8 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of contacts</div></td><td class=bd05rb valign=top><div class=m5>12 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 40 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>380 g</div></td></tr></table></td> | 106.51 | Schneider Electric | Stand extension | f4684494-01.jpg
63 | Schneider Electric SR2D101FU electrical relay Multicolor | SR2D101FU | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Contact current capacity</div></td><td class=bd05rb valign=top><div class=m5>8 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of contacts</div></td><td class=bd05rb valign=top><div class=m5>6 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 40 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>220 g</div></td></tr></table></td> | 56.29 | Schneider Electric | Stand extension | f4798098-01.jpg
64 | Schneider Electric SR2D201BD electrical relay Multicolor | SR2D201BD | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Contact current capacity</div></td><td class=bd05rb valign=top><div class=m5>8 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of contacts</div></td><td class=bd05rb valign=top><div class=m5>12 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 40 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>350 g</div></td></tr></table></td> | 85.14 | Schneider Electric | Stand extension | f4796092-01.jpg
65 | Schneider Electric SR3B261JD electrical relay Multicolor | SR3B261JD | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Contact current capacity</div></td><td class=bd05rb valign=top><div class=m5>5 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of contacts</div></td><td class=bd05rb valign=top><div class=m5>16 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 40 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>400 g</div></td></tr></table></td> | 121.57 | Schneider Electric | Profibus input / output module | f6152309-01.jpg
66 | Schneider Electric SR3B101BD electrical relay Multicolor | SR3B101BD | <td valign=top class=BD02 style="border-width: 4px 5px;"><div ></div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Multicolor </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Contact current capacity</div></td><td class=bd05rb valign=top><div class=m5>8 A</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of contacts</div></td><td class=bd05rb valign=top><div class=m5>6 </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-20 - 40 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>250 g</div></td></tr></table></td> | 71.81 | Schneider Electric | Profibus input / output module | f4684220-01.jpg
67 | Schneider VCCF2 40A TeSys Vario E-stop Disconnector Switch | VCCF2 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An emergency stop switch disconnector from Schneider Electric's VCCF series.The switch is designed to mount at the back of an enclosure and is supplied with an extension shaft, allowing the switch actuator to be mounted on the front panel of the enclosure.</div></td> |  | Schneider Electric | Emergency stop main switch | s66-1919p01wl.jpg | 66-1919_v2.pdf
68 | Schneider VCCF3 41.5A TeSys Vario E-stop Disconnector Switch | VCCF3 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An emergency stop switch disconnector from Schneider Electric's VCCF series.The switch is designed to mount at the back of an enclosure and is supplied with an extension shaft, allowing the switch actuator to be mounted on the front panel of the enclosure.</div></td> |  | Schneider Electric | Load disconnector | m566525p01wl.jpg | 66-1907_v2.pdf
69 | Schneider VCCF5 68.5A TeSys Vario E-stop Disconnector Switch | VCCF5 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An emergency stop switch disconnector from Schneider Electric's VCCF series.The switch is designed to mount at the back of an enclosure and is supplied with an extension shaft, allowing the switch actuator to be mounted on the front panel of the enclosure.</div></td> |  | Schneider Electric | Load disconnector | s66-1870p01wl.jpg | 66-1870_v2.pdf
70 | Schneider Electric XALK188G electrical switch | XALK188G | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Schneider Electric XALK188G</div></td> | 29.59 | Schneider Electric | Key switch | f3308600-01.jpg
71 | Schneider XB4BG03 2NO 2 Position Black Keylock Selector Switch | XB4BG03 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A black key lock selector switch from the Schneider Electric XB4BG series.</div></td> |  | Schneider Electric | Key switch | s66-1943p01wl.jpg | 66-1943_v2.pdf
72 | Schneider XB4BG21 1NO 2 Position Black Keylock Selector Switch | XB4BG21 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A black key lock selector switch from the Schneider Electric XB4BG series.</div></td> |  | Schneider Electric | Key switch | m566518p01wl.jpg | 66-2015_v2.pdf
73 | Schneider XB4BG33 2NO 3 Position Black Keylock Selector Switch | XB4BG33 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A black key lock selector switch from the Schneider Electric XB4BG series.</div></td> |  | Schneider Electric | Key switch | s66-1981p01wl.jpg | 66-1981_v2.pdf
74 | Schneider XB4BG41 1NO 2 Position Black Keylock Selector Switch | XB4BG41 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A black key lock selector switch from the Schneider Electric XB4BG series.</div></td> |  | Schneider Electric | Key switch | m566518p01wl.jpg | 66-1987_v2.pdf
75 | Schneider XMLA300D2S11 20-300 Bar SPDT G1/4" Electromechanical Pressure Sensor | XMLA300D2S11 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 300 Bar electromechanical pressure sensor from Schneider Electric's XMLA series.</div></td> |  | Schneider Electric | Plug - with cable gland | m566535p01wl.jpg | 66-1882_v2.pdf
76 | Schneider XMLA020A2S11 7-20Bar SPDT Electromechanical Pressure Sensor | XMLA020A2S11 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A 20 Bar electromechanical pressure sensor from Schneider Electric's XMLA series.</div></td> |  | Schneider Electric | Plug - with cable gland | s66-1851p01wl.jpg | 66-1851_v2.pdf
77 | Schneider XS7C4A1MPG13 15mm Flush Rectangular Inductive Proximity Sensor | XS7C4A1MPG13 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An inductive proximity sensor from Schneider Electric's XS series.</div></td> |  | Schneider Electric | Magnetic proximity switch | s66-1966p01wl.jpg | 66-1966_v2.pdf
78 | Schneider XS8C4A1MPG13 20mm Flush Rectangular Inductive Proximity Sensor | XS8C4A1MPG13 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An inductive proximity sensor from Schneider Electric's XS series.</div></td> |  | Schneider Electric | Inductive proximity switches | m566538p01wl.jpg | 66-1960_v2.pdf
79 | Schneider XS8C4A1PCG13 20mm Flush Rectangular Inductive Proximity Sensor | XS8C4A1PCG13 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >An inductive proximity sensor from Schneider Electric's XS series.</div></td> |  | Schneider Electric | Inductive proximity switches | m566538p01wl.jpg | 66-1972_v2.pdf
80 | Schneider Electric XCKD2110P16 electrical switch Limit switch 2P Blue | XCKD2110P16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKD - metal end plunger - 1NC+1NO - snap - M16</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>31 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>30 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>65 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>180 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-25 - 70 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Connectivity technology</div></td><td class=bd05rb valign=top><div class=m5>Wired </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Housing material</div></td><td class=bd05rb valign=top><div class=m5>Zamak </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CCC < br / CSA < br / UL </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr></table></td> | 13.97 | Schneider Electric | End switch | schneider-electric-xckd2110p16.jpg
81 | Schneider Electric XCKD2102P16 electrical switch Limit switch 2P Blue | XCKD2102P16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKD - steel roller plunger - 1NC+1NO - snap - M16</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>31 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>30 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>65 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>185 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-25 - 70 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Connectivity technology</div></td><td class=bd05rb valign=top><div class=m5>Wired </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Housing material</div></td><td class=bd05rb valign=top><div class=m5>Zamak </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66, IP67 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CCC < br / CSA < br / UL </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr></table></td> | 17.30 | Schneider Electric | End switch | schneider-electric-xckt2102p16.jpg
82 | Telemecanique XCKD2121P16 Horizontal Roller Plunger NC+NO Snap M16 Limit Switch | XCKD2121P16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This limit switch from the OsiSense XCKD series has a compact design and excellent performance. The switch has a modular design that makes installation and maintenance easy and the cable entries give unrestricted access to contacts, enabling quick and simple cabling. The switch features 1x normally closed and 1x normally open contact, with the contacts having a positive opening snap action - allowing use in safety applications. Suitable for use in light to medium duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | End switch | s65-8006p01wl.jpg | 65-8006_v1.pdf
83 | Schneider Electric XCKD2118P16 electrical switch Limit switch 2P Blue | XCKD2118P16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKD - thermoplastic roller lever - 1NC+1NO - snap - M16</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>31 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>30 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>65 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>225 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-25 - 70 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Connectivity technology</div></td><td class=bd05rb valign=top><div class=m5>Wired </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Housing material</div></td><td class=bd05rb valign=top><div class=m5>Zamak </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66, IP67 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CCC < br / CSA < br / UL </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr></table></td> | 15.32 | Schneider Electric | End switch | schneider-electric-xckt2118p16.jpg
84 | Schneider Electric XCKD2145P16 electrical switch Limit switch 2P Blue | XCKD2145P16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKD - th.plastic roller lever var.length - 1NC+1NO - snap - M16</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>31 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>30 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>65 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>235 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-25 - 70 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Connectivity technology</div></td><td class=bd05rb valign=top><div class=m5>Wired </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Housing material</div></td><td class=bd05rb valign=top><div class=m5>Zamak </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66, IP67 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CCC < br / CSA < br / UL </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr></table></td> | 17.19 | Schneider Electric | End switch | schneider-electric-xckd2145p16.jpg
85 | Telemecanique XCKD2145G11 Variable Roller Plunger NC+NO Snap PG11 limit Switch | XCKD2145G11 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >This limit switch from the OsiSense XCKD series has a compact design and excellent performance. The switch has a modular design that makes installation and maintenance easy and the cable entries give unrestricted access to contacts, enabling quick and simple cabling. The switch features 1x normally closed and 1x normally open contact, with the contacts having a positive opening snap action - allowing use in safety applications. Suitable for use in light to medium duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | End switch | s65-8007p01wl.jpg | 65-8007_v1.pdf
86 | Schneider Electric XCKJ10513D electrical switch Limit switch 2P Blue | XCKJ10513D | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKJ - steel roller lever - 1NC+1NO - snap action - M12</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>40 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>44 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>89 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>490 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-25 - 70 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Connectivity technology</div></td><td class=bd05rb valign=top><div class=m5>Wired </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Housing material</div></td><td class=bd05rb valign=top><div class=m5>Zamak </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CCC < br / CSA < br / UL </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr></table></td> | 53.08 | Schneider Electric | Rotary switch | s65-8013p01wl.jpg
87 | Telemecanique XCKJ10513 Rotary Lever NC+NO Snap PG13.5 OsiSense Limit Switch | XCKJ10513 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Part of the OsiSense industrial series, this XCKJ limit switch is a robust device in a standardised (EN50041) format for heavy duty use. This switch series has the most robust head in its category, with positive snap contacts and a fixed plug-in body. The switch has a compact design and give excellent performance, with cable entries that give unrestricted access to contacts, enabling quick and simple cabling. Feature 1x normally closed and 1x normally open contact, with the contacts having a positive opening snap action - allowing use in safety applications. Suitable for use in heavy duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | Rotary switch | s65-8012p01wl.jpg | 65-8012_v1.pdf
88 | Schneider Electric XCKJ10541 electrical switch Limit switch 2P Blue | XCKJ10541 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKJ - th.plastic roller lever var. length - 1NC+1NO - snap - Pg13</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>40 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>44 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>77 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>485 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-25 - 70 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Connectivity technology</div></td><td class=bd05rb valign=top><div class=m5>Wired </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Housing material</div></td><td class=bd05rb valign=top><div class=m5>Zamak </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CCC < br / CSA < br / UL </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr></table></td> | 42.99 | Schneider Electric | Rotary switch | f0235953-01.jpg
89 | Telemecanique XCKJ10513H29 Rotary Lever NC+NO Snap M20 OsiSense Limit Switch | XCKJ10513H29 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Part of the OsiSense industrial series, this XCKJ limit switch is a robust device in a standardised (EN50041) format for heavy duty use. This switch series has the most robust head in its category, with positive snap contacts and a fixed plug-in body. The switch has a compact design and give excellent performance, with cable entries that give unrestricted access to contacts, enabling quick and simple cabling. Feature 1x normally closed and 1x normally open contact, with the contacts having a positive opening snap action - allowing use in safety applications. Suitable for use in heavy duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | Rotary switch | s65-8014p01wl.jpg | 65-8014_v1.pdf
90 | Telemecanique XCKJ167D Metal Roller Plunger NC+NO Snap M12 OsiSense Limit Switch | XCKJ167D | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >Part of the OsiSense industrial series, this XCKJ limit switch is a robust device in a standardised (EN50041) format for heavy duty use. This switch series has the most robust head in its category, with positive snap contacts and a fixed plug-in body. The switch has a compact design and give excellent performance, with cable entries that give unrestricted access to contacts, enabling quick and simple cabling. Feature 1x normally closed and 1x normally open contact, with the contacts having a positive opening snap action - allowing use in safety applications. Suitable for use in heavy duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> | 55.56 | Schneider Electric | End switch | s65-8024p01wl.jpg | 65-8024_v1.pdf
91 | Schneider Electric XCKJ10559 electrical switch Limit switch 2P Blue | XCKJ10559 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKJ - thermoplastic round rod lever 6 mm - 1NC+1NO - snap - Pg13</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66 </div></td></tr></table></td> | 38.86 | Schneider Electric | Rotary switch | f0235969-01.jpg
92 | Telemecanique XCKM102H29 Metal Roller Plunger NC+NO Snap M20 Limit Switch | XCKM102H29 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A limit switch from the classic XCKL range. The switch has 3x tapped cable entries and is a multipurpose, medium duty, metal body device with a design and specification that makes it easy to install and maintain and also gives excellent performance. The switch features a robust head and body, with the cable entries giving unrestricted access to contacts, enabling quick and simple cabling. Suitable for multipurpose use in medium duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | Label material | s65-8031p01wl.jpg | 65-8031_v1.pdf
93 | Telemecanique XCKL115 Plastic Roller NC+NO Snap OsiSense Limit Switch | XCKL115 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A limit switch from the classic XCKL range. The switch is a multipurpose, medium duty, metal body device that has a design and specification that makes it easy to install and maintain and also gives excellent performance. The switch features a robust head and body, with the cable entry giving unrestricted access to contacts, enabling quick and simple cabling. The 1x normally open and 1x normally closed contacts have a positive opening snap action, making them suitable for use in safety applications. Suitable for multipurpose use in medium duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | End switch | s65-8029p01wl.jpg | 65-8029_v1.pdf
94 | Schneider Electric XCKM115H29 electrical switch Limit switch 2P Blue | XCKM115H29 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKM - thermoplastic roller lever - 1NC+1NO - snap action - M20</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66 </div></td></tr></table></td> | 20.64 | Schneider Electric | End switch | f0236007-01.jpg
95 | Telemecanique XCKM106H29 Cats Whiskers NC+NO Snap M20 OsiSense Limit Switch | XCKM106H29 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A limit switch from the classic XCKL range. The switch has 3x tapped cable entries and is a multipurpose, medium duty, metal body device with a design and specification that makes it easy to install and maintain and also gives excellent performance. The switch features a robust head and body, with the cable entries giving unrestricted access to contacts, enabling quick and simple cabling. Suitable for multipurpose use in medium duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | End switch | s65-8033p01wl.jpg | 65-8033_v1.pdf
96 | Schneider Electric XCKP2102P16 electrical switch Limit switch 2P Blue | XCKP2102P16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKP - steel roller plunger - 1NC+1NO - snap - M16</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>31 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>30 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>65 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>95 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-25 - 70 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Connectivity technology</div></td><td class=bd05rb valign=top><div class=m5>Wired </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Housing material</div></td><td class=bd05rb valign=top><div class=m5>Plastic,Zamak </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66, IP67 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CCC < br / CSA < br / UL </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr></table></td> | 2013-11-01 | Schneider Electric | End switch | schneider-electric-xckt2102p16.jpg
97 | Telemecanique XCKM121H29 Horizontal Roller Lever NC+NO Snap M20 Limit Switch | XCKM121H29 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A limit switch from the classic XCKL range. The switch has 3x tapped cable entries and is a multipurpose, medium duty, metal body device with a design and specification that makes it easy to install and maintain and also gives excellent performance. The switch features a robust head and body, with the cable entries giving unrestricted access to contacts, enabling quick and simple cabling. Suitable for multipurpose use in medium duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | End switch | s65-8039p01wl.jpg | 65-8039_v1.pdf
98 | Telemecanique XCKP2106P16 Cats Whiskers NC+NO Snap M16 Limit Switch | XCKP2106P16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A limit switch from the OsiSense XCKP series. This compact switch is intended for light to medium duty applications and features a design and specification that makes the switch easy to install and maintain, and also gives excellent performance. The switch features a robust body and metal head, with the cable entry giving unrestricted access to contacts, enabling quick and simple cabling. The modular design benefits installation and maintenance. There is 1x normally closed and 1x normally open contact, with the contacts having a positive opening snap action - allowing use in safety applications. Suitable for use in light to medium duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | End switch | s65-8045p01wl.jpg | 65-8045_v1.pdf
99 | Telemecanique XCKP2102G11 Metal Roller Plunger NC+NO Snap PG11 Limit Switch | XCKP2102G11 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >A limit switch from the OsiSense XCKP series. This compact switch is intended for light to medium duty applications and features a design and specification that makes the switch easy to install and maintain, and also gives excellent performance. The switch features a robust body and metal head, with the cable entry giving unrestricted access to contacts, enabling quick and simple cabling. The modular design benefits installation and maintenance. There is 1x normally closed and 1x normally open contact, with the contacts having a positive opening snap action - allowing use in safety applications. Suitable for use in light to medium duty applications in industrial machinery, packaging, materials handling, conveying, machining, food and beverage, service sector, etc.</div></td> |  | Schneider Electric | End switch | s65-8042p01wl.jpg | 65-8042_v1.pdf
100 | Schneider Electric XCKP2110P16 electrical switch Limit switch 2P Blue | XCKP2110P16 | <td valign=top class=BD02 style="border-width: 4px 5px;"><div >limit switch XCKP - metal end plunger - 1NC+1NO - snap - M16</div><div class="fs_2 fw_b" style="margin: 8px 0px;">More information:</div><table border=0 cellspacing=0 cellpadding=0 class="fs_2 BD05 bw_1001" width="100%" style="margin: 4px 0px;"><tr class=B2><td class=bd05rb valign=top><div class=m5>Weight & dimensions</div></td><td class=bd05rb valign=top><div class=m5>Width</div></td><td class=bd05rb valign=top><div class=m5>31 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Depth</div></td><td class=bd05rb valign=top><div class=m5>30 mm</div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Height</div></td><td class=bd05rb valign=top><div class=m5>65 mm</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Weight</div></td><td class=bd05rb valign=top><div class=m5>90 g</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Operational conditions</div></td><td class=bd05rb valign=top><div class=m5>Operating temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-25 - 70 В°C</div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Storage temperature (T-T)</div></td><td class=bd05rb valign=top><div class=m5>-40 - 70 В°C</div></td></tr><tr class=B2><td class=bd05rb valign=top><div class=m5>Features</div></td><td class=bd05rb valign=top><div class=m5>Type</div></td><td class=bd05rb valign=top><div class=m5>Limit switch </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of poles</div></td><td class=bd05rb valign=top><div class=m5>2P </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Connectivity technology</div></td><td class=bd05rb valign=top><div class=m5>Wired </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Product colour</div></td><td class=bd05rb valign=top><div class=m5>Blue </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Number of modules</div></td><td class=bd05rb valign=top><div class=m5>1 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Housing material</div></td><td class=bd05rb valign=top><div class=m5>Plastic,Zamak </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>International Protection (IP) code</div></td><td class=bd05rb valign=top><div class=m5>IP66, IP67 </div></td></tr><tr class=B14><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>Certification</div></td><td class=bd05rb valign=top><div class=m5>CCC < br / CSA < br / UL </div></td></tr><tr class=B2><td class=bd05rb valign=top><img src='/p.gif' alt='' width=1 height=1 class=bpxl></td><td class=bd05rb valign=top><div class=m5>RoHS compliance</div></td><td class=bd05rb valign=top><div class=m5>Yes </div></td></tr></table></td> | 2046-09-01 | Schneider Electric | Label material | schneider-electric-xckd2110p16.jpg